| Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- |

# Standard Operating Procedure for

ACTIONS TO ADDRESS RISK AND OPPORTUNITIES

ISO/IEC 17025:2017 – Clause 8.5

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of VANPFTL.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Factory Manager or General Manager is strictly prohibited.

Amendment Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

# 1.0	Purpose

This procedure provides guidance to Vital Agri Nutrients Pesticides and fertilizer testing Lab to evaluate and manage risk relevant to lab process.

# 2.0	Scope

This procedure is applicable on guidance to Vital Agri Nutrients Pesticides and fertilizer testing lab.

# 3.0	Responsibilities

Manager Quality Control is responsible for

- Identifying and conducting risk assessment in QC Lab with Assistance of Assistant Chemist

- Defining control measures of highlighted risks

- Implementation of control measures to manage risk in lab activities

# 4.0	Procedure

Rask Assessment is being carried out annually by the Nominated Team person including incharge by keeping in view the Risk Matrix.

Risks associated with testing activities are identified by the Manager Quality Control, after risk

assessment it enters in the Quality Risk Assessment Form. This document includes the identification and mitigation plans for risks associated with the defined inspection.

Following steps are followed while conducting risk assessment for inspections & calibration;

i. Identifying the testing process for which the risk most likely dominates

ii. Identifying the risk by allocation value for probability and impact according to table for testing risks (shown below). These risks may associate to following but not limited to that points:

Impartiality of testing body

Confidentiality issues

Chemist Biasness

. Sales commission on testing

. Nepotism or Financial pressure

. Influence of any interest party

. Any sort of external or internal pressure

. Equipment giving false readings

Equipment giving unexpected results

. Referral to new customers Misuse or corruption of reference standards

. Lack of maintenance

iii. While identifying the risk, following questions are considered;

What could happen: what might go wrong, or what might prevent the achievement of the relevant goals? What events or occurrences could threaten the intended outcomes?

How could it happen: is the risk likely to occur at all or happen again? If so, what could cause the risk event to recur or contribute to it happening again?

Where could it happen: is the risk likely to occur anywhere or in any environment/place? Or is it a risk that is dependent on the location, physical area or activity?

Why might it happen: what factors would need to be present for the risk to happen or occur again? Understanding why a risk might occur or be repeated is important if the risk is to be managed. What might be the impact: if the risk were to eventuate, what impact or consequences

would or might this have? Areas of impact to consider include: iv. Assigning a score to the likelihood (probability of occurrence) of identified risk. Each element is given a score from 1 (lowest risk) to 5 (highest risk).

v. Probability is categorized into following categories;

| Value | Probability | Definition |
| --- | --- | --- |
| 5 |  |  |
| 4 |  |  |
| 3 |  |  |
| 2 |  |  |
| 1 |  |  |

vi. Assigning an Impact rating if the risk were to be encountered; this impact is comprised of following elements;

Impact on activities / operations

Impact on relation with customers, supplier or any other body

Adverse impact on the reputation of the Hextar Industies for failure to meet or achieve our strategic objectives

Financial consequences

Compromise compliance of regulations or laws

Again, each element is given a score from 1 (lowest risk) to 5 (highest risk).

| Value | Impact | Description |
| --- | --- | --- |
| 1 | Very Low |  |
| 2 | Low |  |
| 3 | Medium |  |
| 4 | High |  |
| 5 | Very High |  |

vii. Calculating a final Risk Factor based on the equation:

Risk Factor = Probability Value X Impact Value

The risk is evaluated by plotting the probability value against the impact value as per the matrix shown above (Risk Assessment Matrix).

Risk Assessment Matrix

| Risk Assessment Metrix |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Levels of Risk |  |  |  |  |  |
| Probability | IMPACT |  |  |  |  |

If multiple (Risk= Probability x Impact) of the Probability and Impact is less than 5 risk be rated: "Green" that means the process is in "Safe limits". If the multiple of Probability and Impact is le than 10 and greater than 4 (Yellow) then the "process requires additional control measures" bring the risk to lower level. If the risk is greater than 10 (Red) then "Immediate action required" (including holding the activity). All findings will be recorded in Risk Assessment Form

viii. When the risks are evaluated, their cause is found out and then the control measures suggested and control measures are prioritized according to the magnitude of the risk.

ix. When determining controls, or considering changes to existing controls, consideration: be given to reduce the risks as;

Reduce the probability or likelihood of the risk

x. A risk may be acceptable or tolerable in the following circumstances:

No treatment is available

Treatment costs are prohibitive (particularly relevant with lower ranked risks)

The level of risk is low and does not require using resources to treat it

The opportunities involved significantly outweigh the threats

.

xi. The final column allows for entry of an estimated risk factor after mitigation, which is an estimate on what the risk should be reduced to if the risk treatment is successful.

5.0    Related Documents

- i. Quality Risk Assessment Form QCL/FRM-10.01

- ii. LSP for Corrective & Preventive actions OCL-LSP-04