## Sheet2
|  |  | Accuracy Caluculation sheet |  |  |  | Doc. MS-LAB-F-
Issued: 15-03-2019
Revision: 00
Test Title |  |  | Total hardness
Test Method |  |  | APHA-23rd Edition
Method Reference |  |  | APHA
Sample |  |  | Lab Code:PT MI-01/2020-M48
Equipment |  |  | Titration Method
S # | Date | PT |  | Calculated value | Deviation | Accuracy
1 | 2020-02-01 | 219 |  | 220 | -0.45662 | 99.544
Accuracy
99.54%
Prepared by QCM | ed By: AQCM | [5 empty] | Approved by QCM

## Sheet1
|  |  | Accuracy Caluculation sheet |  |  |  |  | Doc. MS-Lab-F-81
Issued: 15-03-2019
Issue#00
Test Title |  |  | pH
Test Method |  |  | APHA-23rd Edition
Method Reference |  |  | APHA
Sample |  |  | Lab Code: PT MI-01/2020-M48
Equipment |  |  | pH meter
| pH | 7.61 | 7.64 | 7.63 | 7.61 | 7.62 | 7.59 | 7.59 | 7.6
7.57-7.53
Prepared by: AQCM |  |  |  |  | Approved by: QCM

## Sheet1 (2)
|  |  | Accuracy Caluculation sheet |  |  |  | Doc. MS-Lab-F-
Issued: 15-03-2019
Issue#00
Test Title |  |  | Calcium
Test Method |  |  | APHA-23rd Edition
Method Reference |  |  | APHA-23rd Edition
Sample |  |  | Lab Code: PT MI-01/2020-M48
Equipment |  |  | titration
S # | Date | CRM |  | Calculated value | Deviation | Accuracy
1 | 15/2/2021 | 64.47 |  | 63.8 | 1.0392 | 98.9608
Accuracy
98.96%
Prepared by: AQCM |  |  |  |  | Approved by: QCM

## Sheet1 (3)
|  |  | Accuracy Caluculation sheet |  |  |  | Doc. MS-Lab-F-
Issued: 15-03-2019
Issue#00
Test Title |  |  | Fluoride
Test Method |  |  | SPAND
Method Reference |  |  | 8029 18th edition
Sample |  |  | Lab Code: PT MI-01/2020-M48
Equipment |  |  | photometer
S # | Date | PT |  | Calculated value | Deviation | Accuracy
1 | 15/2/2021 | 0.24 |  | 0.25 | -4.1667 | 95.8333
Accuracy
95.83%
Prepared by: AQCM |  |  |  |  | Approved by: QCM

## Accuracy 22
|  |  | Accuracy Caluculation sheet |  |  |  | Doc. MS-LAB-F-81
Issued: 15-03-2019
Revision: 00
Test Title |  |  | Total hardness
Test Method |  |  | APHA-23rd Edition
Method Reference |  |  | APHA
Sample |  |  | Lab Code:PT MI-01/2020-M48
Equipment |  |  | Titration Method
S # | Date | PT |  | Calculated value | Deviation | Accuracy
1 | 2020-02-01 | 219 |  | 222 | -1.3699 | 99.544
Accuracy
99.54%
Prepared by QCM | ed By: AQCM | [5 empty] | Approved by QCM

## Sheet3
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | Ms-LAB-F-81
[7 empty] | Issue dt | 15-03-2019
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title: |  | Total Hardness
Sample Type: |  | PT
Test Method |  | APHA-2340
Date: |  | 2021-08-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
214-93-223.07 |  | 222.2 | 222 | 222.4 | 221.8 | 221.9 | 222.7 | 222.5
|  | Average: | 222.2 | ppm
| Accuracy | 2021-08-01 R2: Specificity; 2021-08-01 R4: Precision
| 99.6% | 2021-08-01 R2: 99.6%; 2021-08-01 R4: 99.6%
Prepared by:MinhasAzeem

## Sheet3 (2)
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | VAN-LAB-F-030
[7 empty] | Issue dt | 15-03-2023
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title:
Sample Type: |  | PT
Test Method
Date: |  | 2022-06-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
|  | Average: | 219.6 | ppm
| Accuracy | 2022-06-01 R2: Specificity; 2022-06-01 R4: Precision
Prepare by: Minhas Azeem

## Sheet3 (3)
|  | Method of Verification Data Analysis Sheet |  |  | Doc# | Ms-LAB-F-81
[5 empty] | Issue dt | 15-03-2019
[5 empty] | Issue# | 0
[5 empty] | Page# | 1
Test Title: |  | Total Hardness Trend Analysis
Sample Type: |  | PT
Test Method |  | APHA-2340
Date: |  | 2022-10-03
| years | 2021 | 2022
| Value | 222.2 | 219.6
| Accuracy | 99.6% | 98.44%
Prepare by: Minhas Azeem
QCM/MR

## 21
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | Ms-LAB-F-81
[7 empty] | Issue dt | 15-03-2019
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title: |  | pH
Sample Type: |  | PT
Test Method |  | APHA 4500-H+
Date: |  | 2021-06-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
7.57-7.63 |  | 7.6 | 7.61 | 7.59 | 7.58 | 7.6 | 7.59 | 7.58
|  | Average: | 7.62
| Accuracy | 2021-06-01 R2: Specificity; 2021-06-01 R4: Precision
| 99.8% | 2021-06-01 R2: 99.8%; 2021-06-01 R4: 99.8%
Prepare by: Minhas Azeem

## 22
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | Ms-LAB-F-81
[7 empty] | Issue dt | 15-03-2019
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title: |  | pH
Sample Type: |  | PT
Test Method |  | APHA 4500-H+
Date: |  | 2022-10-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
7.56 |  | 7.52 | 7.52 | 7.54 | 7.55 | 7.54 | 7.54 | 7.51
|  | Average: | 7.53
| Accuracy | 2022-10-01 R2: Specificity; 2022-10-01 R4: Precision
| 99.6% | 2022-10-01 R2: 99.6%; 2022-10-01 R4: 99.6%
Prepare by: Minhas Azeem

## TA ph22
|  | Method of Verification Data Analysis Sheet |  |  | Doc# | Ms-LAB-F-81
[5 empty] | Issue dt | 15-03-2019
[5 empty] | Issue# | 0
[5 empty] | Page# | 1
Test Title: |  | pH Trend Analysis
Sample Type: |  | PT
Test Method |  | APHA-2340
Date: |  | 2022-10-03
| years | 2021 | 2022
| Value | 7.63 | 7.53
| Accuracy | 99.6% | 98.44%
Prepare by: Minhas Azeem
QCM/MR

## 21 (2)
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | Ms-LAB-F-81
[7 empty] | Issue dt | 15-03-2019
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title: |  | Fluoride
Sample Type: |  | PT
Test Method |  | SPAND
Date: |  | 2021-06-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
0.21-0.27 |  | 0.25 | 0.26 | 0.24 | 0.25 | 0.26 | 0.25 | 0.25
|  | Average: | 0.25ppm
| Accuracy | 2021-06-01 R2: Specificity; 2021-06-01 R4: Precision
| 92.5% | 2021-06-01 R2: 92.5%; 2021-06-01 R4: 92.5%
Prepare by: Minhas Azeem

## 21 (3)
|  | Method of Verification Data Analysis Sheet |  |  |  |  | Doc# | Ms-LAB-F-81
[7 empty] | Issue dt | 15-03-2019
[7 empty] | Issue# | 0
[7 empty] | Page# | 1
Test Title: |  | Fluoride
Sample Type: |  | PT
Test Method |  | SPAND
Date: |  | 2022-11-01
Standard |  | R1 | R2 | R3 | R4 | R5 | R6 | R7
0.21-0.27 |  | 0.3 | 0.29 | 0.3 | 0.3 | 0.28 | 0.29 | 0.3
|  | Average: | 0.29ppm
| Accuracy | 2022-11-01 R2: Specificity; 2022-11-01 R4: Precision
| 96.6% | 2022-11-01 R2: 96.6%; 2022-11-01 R4: 96.6%
Prepare by: Minhas Azeem

## TA22 (F)
|  | Method of Verification Data Analysis Sheet |  |  | Doc# | Ms-LAB-F-81
[5 empty] | Issue dt | 15-03-2019
[5 empty] | Issue# | 0
[5 empty] | Page# | 1
Test Title: |  | Fluoride Trend Analysis
Sample Type: |  | PT
Test Method |  | SPANDS
Date: |  | 2022-10-03
| years | 2021 | 2022
| Value | 0.25 | 0.29
| Accuracy | 92.5% | 96.6%
Prepare by: Minhas Azeem
QCM/MR