## Sheet2
|  | Precision Calculation sheet |  | Doc.
Issued:
Revision:
Test Title |  | Total hardness
Test Method |  | APHA- -3500 B
Method Reference |  | APHA
Test Date
Sample |  | Lab Code: CL247- -
Equipment |  | Titration Method
S # | Observations |  | Readings (x)
1 | Obs. 1 |  | 46.4
2 | Obs. 2 |  | 48
3 | Obs. 3 |  | 48
4 | Obs. 4 |  | 47.46
5 | Obs. 5 |  | 48.5
6 | Obs. 6 |  | 47.02
7 | Obs. 7 |  | 46.7
8 | Obs. 8 |  | 46.4
9 | Obs. 9 |  | 47.4
10 | Obs. 10 |  | 48.01
Mean |  |  | 47.389
Variance |  |  | 0.54877
Standard deviation |  |  | 0.74079
Precision Result= 19.54±0.74
Prepared by QCM |  |  |  | Approved by TM