| Sr# | Date | Tests | VAN Results mg/l | SAYBAN Result | Accuracy 95% |
| --- | --- | --- | --- | --- | --- |

| Sr# | Date | Tests | Murree Sparkletts Results mg/l | QRI Assign Value | Accuracy 95% |
| --- | --- | --- | --- | --- | --- |
| 01 | 15-02-2021 | pH | 7.56 | 7.60 | 99.47% |
|  |  | total Hardness | 220 | 219 | 99.5 |
|  |  | Fluoride | 0.25 | 0.24 | 95 |
|  |  | calcium | 64 | 64.47 | 98.96 |