## MainHall-Sep-1
CONTROL CHART FORM
Measurand: | Relative Humidity |  |  | Duration: |  | April-2022 (First Half)
Location: | Main Hall |  |  | Measuring device: |  | Wet & Dry Bulb Thermometer
Target Value (%): | 50 |  |  | Device ID: |  | ESP-LAB-WDT-001
Lower Control Limit (%): | 43 |  |  | Upper Control Limit (%): |  | 57
Lower Action Limit (%): | 40 |  |  | Upper Action Limit (%): |  | 60
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 53 | 3 | Under Control | --- | 1 | 50 | 53 | 43 | 57 | 40 | 60
2 | 2022-04-01 | Friday | 03:00 P.M. | 53 | 3 | Under Control | --- | 2 | 50 | 53 | 43 | 57 | 40 | 60
3 | 2022-04-02 | saturday | 11:00 A.M. | 50 | 0 | Under Control | --- | 3 | 50 | 50 | 43 | 57 | 40 | 60
4 | 2022-04-02 | saturday | 03:00 P.M. | 50 | 0 | Under Control | --- | 4 | 50 | 50 | 43 | 57 | 40 | 60
5 | 2022-04-04 | monday | 11:00 A.M. | 48 | -2 | Under Control | --- | 5 | 50 | 48 | 43 | 57 | 40 | 60
6 | 2022-04-04 | Monday | 03:00 P.M. | 48 | -2 | Under Control | --- | 6 | 50 | 48 | 43 | 57 | 40 | 60
7 | 2022-04-05 | tuesday | 11:00 A.M. | 49 | -1 | Under Control | --- | 7 | 50 | 49 | 43 | 57 | 40 | 60
8 | 2022-04-05 | tuesday | 03:00 P.M. | 49 | -1 | Under Control | --- | 8 | 50 | 49 | 43 | 57 | 40 | 60
9 | 2022-04-06 | wednesday | 11:00 A.M. | 50 | 0 | Under Control | --- | 9 | 50 | 50 | 43 | 57 | 40 | 60
10 | 2022-04-06 | wednesday | 03:00 P.M. | 50 | 0 | Under Control | --- | 10 | 50 | 50 | 43 | 57 | 40 | 60
11 | 2022-04-07 | Thursday | 11:00 A.M. | 48 | -2 | Under Control | --- | 11 | 50 | 48 | 43 | 57 | 40 | 60
12 | 2022-04-07 | Thursday | 02:00 P.M. | 48 | -2 | Under Control | --- | 12 | 50 | 48 | 43 | 57 | 40 | 60
13 | 2022-04-08 | friday | 11:00 A.M. | 49 | -1 | Under Control | --- | 13 | 50 | 49 | 43 | 57 | 40 | 60
14 | 2022-04-08 | friday | 03:00 P.M. | 49 | -1 | Under Control | --- | 14 | 50 | 49 | 43 | 57 | 40 | 60
15 | 2022-04-09 | saturday | 11:00 A.M. | 52 | 2 | Under Control | --- | 15 | 50 | 52 | 43 | 57 | 40 | 60
16 | 2022-04-09 | saturday | 03:00 P.M. | 52 | 2 | Under Control | --- | 16 | 50 | 52 | 43 | 57 | 40 | 60
17 | 2022-04-11 | monday | 11:00 A.M. | 51 | 1 | Under Control | --- | 17 | 50 | 51 | 43 | 57 | 40 | 60
18 | 2022-04-11 | monday | 03:00 P.M. | 51 | 1 | Under Control | --- | 18 | 50 | 51 | 43 | 57 | 40 | 60
19 | 2022-04-12 | tuesday | 11:00 A.M. | 52 | 2 | Under Control | --- | 19 | 50 | 52 | 43 | 57 | 40 | 60
20 | 2022-04-12 | tuesday | 03:00 P.M. | 52 | 2 | Under Control | --- | 20 | 50 | 52 | 43 | 57 | 40 | 60
21 | 2022-04-13 | wednesday | 11:00 A.M. | 53 | 3 | Under Control | --- | 21 | 50 | 53 | 43 | 57 | 40 | 60
22 | 2022-04-13 | wednesday | 03:00 P.M. | 53 | 3 | Under Control | --- | 22 | 50 | 53 | 43 | 57 | 40 | 60
23 | 2022-04-14 | thursday | 11:00 A.M. | 50 | 0 | Under Control | --- | 23 | 50 | 50 | 43 | 57 | 40 | 60
24 | 2022-04-14 | thursday | 03:00 P.M. | 50 | 0 | Under Control | --- | 24 | 50 | 50 | 43 | 57 | 40 | 60
25 | 2022-04-15 | friday | 11:00 A.M. | 49 | -1 | Under Control | --- | 25 | 50 | 49 | 43 | 57 | 40 | 60
26 | 2022-04-15 | friday | 03:00 P.M. | 49 | -1 | Under Control | --- | 26 | 50 | 49 | 43 | 57 | 40 | 60
Average | 50.3077 | Maximum Temp. | 54 | Minimum Humidity | 48 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
[6 empty] | Signature | Date
SOP-019/F-02
Doc. No: |  |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## Icp-Sep-1
CONTROL CHART FORM
Measurand: | Relative Humidity |  |  | Duration: |  | April-2022 (First Half)
Location: | Icp Section |  |  | Measuring device: |  | Wet & Dry Bulb Thermometer
Target Value (%): | 50 |  |  | Device ID: |  | ESP-LAB-WDT-003
Lower Control Limit (%): | 43 |  |  | Upper Control Limit (%): |  | 57
Lower Action Limit (%): | 40 |  |  | Upper Action Limit (%): |  | 60
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 49 | -1 | Under Control | --- | 1 | 50 | 49 | 43 | 57 | 40 | 60
2 | 2022-04-01 | Friday | 03:00 P.M. | 49 | -1 | Under Control | --- | 2 | 50 | 49 | 43 | 57 | 40 | 60
3 | 2022-04-02 | saturday | 11:00 A.M. | 48 | -2 | Under Control | --- | 3 | 50 | 48 | 43 | 57 | 40 | 60
4 | 2022-04-02 | saturday | 03:00 P.M. | 48 | -2 | Under Control | --- | 4 | 50 | 48 | 43 | 57 | 40 | 60
5 | 2022-04-04 | monday | 11:00 A.M. | 50 | 0 | Under Control | --- | 5 | 50 | 50 | 43 | 57 | 40 | 60
6 | 2022-04-04 | Monday | 03:00 P.M. | 50 | 0 | Under Control | --- | 6 | 50 | 50 | 43 | 57 | 40 | 60
7 | 2022-04-05 | tuesday | 11:00 A.M. | 49 | -1 | Under Control | --- | 7 | 50 | 49 | 43 | 57 | 40 | 60
8 | 2022-04-05 | tuesday | 03:00 P.M. | 49 | -1 | Under Control | --- | 8 | 50 | 49 | 43 | 57 | 40 | 60
9 | 2022-04-06 | wednesday | 11:00 A.M. | 48 | -2 | Under Control | --- | 9 | 50 | 48 | 43 | 57 | 40 | 60
10 | 2022-04-06 | wednesday | 03:00 P.M. | 48 | -2 | Under Control | --- | 10 | 50 | 48 | 43 | 57 | 40 | 60
11 | 2022-04-07 | Thursday | 11:00 A.M. | 50 | 0 | Under Control | --- | 11 | 50 | 50 | 43 | 57 | 40 | 60
12 | 2022-04-07 | Thursday | 02:00 P.M. | 50 | 0 | Under Control | --- | 12 | 50 | 50 | 43 | 57 | 40 | 60
13 | 2022-04-08 | friday | 11:00 A.M. | 48 | -2 | Under Control | --- | 13 | 50 | 48 | 43 | 57 | 40 | 60
14 | 2022-04-08 | friday | 03:00 P.M. | 48 | -2 | Under Control | --- | 14 | 50 | 48 | 43 | 57 | 40 | 60
15 | 2022-04-09 | saturday | 11:00 A.M. | 49 | -1 | Under Control | --- | 15 | 50 | 49 | 43 | 57 | 40 | 60
16 | 2022-04-09 | saturday | 03:00 P.M. | 49 | -1 | Under Control | --- | 16 | 50 | 49 | 43 | 57 | 40 | 60
17 | 2022-04-11 | monday | 11:00 A.M. | 49 | -1 | Under Control | --- | 17 | 50 | 49 | 43 | 57 | 40 | 60
18 | 2022-04-11 | monday | 03:00 P.M. | 49 | -1 | Under Control | --- | 18 | 50 | 49 | 43 | 57 | 40 | 60
19 | 2022-04-12 | tuesday | 11:00 A.M. | 51 | 1 | Under Control | --- | 19 | 50 | 51 | 43 | 57 | 40 | 60
20 | 2022-04-12 | tuesday | 03:00 P.M. | 51 | 1 | Under Control | --- | 20 | 50 | 51 | 43 | 57 | 40 | 60
21 | 2022-04-13 | wednesday | 11:00 A.M. | 50 | 0 | Under Control | --- | 21 | 50 | 50 | 43 | 57 | 40 | 60
22 | 2022-04-13 | wednesday | 03:00 P.M. | 50 | 0 | Under Control | --- | 22 | 50 | 50 | 43 | 57 | 40 | 60
23 | 2022-04-14 | thursday | 11:00 A.M. | 52 | 2 | Under Control | --- | 23 | 50 | 52 | 43 | 57 | 40 | 60
24 | 2022-04-14 | thursday | 03:00 P.M. | 52 | 2 | Under Control | --- | 24 | 50 | 52 | 43 | 57 | 40 | 60
25 | 2022-04-15 | friday | 11:00 A.M. | 48 | -2 | Under Control | --- | 25 | 50 | 48 | 43 | 57 | 40 | 60
26 | 2022-04-15 | friday | 03:00 P.M. | 48 | -2 | Under Control | --- | 26 | 50 | 48 | 43 | 57 | 40 | 60
Average | 49.3077 | Maximum Temp. | 50 | Minimum Humidity | 48 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By: |  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
SOP-019/F-02
Doc. No: |  |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## MicroBiology-Sep-1
CONTROL CHART FORM
Measurand: | Relative Humidity |  |  | Duration: |  | April-2022 (First Half)
Location: | Microbiology Section |  |  | Measuring device: |  | Wet & Dry Bulb Thermometer
Target Value (%): | 50 |  |  | Device ID: |  | ESP-LAB-WDT-006
Lower Control Limit (%): | 43 |  |  | Upper Control Limit (%): |  | 57
Lower Action Limit (%): | 40 |  |  | Upper Action Limit (%): |  | 60
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 50 | 0 | Under Control | --- | 1 | 50 | 50 | 43 | 57 | 40 | 60
2 | 2022-04-01 | Friday | 03:00 P.M. | 50 | 0 | Under Control | --- | 2 | 50 | 50 | 43 | 57 | 40 | 60
3 | 2022-04-02 | saturday | 11:00 A.M. | 53 | 3 | Under Control | --- | 3 | 50 | 53 | 43 | 57 | 40 | 60
4 | 2022-04-02 | saturday | 03:00 P.M. | 53 | 3 | Under Control | --- | 4 | 50 | 53 | 43 | 57 | 40 | 60
5 | 2022-04-04 | monday | 11:00 A.M. | 50 | 0 | Under Control | --- | 5 | 50 | 50 | 43 | 57 | 40 | 60
6 | 2022-04-04 | Monday | 03:00 P.M. | 50 | 0 | Under Control | --- | 6 | 50 | 50 | 43 | 57 | 40 | 60
7 | 2022-04-05 | tuesday | 11:00 A.M. | 49 | -1 | Under Control | --- | 7 | 50 | 49 | 43 | 57 | 40 | 60
8 | 2022-04-05 | tuesday | 03:00 P.M. | 49 | -1 | Under Control | --- | 8 | 50 | 49 | 43 | 57 | 40 | 60
9 | 2022-04-06 | wednesday | 11:00 A.M. | 51 | 1 | Under Control | --- | 9 | 50 | 51 | 43 | 57 | 40 | 60
10 | 2022-04-06 | wednesday | 03:00 P.M. | 51 | 1 | Under Control | --- | 10 | 50 | 51 | 43 | 57 | 40 | 60
11 | 2022-04-07 | Thursday | 11:00 A.M. | 48 | -2 | Under Control | --- | 11 | 50 | 48 | 43 | 57 | 40 | 60
12 | 2022-04-07 | Thursday | 02:00 P.M. | 48 | -2 | Under Control | --- | 12 | 50 | 48 | 43 | 57 | 40 | 60
13 | 2022-04-08 | friday | 11:00 A.M. | 49 | -1 | Under Control | --- | 13 | 50 | 49 | 43 | 57 | 40 | 60
14 | 2022-04-08 | friday | 03:00 P.M. | 49 | -1 | Under Control | --- | 14 | 50 | 49 | 43 | 57 | 40 | 60
15 | 2022-04-09 | saturday | 11:00 A.M. | 50 | 0 | Under Control | --- | 15 | 50 | 50 | 43 | 57 | 40 | 60
16 | 2022-04-09 | saturday | 03:00 P.M. | 50 | 0 | Under Control | --- | 16 | 50 | 50 | 43 | 57 | 40 | 60
17 | 2022-04-11 | monday | 11:00 A.M. | 52 | 2 | Under Control | --- | 17 | 50 | 52 | 43 | 57 | 40 | 60
18 | 2022-04-11 | monday | 03:00 P.M. | 52 | 2 | Under Control | --- | 18 | 50 | 52 | 43 | 57 | 40 | 60
19 | 2022-04-12 | tuesday | 11:00 A.M. | 50 | 0 | Under Control | --- | 19 | 50 | 50 | 43 | 57 | 40 | 60
20 | 2022-04-12 | tuesday | 03:00 P.M. | 50 | 0 | Under Control | --- | 20 | 50 | 50 | 43 | 57 | 40 | 60
21 | 2022-04-13 | wednesday | 11:00 A.M. | 53 | 3 | Under Control | --- | 21 | 50 | 53 | 43 | 57 | 40 | 60
22 | 2022-04-13 | wednesday | 03:00 P.M. | 53 | 3 | Under Control | --- | 22 | 50 | 53 | 43 | 57 | 40 | 60
23 | 2022-04-14 | thursday | 11:00 A.M. | 53 | 3 | Under Control | --- | 23 | 50 | 53 | 43 | 57 | 40 | 60
24 | 2022-04-14 | thursday | 03:00 P.M. | 53 | 3 | Under Control | --- | 24 | 50 | 53 | 43 | 57 | 40 | 60
25 | 2022-04-15 | friday | 11:00 A.M. | 49 | -1 | Under Control | --- | 25 | 50 | 49 | 43 | 57 | 40 | 60
26 | 2022-04-15 | friday | 03:00 P.M. | 49 | -1 | Under Control | --- | 26 | 50 | 49 | 43 | 57 | 40 | 60
Average | 50.5385 | Maximum Temp. | 57 | Minimum Humidity | 48 |  | ---
Prepared By: |  |  | Name |  |  | Signature | Date
Reviewed/Checked By: |  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
SOP-019/F-02
Doc. No: |  |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## Sample Stroage Sep-1
CONTROL CHART FORM
Measurand: | Relative Humidity |  |  | Duration: |  | April-2022 (First Half)
Location: | Sample Storage Room |  |  | Measuring device: |  | Thermohygrometer
Target Value (%): | 55 |  |  | Device ID: |  | ESP-LAB-WDT-002
Lower Control Limit (%): | 50 |  |  | Upper Control Limit (%): |  | 60
Lower Action Limit (%): | 45 |  |  | Upper Action Limit (%): |  | 65
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 50 | -5 | Under Control | --- | 1 | 50 | 50 | 43 | 57 | 40 | 60
2 | 2022-04-01 | Friday | 03:00 P.M. | 50 | -5 | Under Control | --- | 2 | 50 | 50 | 43 | 57 | 40 | 60
3 | 2022-04-02 | saturday | 11:00 A.M. | 48 | -7 | Under Control | --- | 3 | 50 | 48 | 43 | 57 | 40 | 60
4 | 2022-04-02 | saturday | 03:00 P.M. | 48 | -7 | Under Control | --- | 4 | 50 | 48 | 43 | 57 | 40 | 60
5 | 2022-04-04 | monday | 11:00 A.M. | 50 | -5 | Under Control | --- | 5 | 50 | 50 | 43 | 57 | 40 | 60
6 | 2022-04-04 | Monday | 03:00 P.M. | 50 | -5 | Under Control | --- | 6 | 50 | 50 | 43 | 57 | 40 | 60
7 | 2022-04-05 | tuesday | 11:00 A.M. | 49 | -6 | Under Control | --- | 7 | 50 | 49 | 43 | 57 | 40 | 60
8 | 2022-04-05 | tuesday | 03:00 P.M. | 49 | -6 | Under Control | --- | 8 | 50 | 49 | 43 | 57 | 40 | 60
9 | 2022-04-06 | wednesday | 11:00 A.M. | 51 | -4 | Under Control | --- | 9 | 50 | 51 | 43 | 57 | 40 | 60
10 | 2022-04-06 | wednesday | 03:00 P.M. | 51 | -4 | Under Control | --- | 10 | 50 | 51 | 43 | 57 | 40 | 60
11 | 2022-04-07 | Thursday | 11:00 A.M. | 48 | -7 | Under Control | --- | 11 | 50 | 48 | 43 | 57 | 40 | 60
12 | 2022-04-07 | Thursday | 02:00 P.M. | 48 | -7 | Under Control | --- | 12 | 50 | 48 | 43 | 57 | 40 | 60
13 | 2022-04-08 | friday | 11:00 A.M. | 49 | -6 | Under Control | --- | 13 | 50 | 49 | 43 | 57 | 40 | 60
14 | 2022-04-08 | friday | 03:00 P.M. | 49 | -6 | Under Control | --- | 14 | 50 | 49 | 43 | 57 | 40 | 60
15 | 2022-04-09 | saturday | 11:00 A.M. | 48 | -7 | Under Control | --- | 15 | 50 | 48 | 43 | 57 | 40 | 60
16 | 2022-04-09 | saturday | 03:00 P.M. | 48 | -7 | Under Control | --- | 16 | 50 | 48 | 43 | 57 | 40 | 60
17 | 2022-04-11 | monday | 11:00 A.M. | 52 | -3 | Under Control | --- | 17 | 50 | 52 | 43 | 57 | 40 | 60
18 | 2022-04-11 | monday | 03:00 P.M. | 52 | -3 | Under Control | --- | 18 | 50 | 52 | 43 | 57 | 40 | 60
19 | 2022-04-12 | tuesday | 11:00 A.M. | 54 | -1 | Under Control | --- | 19 | 50 | 54 | 43 | 57 | 40 | 60
20 | 2022-04-12 | tuesday | 03:00 P.M. | 54 | -1 | Under Control | --- | 20 | 50 | 54 | 43 | 57 | 40 | 60
21 | 2022-04-13 | wednesday | 11:00 A.M. | 55 | 0 | Under Control | --- | 21 | 50 | 55 | 43 | 57 | 40 | 60
22 | 2022-04-13 | wednesday | 03:00 P.M. | 55 | 0 | Under Control | --- | 22 | 50 | 55 | 43 | 57 | 40 | 60
23 | 2022-04-14 | thursday | 11:00 A.M. | 53 | -2 | Under Control | --- | 23 | 50 | 53 | 43 | 57 | 40 | 60
24 | 2022-04-14 | thursday | 03:00 P.M. | 53 | -2 | Under Control | --- | 24 | 50 | 53 | 43 | 57 | 40 | 60
25 | 2022-04-15 | friday | 11:00 A.M. | 51 | -4 | Under Control | --- | 25 | 50 | 51 | 43 | 57 | 40 | 60
26 | 2022-04-15 | friday | 03:00 P.M. | 51 | -4 | Under Control | --- | 26 | 50 | 51 | 43 | 57 | 40 | 60
Average | 50.6154 | Maximum Temp. | 54 | Minimum Humidity | 48 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
SOP-019/F-02
Doc. No: |  |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1