## Main Hall-Sep-1
CONTROL CHART FORM
Measurand: |  |  | Room Temperature |  | Duration: | april-2022 (First Half)
Location: |  |  | Main Hall |  | Measuring device: | Wet & Dry Bulb Thermometer
Target Value (oC): |  |  | 25 |  | Device ID: | ESP-LAB-WDT-001
Lower Control Limit (oC): |  |  | 23 |  | Upper Control Limit: | 27 (oC)
Lower Action Limit (oC): |  |  | 21 |  | Upper Action Limit: | 29 (oC)
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 1 | 25 | 24 | 23 | 27 | 21 | 29
2 | 2022-04-01 | Friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 2 | 25 | 24 | 23 | 27 | 21 | 29
3 | 2022-04-02 | saturday | 11:00 A.M. | 25 | 0 | Under Control | --- | 3 | 25 | 25 | 23 | 27 | 21 | 29
4 | 2022-04-02 | saturday | 03:00 P.M. | 25 | 0 | Under Control | --- | 4 | 25 | 25 | 23 | 27 | 21 | 29
5 | 2022-04-04 | monday | 11:00 A.M. | 23 | -2 | Under Control | --- | 5 | 25 | 23 | 23 | 27 | 21 | 29
6 | 2022-04-04 | Monday | 03:00 P.M. | 23 | -2 | Under Control | --- | 6 | 25 | 23 | 23 | 27 | 21 | 29
7 | 2022-04-05 | tuesday | 11:00 A.M. | 24 | -1 | Under Control | --- | 7 | 25 | 24 | 23 | 27 | 21 | 29
8 | 2022-04-05 | tuesday | 03:00 P.M. | 24 | -1 | Under Control | --- | 8 | 25 | 24 | 23 | 27 | 21 | 29
9 | 2022-04-06 | wednesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 9 | 25 | 25 | 23 | 27 | 21 | 29
10 | 2022-04-06 | wednesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 10 | 25 | 25 | 23 | 27 | 21 | 29
11 | 2022-04-07 | Thursday | 11:00 A.M. | 23 | -2 | Under Control | --- | 11 | 25 | 23 | 23 | 27 | 21 | 29
12 | 2022-04-07 | Thursday | 02:00 P.M. | 23 | -2 | Under Control | --- | 12 | 25 | 23 | 23 | 27 | 21 | 29
13 | 2022-04-08 | friday | 11:00 A.M. | 25 | 0 | Under Control | --- | 13 | 25 | 25 | 23 | 27 | 21 | 29
14 | 2022-04-08 | friday | 03:00 P.M. | 25 | 0 | Under Control | --- | 14 | 25 | 25 | 23 | 27 | 21 | 29
15 | 2022-04-09 | saturday | 11:00 A.M. | 24 | -1 | Under Control | --- | 15 | 25 | 24 | 23 | 27 | 21 | 29
16 | 2022-04-09 | saturday | 03:00 P.M. | 24 | -1 | Under Control | --- | 16 | 25 | 24 | 23 | 27 | 21 | 29
17 | 2022-04-11 | monday | 11:00 A.M. | 24 | -1 | Under Control | --- | 17 | 25 | 24 | 23 | 27 | 21 | 29
18 | 2022-04-11 | monday | 03:00 P.M. | 24 | -1 | Under Control | --- | 18 | 25 | 24 | 23 | 27 | 21 | 29
19 | 2022-04-12 | tuesday | 11:00 A.M. | 24 | -1 | Under Control | --- | 19 | 25 | 24 | 23 | 27 | 21 | 29
20 | 2022-04-12 | tuesday | 03:00 P.M. | 24 | -1 | Under Control | --- | 20 | 25 | 24 | 23 | 27 | 21 | 29
21 | 2022-04-13 | wednesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 21 | 25 | 25 | 23 | 27 | 21 | 29
22 | 2022-04-13 | wednesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 22 | 25 | 25 | 23 | 27 | 21 | 29
23 | 2022-04-14 | thursday | 11:00 A.M. | 26 | 1 | Under Control | --- | 23 | 25 | 26 | 23 | 27 | 21 | 29
24 | 2022-04-14 | thursday | 03:00 P.M. | 26 | 1 | Under Control | --- | 24 | 25 | 26 | 23 | 27 | 21 | 29
25 | 2022-04-15 | friday | 11:00 A.M. | 25 | 0 | Under Control | --- | 25 | 25 | 25 | 23 | 27 | 21 | 29
26 | 2022-04-15 | friday | 03:00 P.M. | 25 | 0 | Under Control | --- | 26 | 25 | 25 | 23 | 27 | 21 | 29
Average | 24.3846 | Maximum Temp. | 25 | Minimum Temp. | 23 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
Doc. No: | SOP-019/F-02 |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## icp-Sep-1
CONTROL CHART FORM
Measurand: |  |  | Room Temperature |  | Duration: | April-2022 (First Half)
Location: |  |  | Chemical Laboratory (ICP-AES Room) |  | Measuring device: | Wet & Dry Bulb Thermometer
Target Value (oC): |  |  | 25 |  | Device ID: | ESP-LAB-WDT-003
Lower Control Limit (oC): |  |  | 23 |  | Upper Control Limit: | 27 (oC)
Lower Action Limit (oC): |  |  | 21 |  | Upper Action Limit: | 29 (oC)
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 1 | 25 | 24 | 23 | 27 | 21 | 29
2 | 2022-04-01 | Friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 2 | 25 | 24 | 23 | 27 | 21 | 29
3 | 2022-04-02 | saturday | 11:00 A.M. | 23 | -2 | Under Control | --- | 3 | 25 | 23 | 23 | 27 | 21 | 29
4 | 2022-04-02 | saturday | 03:00 P.M. | 23 | -2 | Under Control | --- | 4 | 25 | 23 | 23 | 27 | 21 | 29
5 | 2022-04-04 | monday | 11:00 A.M. | 25 | 0 | Under Control | --- | 5 | 25 | 25 | 23 | 27 | 21 | 29
6 | 2022-04-04 | Monday | 03:00 P.M. | 25 | 0 | Under Control | --- | 6 | 25 | 25 | 23 | 27 | 21 | 29
7 | 2022-04-05 | tuesday | 11:00 A.M. | 24 | -1 | Under Control | --- | 7 | 25 | 24 | 23 | 27 | 21 | 29
8 | 2022-04-05 | tuesday | 03:00 P.M. | 24 | -1 | Under Control | --- | 8 | 25 | 24 | 23 | 27 | 21 | 29
9 | 2022-04-06 | wednesday | 11:00 A.M. | 23 | -2 | Under Control | --- | 9 | 25 | 23 | 23 | 27 | 21 | 29
10 | 2022-04-06 | wednesday | 03:00 P.M. | 23 | -2 | Under Control | --- | 10 | 25 | 23 | 23 | 27 | 21 | 29
11 | 2022-04-07 | Thursday | 11:00 A.M. | 25 | 0 | Under Control | --- | 11 | 25 | 25 | 23 | 27 | 21 | 29
12 | 2022-04-07 | Thursday | 02:00 P.M. | 25 | 0 | Under Control | --- | 12 | 25 | 25 | 23 | 27 | 21 | 29
13 | 2022-04-08 | friday | 11:00 A.M. | 23 | -2 | Under Control | --- | 13 | 25 | 23 | 23 | 27 | 21 | 29
14 | 2022-04-08 | friday | 03:00 P.M. | 23 | -2 | Under Control | --- | 14 | 25 | 23 | 23 | 27 | 21 | 29
15 | 2022-04-09 | saturday | 11:00 A.M. | 24 | -1 | Under Control | --- | 15 | 25 | 24 | 23 | 27 | 21 | 29
16 | 2022-04-09 | saturday | 03:00 P.M. | 24 | -1 | Under Control | --- | 16 | 25 | 24 | 23 | 27 | 21 | 29
17 | 2022-04-11 | monday | 11:00 A.M. | 25 | 0 | Under Control | --- | 17 | 25 | 25 | 23 | 27 | 21 | 29
18 | 2022-04-11 | monday | 03:00 P.M. | 25 | 0 | Under Control | --- | 18 | 25 | 25 | 23 | 27 | 21 | 29
19 | 2022-04-12 | tuesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 19 | 25 | 25 | 23 | 27 | 21 | 29
20 | 2022-04-12 | tuesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 20 | 25 | 25 | 23 | 27 | 21 | 29
21 | 2022-04-13 | wednesday | 11:00 A.M. | 26 | 1 | Under Control | --- | 21 | 25 | 26 | 23 | 27 | 21 | 29
22 | 2022-04-13 | wednesday | 03:00 P.M. | 26 | 1 | Under Control | --- | 22 | 25 | 26 | 23 | 27 | 21 | 29
23 | 2022-04-14 | thursday | 11:00 A.M. | 26 | 1 | Under Control | --- | 23 | 25 | 26 | 23 | 27 | 21 | 29
24 | 2022-04-14 | thursday | 03:00 P.M. | 26 | 1 | Under Control | --- | 24 | 25 | 26 | 23 | 27 | 21 | 29
25 | 2022-04-15 | friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 25 | 25 | 24 | 23 | 27 | 21 | 29
26 | 2022-04-15 | friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 26 | 25 | 24 | 23 | 27 | 21 | 29
Average | 24.3846 | Maximum Temp. | 25 | Minimum Temp. | 23 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
Doc. No: | SOP-019/F-02 |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## Micro-Sep-1
CONTROL CHART FORM
Measurand: |  |  | Room Temperature |  | Duration: | March-2022 (First Half)
Location: |  |  | Micro Biology Section |  | Measuring device: | Wet & Dry Bulb Thermometer
Target Value (oC): |  |  | 25 |  | Device ID: | ESP-LAB-WDT-006
Lower Control Limit (oC): |  |  | 23 |  | Upper Control Limit: | 27 (oC)
Lower Action Limit (oC): |  |  | 21 |  | Upper Action Limit: | 29 (oC)
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 25 | 0 | Under Control | --- | 1 | 25 | 25 | 23 | 27 | 21 | 29
2 | 2022-04-01 | Friday | 03:00 P.M. | 25 | 0 | Under Control | --- | 2 | 25 | 25 | 23 | 27 | 21 | 29
3 | 2022-04-02 | saturday | 11:00 A.M. | 24 | -1 | Under Control | --- | 3 | 25 | 24 | 23 | 27 | 21 | 29
4 | 2022-04-02 | saturday | 03:00 P.M. | 24 | -1 | Under Control | --- | 4 | 25 | 24 | 23 | 27 | 21 | 29
5 | 2022-04-04 | monday | 11:00 A.M. | 24 | -1 | Under Control | --- | 5 | 25 | 24 | 23 | 27 | 21 | 29
6 | 2022-04-04 | Monday | 03:00 P.M. | 24 | -1 | Under Control | --- | 6 | 25 | 24 | 23 | 27 | 21 | 29
7 | 2022-04-05 | tuesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 7 | 25 | 25 | 23 | 27 | 21 | 29
8 | 2022-04-05 | tuesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 8 | 25 | 25 | 23 | 27 | 21 | 29
9 | 2022-04-06 | wednesday | 11:00 A.M. | 23 | -2 | Under Control | --- | 9 | 25 | 23 | 23 | 27 | 21 | 29
10 | 2022-04-06 | wednesday | 03:00 P.M. | 23 | -2 | Under Control | --- | 10 | 25 | 23 | 23 | 27 | 21 | 29
11 | 2022-04-07 | Thursday | 11:00 A.M. | 25 | 0 | Under Control | --- | 11 | 25 | 25 | 23 | 27 | 21 | 29
12 | 2022-04-07 | Thursday | 02:00 P.M. | 25 | 0 | Under Control | --- | 12 | 25 | 25 | 23 | 27 | 21 | 29
13 | 2022-04-08 | friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 13 | 25 | 24 | 23 | 27 | 21 | 29
14 | 2022-04-08 | friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 14 | 25 | 24 | 23 | 27 | 21 | 29
15 | 2022-04-09 | saturday | 11:00 A.M. | 23 | -2 | Under Control | --- | 15 | 25 | 23 | 23 | 27 | 21 | 29
16 | 2022-04-09 | saturday | 03:00 P.M. | 23 | -2 | Under Control | --- | 16 | 25 | 23 | 23 | 27 | 21 | 29
17 | 2022-04-11 | monday | 11:00 A.M. | 25 | 0 | Under Control | --- | 17 | 25 | 25 | 23 | 27 | 21 | 29
18 | 2022-04-11 | monday | 03:00 P.M. | 25 | 0 | Under Control | --- | 18 | 25 | 25 | 23 | 27 | 21 | 29
19 | 2022-04-12 | tuesday | 11:00 A.M. | 24 | -1 | Under Control | --- | 19 | 25 | 24 | 23 | 27 | 21 | 29
20 | 2022-04-12 | tuesday | 03:00 P.M. | 24 | -1 | Under Control | --- | 20 | 25 | 24 | 23 | 27 | 21 | 29
21 | 2022-04-13 | wednesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 21 | 25 | 25 | 23 | 27 | 21 | 29
22 | 2022-04-13 | wednesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 22 | 25 | 25 | 23 | 27 | 21 | 29
23 | 2022-04-14 | thursday | 11:00 A.M. | 26 | 1 | Under Control | --- | 23 | 25 | 26 | 23 | 27 | 21 | 29
24 | 2022-04-14 | thursday | 03:00 P.M. | 26 | 1 | Under Control | --- | 24 | 25 | 26 | 23 | 27 | 21 | 29
25 | 2022-04-15 | friday | 11:00 A.M. | 23 | -2 | Under Control | --- | 25 | 25 | 23 | 23 | 27 | 21 | 29
26 | 2022-04-15 | friday | 03:00 P.M. | 23 | -2 | Under Control | --- | 26 | 25 | 23 | 23 | 27 | 21 | 29
Average | 24.3077 | Maximum Temp. | 25 | Minimum Temp. | 23 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
SOP-019/F-02
Doc. No: |  |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1

## SR-Room-Sep-1
CONTROL CHART FORM
Measurand: |  |  | Room Temperature |  | Duration: | April-2022 (First Half)
Location: |  |  | Sample Recipt Room |  | Measuring device: | Wet & Dry Bulb Thermometer
Target Value (oC): |  |  | 25 |  | Device ID: | ESP-LAB-WDT-002
Lower Control Limit (oC): |  |  | 23 |  | Upper Control Limit: | 27 (oC)
Lower Action Limit (oC): |  |  | 21 |  | Upper Action Limit: | 29 (oC)
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2022-04-01 | Friday | 11:00 A.M. | 25 | 0 | Under Control | --- | 1 | 25 | 25 | 23 | 27 | 21 | 29
2 | 2022-04-01 | Friday | 03:00 P.M. | 25 | 0 | Under Control | --- | 2 | 25 | 25 | 23 | 27 | 21 | 29
3 | 2022-04-02 | saturday | 11:00 A.M. | 23 | -2 | Under Control | --- | 3 | 25 | 23 | 23 | 27 | 21 | 29
4 | 2022-04-02 | saturday | 03:00 P.M. | 23 | -2 | Under Control | --- | 4 | 25 | 23 | 23 | 27 | 21 | 29
5 | 2022-04-04 | monday | 11:00 A.M. | 24 | -1 | Under Control | --- | 5 | 25 | 24 | 23 | 27 | 21 | 29
6 | 2022-04-04 | Monday | 03:00 P.M. | 24 | -1 | Under Control | --- | 6 | 25 | 24 | 23 | 27 | 21 | 29
7 | 2022-04-05 | tuesday | 11:00 A.M. | 23 | -2 | Under Control | --- | 7 | 25 | 23 | 23 | 27 | 21 | 29
8 | 2022-04-05 | tuesday | 03:00 P.M. | 23 | -2 | Under Control | --- | 8 | 25 | 23 | 23 | 27 | 21 | 29
9 | 2022-04-06 | wednesday | 11:00 A.M. | 25 | 0 | Under Control | --- | 9 | 25 | 25 | 23 | 27 | 21 | 29
10 | 2022-04-06 | wednesday | 03:00 P.M. | 25 | 0 | Under Control | --- | 10 | 25 | 25 | 23 | 27 | 21 | 29
11 | 2022-04-07 | Thursday | 11:00 A.M. | 23 | -2 | Under Control | --- | 11 | 25 | 23 | 23 | 27 | 21 | 29
12 | 2022-04-07 | Thursday | 02:00 P.M. | 23 | -2 | Under Control | --- | 12 | 25 | 23 | 23 | 27 | 21 | 29
13 | 2022-04-08 | friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 13 | 25 | 24 | 23 | 27 | 21 | 29
14 | 2022-04-08 | friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 14 | 25 | 24 | 23 | 27 | 21 | 29
15 | 2022-04-09 | saturday | 11:00 A.M. | 24 | -1 | Under Control | --- | 15 | 25 | 24 | 23 | 27 | 21 | 29
16 | 2022-04-09 | saturday | 03:00 P.M. | 24 | -1 | Under Control | --- | 16 | 25 | 24 | 23 | 27 | 21 | 29
17 | 2022-04-11 | monday | 11:00 A.M. | 23 | -2 | Under Control | --- | 17 | 25 | 23 | 23 | 27 | 21 | 29
18 | 2022-04-11 | monday | 03:00 P.M. | 23 | -2 | Under Control | --- | 18 | 25 | 23 | 23 | 27 | 21 | 29
19 | 2022-04-12 | tuesday | 11:00 A.M. | 24 | -1 | Under Control | --- | 19 | 25 | 24 | 23 | 27 | 21 | 29
20 | 2022-04-12 | tuesday | 03:00 P.M. | 24 | -1 | Under Control | --- | 20 | 25 | 24 | 23 | 27 | 21 | 29
21 | 2022-04-13 | wednesday | 11:00 A.M. | 23 | -2 | Under Control | --- | 21 | 25 | 23 | 23 | 27 | 21 | 29
22 | 2022-04-13 | wednesday | 03:00 P.M. | 23 | -2 | Under Control | --- | 22 | 25 | 23 | 23 | 27 | 21 | 29
23 | 2022-04-14 | thursday | 11:00 A.M. | 25 | 0 | Under Control | --- | 23 | 25 | 25 | 23 | 27 | 21 | 29
24 | 2022-04-14 | thursday | 03:00 P.M. | 25 | 0 | Under Control | --- | 24 | 25 | 25 | 23 | 27 | 21 | 29
25 | 2022-04-15 | friday | 11:00 A.M. | 24 | -1 | Under Control | --- | 25 | 25 | 24 | 23 | 27 | 21 | 29
26 | 2022-04-15 | friday | 03:00 P.M. | 24 | -1 | Under Control | --- | 26 | 25 | 24 | 23 | 27 | 21 | 29
Average | 23.8462 | Maximum Temp. | 25 | Minimum Temp. | 23 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date
QAM Remarks:
[6 empty] | Signature | Date
Doc. No: | SOP-019/F-02 |  | Rev. | 0 | Effective: | 2020-01-06 | Page 1 of 1