| Audit Location: | VAN QC Lab |  |  |
| --- | --- | --- | --- |
| Department: | Quality |  |  |
| Audit team: |  |  |  |
| 1.) Team leader: Mr. Abid Hussain 2.) Team member: Mr. Fahim Asghar |  | Date of audit: | 02-01-2024 |
| Audit Summary: |  |  |  |
| General observations: |  |  |  |
| - PPEs are not available at proper Location - The fire extinguisher is not present in lab - The procedures are following according to standard - Segregation of chemical found satisfactory - CRM placed in refrigerator - No fume ventilation system in lab |  |  |  |
| Description: |  |  |  |
| - Repeatability and probability of result are check. - Standards are fulfilled - Quality control charts need to be followed |  |  |  |
| Results/Findings: |  |  |  |
| - The overall team is expert to perform experiment by fulfill standard - All the instruments are calibrated |  |  |  |
| Remarks: |  |  |  |
| - Overall performance satisfactory - Further Improvement required for efficient implementation of ISO/IEC:17025-2017 |  |  |  |

|  | Prepared By: | Reviewed By: | Approved By: |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Signature: |  |  |  |
| Date: |  |  |  |