# Standard Operating Procedure for

### Management Reviews

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Plant Manager is strictly prohibited.

| Prepared by: AQCM | Reviewed by: QCM | Approved by: PLANT MANAGER |
| --- | --- | --- |

Amended Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

Purpose:

This procedure defines the Management Review process, its objectives. The Management Review process requires that the Lab Quality Management System is reviewed by Senior Management at planned intervals to ensure continued system effectiveness and alignment with ISO 17025:2017.

Scope:

This SOP describes how to review management. Review of management is helpful in maintaining things and improve lab progress.

Responsibility: AQCM, QCM, PM

Procedure

- The PM is to ensure the implementation of this procedure and review its management system at planned intervals (annually), in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of ISO 17025:2017.

- QCM is responsible for drafting and circulation of meeting agenda and compilation.

- QCM is also responsible for completion of tasks decided in MRM at target dates.

- The Plant Manager is responsible for chairing the MRM and ensuring appropriate attendance.

- The inputs to management review shall be recorded by AQCM in Management review meeting form and shall include information related to the following:

a) changes in internal and external issues that are relevant to the laboratory;

b) fulfilment of objectives;

c) suitability of policies and procedures;

d) status of actions from previous management reviews;

e) outcome of recent internal audits;

f) corrective actions;

g) assessments by external bodies;

h) changes in the volume and type of the work or in the range of laboratory activities;

i) customer and personnel feedback;

j) complaints;

k) effectiveness of any implemented improvements;

l) adequacy of resources;

m) results of risk identification;

n) outcomes of the assurance of the validity of results; and

o) other relevant factors, such as monitoring activities and training.

- The outputs from the management review shall record all decisions and actions related to at least:

a) the effectiveness of the management system and its processes;

b) improvement of the laboratory activities related to the fulfilment of the requirements of this document;

c) provision of required resources;

d) any need for change

- Assigned responsibility in MRM should be communicated to all lab staff by QCM.

- Records of Management Reviews are recorded and are maintained in accordance with Control of Records procedure.

6.0 	Related Documented Information

| Doc Name | Doc.# |
| --- | --- |
| MRM Schedule | QCL-FRM-11.01 |
| MRM Notice | QCL-FRM-11.02 |
| MRM Agenda | QCL-FRM-11.03 |
| MRM Form | QCL-FRM-11.04 |