| Prepared by: AQCM | Reviewed by: QCM | Approved by: Plant Manager |
| --- | --- | --- |

# Standard Operating Procedure

for review of requests

ISO/ISE 17025-2017 Clause 7.1

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Plant Manager is strictly prohibited.

Amendment Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

# 1. Purpose

The purpose of this procedure is to describe, and review of requests for acceptance or rejection of request received. This procedure ensures that QC LAB only accept the testing assignments for which it has the capabilities to meet customer requirements

2. Scope

This procedure covers all facilities related to review of requests for testing services provided by QC LAB.

3. Responsibilities

3.1 Manager Quality Control has the responsibility to:

3.1.1 Ensure the appropriate test method is selected and capable of meeting the customer's requirements

3.1.2 Review of laboratory contract

3.1.3 Make Any changes and pertinent discussions on customer's requirements.

3.2 Assistant Analyst/AQCM has the responsibility to:

3.2.1 Keep the record of contract review and changes.

3.2.2 Keep the record related to analysis request.

4. Procedure

4.1. QC LAB inform the customer when the test method requested by the customer is outline the scope of the testing services, inappropriate or out of date.

4.2. QC LAB are clearly defined in quality report with acceptance limits that will assure that a desired conformance probability for a single measured item is achieved or acceptance limits to assure an acceptable level of confidence on average as a number of (nominally identical) items are measured and routinely issue statements of conformity to a specification or compliance or non- compliance in tolerance Limits.

4.3. When the test result of sample does not comply with specifications/claim, then sample is retested. If the problem persists then the substandard results are intimated to the Quality Control Manager by the analyst and quality control Manager intimates the outcomes to concerned customer (Manager Distribution, Manager Production/formulation and Manager Procurement) through email or on prescribed report format for further course of action.

4.4. QC LAB Provide the testing facilities to its internal customers only Production/formulation, distribution departments and R&D department. Any differences will be resolved before the start of testing activities. QC LAB do not accept customer requested deviations that could impact the integrity of Laboratory activity or the validity of test results.

3.5. If there is a deviation from laboratory contract, the laboratory representative will be informed to customer via E-mail or letter.

3.6. If contract is amended due to any circumstances or conditions after work has started, the contract review is repeated by QCM, and any amendments are communicated to all affected personnel via Email or Letter.

3.7. QC LAB cooperate with customers or their representatives in clarifying the customer's request and in monitoring the performance of the QC LAB in relation to the work performed, which under special circumstances may include: providing reasonable access to relevant areas of the laboratory to witness customer-specific tests items.

3.8. All raw materials and finished products related to customer requirements are tested in the lab. The concerned department intimates the lab through the prescribed Analysis Request.

3.9. Analyst/AQCM reviews the request. Then information about the concentration and composition of sample is checked to verify that lab is capable of testing those samples. The sample data is recorded in Sample Receiving Register.

The requests are reviewed according to the following criteria:

- equipment availability and its state.

- availability of required skills and expertise.

- Proper work environment required by the test.

- Availability of Standard test method and chemicals.

The lab personnel verify that the samples are intact/individually identified and allot a unique QC number for transit to the lab.

3.10. The authorized Analyst executes the tests. He records test readings and required calculations. Report is submitted to AQCM/ Manager Quality Control. If the results show compliance with the specifications, then a release slip is issued to the concerned department by the Analyst/AQCM/QCM.

5. Associated Documents and Records

- 5.1 Customer Agreement and Analysis Request (QCL-FRM-12.01)

- 5.2 Product/Raw Material Release Slip (QCL-FRM-12.02)

- 5.3 Quality Report (QCL-FRM-12.03)

- 5.4 Sample Receiving Register (QCL-REG-12.04)

- 5.5 Lab Contract (QCL-FRM-12.05)