Month: January 2023		Department: QC Lab		CAR No (Filled by Chemist): ________________

CAR Initiated on: 	___________________		CAR Initiated by: 	_____________________

CAR Initiated due to (Please tick the relevant appropriate box below)

☐ NC         ☐ Complaint          ☐ Accident/Incident          ☐  Audit NC          ☐  Suggestion/Improvement ☐  Technical Fault            ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The Lab has not defined the frequency and Mechanism for identifying the risk due to impartiality as an ongoing process. ____________ Signatures |  |  |
| ☐ Accepted ☐ Rejected | Marked to: _________________ Date: ___________________ |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| Lab has developed the risks regarding impartiality but some points recommended like relationships of personnel by standard in 4.1.4 has left. |  |  |
| - Proposed Action | Target Date: | 1-03-2023 |
| Quality Risk assessment form will be revised to fulfill the 4.1.4 standard clause requirement. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? ☐ YES ☐ NO |  | Is it Effective? ☐ YES ☐ NO |
| Comments (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |