| Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- |

# Standard Operating Procedure for

ACTIONS TO ADDRESS RISK AND OPPORTUNITIES

ISO/IEC 17025:2017 – Clause 8.6 and 8.7

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of VANPFTL.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Factory Manager or General Manager is strictly prohibited.

Amendment Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

# 1.0	Purpose

• To establish and specify systematic steps for corrective action in the resolution of quality related problems.

• To analyze and resolve quality problems in accordance to ISO 17025.

• To create a permanent solution & conduct root cause analysis that prevents

recurrence of non-conformance or potential non-conformance.

• To provide a mechanism to deal with customer related problems.

# 2.0	Scope

# This procedure is applicable to all functions in Hextar Industries QC Lab that can suggest improvement(s) in the system, control nonconformance and implement corrective actions for continual improvement in the Lab Management System.

# 3.0	Responsibilities

Manager Quality Control is responsible for

- Follow up of corrective action

- Closing of finding after verification of action effectiveness

- To ensure that the CAR forms are properly filled

- Acceptance & rejection of raised CAR's

- Chemist/Assistant Chemist is responsible:

- To maintain corrective action request log

# To implement corrective actions related to lab within specified time frame

# 4.0	Procedure

4.1       Improvements

All the personnel in the lab are encouraged to identify the opportunities for improvement in their functional areas.

Improvement can be made in the following manner but not limited to:

Progressive up-grading the Lab Quality objectives and targets

Initiating corrective actions on problems / NCs

Giving suggestions for improvement

Customer feedbacks and complaint.

Risk Assessment data

Lab Operations Data Analysis

Proficiency Testing Data

Management Review Meeting

Operational Procedures

Causes of detected/potential non-conformities are promptly identified to develop a corrective action to prevent recurrence/occurrence, as appropriate.

4.2. Initiating Corrective Actions:

Corrective actions are taken to eliminate the root cause to prevent their reoccurrence. Corrective Actions may be initiated but not limited to the following cases:

Identification of any system / process nonconformity or problems

Identification of any equipment nonconformity

Any non-compliance identified during an internal or external audit

Customer feedback including customer complaints

Any deviation from defined policies and procedures

Calibration related issues

4.3. Requesting & Processing CAR's:

4.3.1 Any lab person can initiate CAR request on CAR Form by filling it and sending it to Manager QC or can report the specific situation to Manager QC who may initiate a corrective action request by using the specified form.

4.3.2 Then comes the review; Manager QC reviews the CAR form and approves or rejects it based on its validity. In case of approval, a responsible person is assigned by the Manager QC within lab or outside the lab to do the root cause analysis of the problem. In case of rejection, the CAR form is deleted or move to rejected and no further action is taken on it.

4.4. Root Cause Analysis:

The responsible person investigates the causes of the problem that initiated the request. The investigation is carried through Fish Bone diagram that includes: Personnel, Equipment, Method, Environment, other.

4.5. Implementation of Corrective action

After root-cause analysis, corrective action is suggested, target date and nomination of person for the implementation of suggested action is done. The suggested action after approval of Manager QC is implemented and closely monitored until desired results are obtained.

4.6. Verification of Corrective Action

On, or immediately after, the suggested due date of implementation of a corrective action, Manager QC follows up to determine if the corrective action has been implemented and if it is effective.

4.61 When the corrective and measures are found to be effective, they are incorporated in the Lab Management System by making suitable changes in the relevant documents such as specifications, operating procedures, work instructions and Lab system procedures, and the CAR can be closed out. If more work is needed to fully implement the action, a new follow up date is agreed upon.

4.62 If, after extension, the suggested corrective and action is still found unimplemented or ineffective then matter is brought to senior management's attention through email / formal letter.

4.7 Management Review Meeting:

Status of corrective and actions is presented in management review meetings as input. Manager Quality Control compiles the status of corrective actions in the report and submits it in the Management review meeting.

5.0    Related Documents

i. Corrective Action Request Form (QCL-FRM-9.01)

ii. Corrective Action Request Log (QCL-FRM-9.02)