Validity of results activities details are as below:

- Use of reference materials or quality control materials;

- Use of alternative instrumentation that has been calibrated to provide traceable results;

- Functional check(s) of measuring and testing equipment;

- Use of check or working standards with control charts, where applicable;

- Intermediate checks on measuring equipment;

- Replicate tests or calibrations using the same or different methods;

- Retesting or recalibration of retained items;

- Correlation of results for different characteristics of an item;

- Review of reported results;

- Intra laboratory comparisons;

- Testing of blind sample(s).

| Sr. # | Parameter | Results Validity Activities |  |  |  |  |  |  |  |  |  |  | Remarks | Verify By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | a | b | c | d | e | f | g | h | i | j | k |  |  |
| 1 | N |  |  | x | x |  |  |  |  |  |  |  | Result Enclosed | A.QCM |
| 2 | P2O5 |  |  |  |  |  |  |  |  |  |  |  | Result Enclosed | A.QCM |
| 3 | K2O |  |  |  |  |  |  |  |  |  |  |  | Result Enclosed | A.QCM |

|  | Prepared By: | Reviewed By: | Approved By: |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Signature: |  |  |  |
| Date: |  |  |  |