Validity of results activities details are as below:

a) Use of reference materials or quality control materials;

b) Use of alternative instrumentation that has been calibrated to provide traceable results;

c) Functional check(s) of measuring and testing equipment;

d) use of check or working standards with control charts, where applicable;

e) Intermediate checks on measuring equipment;

f) Replicate tests or calibrations using the same or different methods;

g) Retesting or recalibration of retained items;

h) Correlation of results for different characteristics of an item;

i) Review of reported results;

j) Intra laboratory comparisons;

k) Testing of blind sample(s).

Year: 2020-2023

| Parameter | Schedule | Validity Activities |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | A Reference material | B | C Functional check Preventive maintenance | D Control chart | E Intermediate check Equipment | F | G | H | I Review Report | J Inter. Lab | K PT |
| - pH - Total Hardness - Calcium - Fluoride | Applicability | Yes | No | yes | yes | yes | No | No | No | NO | yes | yes |
|  | Frequency | Bi-annually | - | As per MS-LAB-F-27 Preventive maintenance schedule | Bi-Annually | As per Intermediate schedule | - | - | - | - | Bi- annual | Annually |
|  | Estimate Date | 15-02-2020 15-08-2020 15-02-2021 15-08-0201 15-02-2022 15-08-2022 15-02-2023 15-08-2023 | - | 05-01-2021 | 25-02-2020 25-08-2020 25-02-2021 25-08-0201 25-02-2022 25-08-2022 25-02-2023 25-08-2023 | 20-02-2021 | - | - | - | - | 17-02-2020 17-08-2020 17-02-2021 17-08-0201 17-02-2022 17-08-2022 17-02-2023 17-08-2023 | 02-02-2020 02-02-2021 02-02-2022 02-02-2023 |
|  | Actual date | 16-02-2020 14-08-2020 15-02-2021 17-08-0201 15-02-2022 15-08-2022 15-02-2023 | - | As per schedule |  |  | -- | - | - | - | 08-08-2019 24-07-2020 15-02-2021 17-08-2021 17-02-2022 | 02-02-2020 02-04-2021 |
|  | Remarks |  | - |  |  |  | -- | - | - | - |  |  |
|  | Verify By | Manager Quality Control Sign.________________________ |  |  |  |  |  |  |  |  |  |  |

|  | Prepared By: | Reviewed By: | Approved By: |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Signature: |  |  |  |
| Date: |  |  |  |