CONTROL OF TECHNICAL RECORDS

ISO/IEC 17025:2017 – Clause 7.5

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmad Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Chief Executive Officer is strictly prohibited.

Amendment History

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

1. Purpose

  - The procedure for control of records provides guidance to manage the technical records being generated in an effective and controlled manner:

  - Identification of Records

  - Indexing Records and Controlling their distribution

  - Managing changes in Records

  - Controlling and Indexing Records

  - Record safety and retention

  - Records generated through performance of tests, inclusive of rough calculations are provided with appropriate protection to ensure their integrity and confidentiality

- Scope

  - This procedure applies to all types of records and data being generated at QC LAB.

- Important Terms

- QC LAB: Quality Control Laboratory

- DCR:  DCR is an abbreviation for Document Change Request

- Responsible Designations

- Chief Executive Officer

- Quality Control Manager (QCM)

- Assistant Quality Manager (AQCM)

- Analysts

- Procedure

- Managing Technical Records

- Technical Records are considered of the following types:

- Results from equipment

- Results from information systems connected to equipment

- Results calculated and documented in Lab registers

- Results received from quality assurance activities (including external activities)

- Calculations and readings from statistical activities such as Measurement Uncertainty

- Results and reports from calibration certificates

- Original readings and observations

- Rough calculations

- Records are kept under the custody of authorized personnel only, and when in hard copy, they are stored in access-controlled location

- Amendments in hard copy records are made in such a manner that values or statements being modified are clearly visible. The person making change ensures signing of the update

## 5.2 	Record Identification

QC LAB has defined a system for the identification of records used in the lab. The system includes:

i.	Coding Scheme

ii.	Header Format

## 5.3 	Record Coding Scheme

QC LAB has established a record coding system, which is applied to all the records being generated or maintained by Lab. All the records have uniquely identification code.

Detail of record coding scheme for Laboratory System Format is given below;

“QCL-TTT-NNN”

Where,

QCL:    Quality Control Lab

TTT:	Type of record, e.g. LSP, FRM

NNN:  Serial Number of Record File, given in incremental order.

## 6.0.	Record Label

All records are generated with following standard header.

### 6.1.	Front Label

| File Code |  |
| --- | --- |
| Record Title |  |
| Volume # |  |
| Date Started |  |
| Date Closed |  |
| Keeper |  |
| File Location |  |

Where,

Record Title:		record name such as Master List of Records

File Code:		record code as mentioned in section 5.3

Volume:		represents issue status of record starting from 01, 02 and so.

### 6.2.	Side Label

| File Code |  |
| --- | --- |
| Record Title |  |
| Volume # |  |
| Date Started |  |
| Date Closed |  |
| Keeper |  |
| File Location |  |

## 7.0	Record Storage and Security

### 7.1.	Assistant Analysts enter the data into the computer software/databases.

### 7.2.	It is the responsibility of Assistant Analyst to keep the entire testing related data password protected and only Analyst can access the data.

### 7.3.	Only QCM & AQCM have access to make any changes in the data being kept.

### 7.4.	Records of all these changes will be kept and changes will be highlighted.

### 7.5.	Data is only be transmitted through emails and the records of such emails will be maintained.

### 7.6.	Assistant Analysts are also responsible to take the periodic data backups i.e. once per month minimum.

## 8.0.	Amendment in Records

### 8.1.	Physical records (on paper) can be amended for correction of spelling or grammatical errors by striking out the incorrect portion with a single line as this “this is incorrect”, and entering the correct word alongside with initials of the authoritative person.

Note: This also applies to data that is entered on registers.

### 8.2.	In case a Physical record expresses error in values of test results (e.g. an incorrect test report), it is reprinted / reproduced with renewed identification. Previous record is marked as obsolete and stored with obsolete records.

### 8.3.	Records kept in electronic form are amended after authorization by concerned officials, while making sure that incorrect version is backed up in a separate folder.

## 9.0	File Management

VAN QCLab has established a filing system to manage and control all the files, folders and registers being maintained which provides the details about uniquely identifying and file labeling.

### 9.1.	File/Folder/Register Coding System

All files, folders and registers will have a unique identification code according to this scheme;

“QCL- FIL-NNN”

Where,

QCL: Quality Control Lab

FIL: Represents File/Folder/Register

NNN:	Represents serial number of documents starting from 01, 02 and so on. Serial number is reinitialized if the document type changes.

## 10.0	Access and Disposal of Retained Records

When the retention period of records is expired, Assistant Analyst reviews the validity and usefulness of records and then decides whether to dispose-off or further retain in consultation with the QCM/AQCM.

Retention period of all LMS records is minimum 3 years whereas retention period of calibration certificates, test reports and related technical reports is decided after reviewing suitability and organizations policies

- Relevant Documents

  - Master List of Documents (QCL-FRM-7.01)

  - Document change request form (QCL-FRM-7.02)

  - Master list of records (QCL-RRM-7.03)

  - Master List of Files and Folders (QCL-FIL-7.04)

  - Technical Records