|  | VANPFTL | Doc. No. | VAN-LAB-F048 |
| --- | --- | --- | --- |
|  |  | Original Issue dt: | 15-03-2022 |
|  |  | Rev.# |  |
|  |  | Rev. date |  |
|  | Customer Agreement &Requisition Form | Page No. | 1/1 |

Serial   #: ----------------------                                     Lab. Id: -------------------------                        Date: -----------------------------

| Customer Details |  |  |  |
| --- | --- | --- | --- |
| Name |  | Organization |  |
| Address |  | Contact |  |
| E-mail |  | Cell # |  |

| Sample Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample Id |  |  |  | Sample type |  |
| Sample Condition | Acceptable | Non acceptable |  | Sample taken time |  |
| Sampling date/time |  |  |  | Production date/Time |  |
| Urgency | Normal |  | Urgent | Sample Location |  |

Test Examination Requested:

| Nitrogen |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Phosphorous |  |  |  |  |  |  |
| Potassium |  |  |  |  |  |  |

*only analyzed sample and as per defined range. VAN-LAB-F-21A

Compliance Testing Service Capability

Accept □ (Laboratory has ability to analyze as per scope____________) Reject □ (As below criteria) Note: The decision rule for the statement of conformity being used is zero guard band rule also referred to as the simple decision rule. Pass will be reported whenever the measured result and measuring uncertainty is within permissible limit (_______________________). Fail will be reported when the measured result and measuring uncertainty is out of permissible limit. (___________________________) Conditionally pass If the measuring result plus or minus and reported uncertainty most likely towards pass category and minimum portion fall in fail side then, the result will be Conditionally pass Conditionally fail: If the measuring result plus or minus and reported uncertainty most likely towards fail category and minimum portion fall in pass side, the result will be Conditionally fail. VAN QC LAB follows the confidence level 95%,

If the sample is rejected, tick reason below □ Improper sample receiving □ Customer/ sample information is not appropriate. □ Capability and resources do not meet requirements □ Out of detecting limit of equipment’s □Information and data handling policies/procedures are not adequate. □Required testing services are not in the scope of accreditation. □ The testing equipment’s are not adequate for the scope and volume of services offered

To be filled by QCM/AQCM (VAN QC LAB):

| Customer Name |  |
| --- | --- |
| Date |  |
| Signature |  |

| Final Recommendation |  |
| --- | --- |
| QCM Signature |  |
| Date |  |
| Signature |  |