Facilities and Environmental Conditions

ISO/IEC 17025:2017 – Clause 6.3

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmad Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Chief Executive Officer is strictly prohibited.

Amended Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |

# 1.0     PURPOSE

The purpose of this procedure is to ensure the following aspects associated with environmental conditions of VAN QC LAB in compliance with ISO 17025:

a.	Availability of accommodation for performance of lab’s testing activities

b.	Control of temperature and humidity levels of the Lab

c.	Managing nonconformities arising due to changes in environmental and accommodation conditions through use of appropriate procedures

d.	Managing lab environment through good housekeeping practices

All nonconformities associated with violation of this procedure are addressed through use of Procedure for Corrective & Preventive Action.

# 2.0	SCOPE

This procedure is applicable in QC LAB where testing and related activities are being performed including chemical storage, sample storage etc.

# 3.0	RESPONSIBILITY

## 3.1.	QCM

QCM is responsible for ensuring the following conditions:

### 3.1.1.	Laboratory facilities meet the required environmental conditions, including any needed separation of work areas to ensure that testing activities will not be adversely affected within resources provided.

### 3.1.2.	Additional resources needed are identified and facilitate procurement.

## 3.2.	AQCM

AQCM is responsible for ensuring the following conditions:

3.2.1.	Modifications to the laboratory infrastructure (if required) to accommodate new equipment, so it does not interfere with the environmental controls in the laboratory.

3.2.2.	Schedule cleaning and maintenance of the laboratory facility.

3.2.3.	Ensure that lab cleaning and environmental monitoring is done as per this procedure and related records are maintained properly.

3.2.4.	Analysts are responsible for ensuring good housekeeping practices.

4.0	PROCEDURE

4.1.	Daily Temperature and Humidity Control

### 4.1.1.	Daily temperature and humidity readings are recorded from hygrometer installed in the lab during working hours where the tests in the scope of accreditation are performed

### 4.1.2.	Entries are recorded in “Environment Monitoring Form” by nominated lab staff members as directed by the AQCM.

### 4.1.3.	Tests are only performed when the environmental conditions are compliant with test method’s requirements.

### 4.1.4.	Nominated staff compiles monthly summary in monitoring form at the end of each month and forward it to the AQCM.

### 4.1.5.	AQCM verifies it before signing.

## 4.2.	Control Limits

Following temperature and humidity limits are considered as a standard in testing areas:

4.2.1.	25±5 0C and 50+20%, respectively

4.2.2.	Unless specified in the test method

4.2.3.	If temperature and humidity levels are found below or above the defined limits, respective lab staff immediately informs AQCM who reviews the limits and considers their impact on tests being performed.

4.2.4.	In case the variation persists below or above the prescribed limit, it is compulsory to raise the issue using “Procedure for Corrective and Preventive Action”.

4.3.	Lab Housekeeping

4.3.1.	Housekeeping in a lab environment is required to ensure the following:

4.3.2.	Identification and Labeling of cupboards, racks and shelves to ensure proper placement of items as well as effective lab inventory management

4.3.3.	Regular clean-up of lab to ensure prevention of effects of dust, spillage or any other unrequired item from the lab

4.3.4.	Identification and labeling of areas to avoid cross-contamination and avoiding misplacement of equipment and test items to protect their calibration status and characteristics, respectively

4.3.5.	No eatables are allowed in the Lab premises

4.3.6.	Concept of right thing at right place is encouraged to ensure better housekeeping

## 4.4.	Labeling of Cupboards, Shelves and Racks

### 4.4.1.	Lab staff ensures that all cupboards, shelves and racks are appropriately labeled to express traceability and management of items, equipment and documentation being kept in lab. The racks and cabinets in the lab are labeled as per the following scheme;

AN

A	represents the rack / cabinet like A, B, C and so on

N	represents row number of the rack/ cabinet and changes as we move from top to bottom in rack / cabinet sections like 1, 2, 3 and so on

4.4.2.	In addition to labeling, list of contents is displayed on of racks / cabinets enlisting items stored in them.

4.4.3.	The labeling ensures that all items are kept in their designated areas, and in case an item is taken to perform lab’s operation, it is placed back into its designated spot to ensure its protection and prevention of any damage or loss because of its misplacement.

4.5.	Lab Clean-up Status

4.5.1.	Lab’s clean-up status is checked, verified and recorded using Housekeeping sheet on daily basis, before initiation of lab operations.

4.5.2.	The check-up status is not “checked” until and unless the designated responsible staff member is satisfied with clean-up status of lab’s area, work tables, equipment and apparatus, etc.

4.5.3.	During operations, it is ensured by lab staff that all equipment and testing areas are cleaned after performance and completion of test, to avoid contamination of other tests being performed and/or negative effects on personnel.

4.5.4. Waste Collection: This involves gathering waste produced during testing and lab activities including hazardous and non-hazardous materials. Hazardous waste materials is collected in yellow container and non-hazardous waste is collected in white container respectively provided by AT waste Management (Waste Disposal Partner).

4.5.5. Waste Transport: After collection, waste is handover to AT Waste Management (Waste Disposal Partner/Service Provider) on regular intervals.

4.6.	Identification of Equipment Areas

4.6.1.	Areas where test equipment is being kept for operations are labeled with their names, equipment code and their location number.

4.6.2.	Test equipment is only allowed to be moved from its designated location in cases such as repair, maintenance or calibration requirements.

4.6.3.	All critical equipment is provided with backup and spare parts. These are stored at pre-defined locations in Spare Parts store and inventoried on Inventory Movement Record.

4.6.4.	Similarly, in case of apparatus such glassware, are always placed in their designated areas after performance of test.

## 4.7.	Chemical Storage

### 4.7.1.	Chemicals, Reagents and other consumables are also stored in lab under controlled conditions.

### 4.7.2.	All chemicals / consumables are placed in orderly manner in racks with defined coding mentioned in section 4.4 of the procedure and are kept well maintained all the time.

### 4.7.3.	The list of Inventory (including chemicals and consumables) is maintained and kept updated for balance, expiry dates and location etc. especially of all such chemicals that are critical and required for testing.

## 4.8.	Visitor Access Control

No external personnel are allowed in the testing areas, except with authorized lab personnel. External personnel are escorted by nominated lab representative during their visit, details of which are entered and maintained on visitors’ register. Following details are entered in the visitors’ register for a particular visit;

a.	Date

b.	Name of the person

c.	Time in

d.	Time out

e.	Purpose of visit

f.	Signature of the visitor

# 5.0	ASSOCIATED DOCUMENTS & FORMATS

1.	Environmental Conditions Monitoring, Control and Record Form (QCL/FRM-3.01)

2.	Control Chart Form for Humidity (QCL/FRM-3.02)

3.	Control Chart Form for Temperature (QCL/FRM-3.03)

4.    Lab Visiting Register (QCL-Reg-3.04)