## Sheet1
|  | Master List of Equipments |  |  | Document No. | QCL-FRM-4.02
[5 empty] | Issue Date: | 2024-01-01
[5 empty] | Issue# | 0
[5 empty] | Page# | 1
Sr. No. | Name of Equipments | Least count and range | Valid calibration Yes Or No | Calibration frequency | Tests used with clause reference of PS | Quantity
1 | Karl Fischer | 0-100% | Yes | 1 Year | Karl-Fischer Titrant | 1
2 | Mechanical Shaker | 360 rpm | No | - | - | 1
3 | Digital Centrifuge | 4000 rpm | No | - | - | 1
4 | Flame Photometer | 1-200 ppm | Yes | 1 Year | Flame-Photometry | 1
5 | Desicator | - | No | - | - | 1
6 | Analytical Weigh Balance | 0-200g | Yes | 1 Year | - | 1
7 | Oven | 10-300 oC, 1-9999min | Yes | 1 Year | - | 1
8 | Ultra Sonic Bath | - | No | - | - | 1
9 | Set Of Masses | 10mg-200g | Yes | 1 Year | - | 1
10 | pH Meter | (-2 to 16) pH | Yes | 1 Year | - | 1
11 | EC Meter | EC = 0-500 mS/cm | Yes | 1 Year | - | 1
12 | Refrigerator | 4 oC | No | - | - | 1
13 | Hot Plat | 100-500 oC | Yes | 1 Year | - | 1
14 | Kjeldhal's Distillation Apparatus | 100-500 oC | Yes | 1 Year | - | 1
15 | Spectrophotometer | 0-100%T, 0Abs-1Abs | Yes | 1 Year | Spectrophotometry | 1
16 | Multiparameter Photometer | 0-4 Abs | Yes | 1 Year | Spectrophotometry | 1
17 | Magnetic Stirrer with Hot plat | 2400 rpm | Yes | 1 Year | - | 1
18 | Vaccume Filtration Assenbly | 1-1000 ml | No | - | - | 1
19 | Thermo Hygrometer | RT = 15-30 oC | Yes | 1 Year | - | 1
RH = 30-70 %
20 | Muffle Furnace | 10-1000 oC | Yes | 1 Year | - | 1
Prepared By: Checked By: Approved By: