| No | Asset ID | Name | Make/ Manufacturer | Model | Serial No. | Description, Accessories, Spares, Consumables etc. | Software | Firmware | Location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | QC/INS/001 | Analytical balance | China BMS | China/BSM 220.4 | N2210312-132/ Digital |  |  |  | QC Lab |

| Parameter | Calibration Date | Calibrated By | Results of Calibration | Adjustment | Acceptance Criteria | Next Calibration Date | Reference Material(s) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Description | Results | Acceptance Criteria | Date | Validity Up to |
| Weight | 06 April,2023 | PCSIR | +0.0002 | -0.0002 | -0.0002 | 05/04/2024 |  |  | ±0.0002 | 10/04/2024 | 05/04/2024 |