| No | Asset ID | Name | Make/ Manufacturer | Model | Serial No. | Description, Accessories, Spares, Consumables etc. | Software | Firmware | Location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | QC/INS/007 | Hot Plate | China | China | Nil |  |  |  | QC Lab |

| Parameter | Calibration Date | Calibrated By | Results of Calibration | Adjustment | Acceptance Criteria | Next Calibration Date | Reference Material(s) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Description | Results | Acceptance Criteria | Date | Validity Up to |
| Temperature | 06/04/2023 | PCSIR | + 0.75 | + 0.75 | + 0.75 | 05/04/2024 |  |  |  |  |  |