|  |  | ISO/IEC 17025 compliance checklist |
| --- | --- | --- |
|  |  | Ensuring audit readiness at all times |

## ISO/IEC 17025

Meeting the requirements of ISO 17025 can be daunting, so we have put together a checklist for you to use to track your lab’s readiness to meet its demands. You can also see below a snapshot of how Ideagen’s quality management solution helps you to meet each part of ISO 17025.

*Please note: the checks below are not exhaustive and should be used as a guideline. Make sure to closely follow the contents of the ISO/IEC 17025:2017 document to ensure full compliance with your accrediting body’s standards.

### ISO 13485 compliance checklist

4 – General requirements

| Clause | Key checks | Evidence (e.g. document ID or notes) | Checked? |
| --- | --- | --- | --- |
| 4.1 – Impartiality: 4.1.1 | - Does the lab take reasonable measures to ensure the impartiality of its staff? - Are processes set up to support the drive for impartiality? - Check whether measures taken to ensure impartiality are being documented |  |  |
| 4.1.2 | - Is the lab committed to upholding impartiality? - Is this commitment outlined in a relevant document, e.g. lab statement of purpose document, scope of operations, or quality manual? |  |  |
| 4.1.3 | - Do any commercial pressures affect your lab’s ability to maintain impartiality? - Do any financial pressures affect your lab’s ability to maintain impartiality? - Do any other pressures affect your lab’s ability to maintain impartiality, for example relationships with other organizations, conflicts of interest or political pressures? |  |  |
| 4.1.4 | - Does the lab routinely identify any potential risks and threats to its ability to maintain impartiality? - Are there any relationships that may affect impartiality? - Could any relationships of personnel affect impartiality? - Are the measures being taken to check for this risk documented and regularly being followed? |  |  |
| 4.1.5 | - Does the lab have processes in place to handle a threat to impartiality should it arise? - Can this process be easily explained and demonstrated? - Have any previous impartiality risks been documented and resolved? - If no such risks have arisen, are you confident that your process for handling such an impartiality risk is adequate? |  |  |
| 4.2 – Confidentiality: 4.2.1 | - Does the lab understand that it is responsible, through legally enforceable commitments, for the management of all information obtained or created during the performance of laboratory activities? - Are all relevant stakeholders aware that, except for information that the customer makes publicly available or when agreed between the laboratory and the customer (e.g. for the purpose of responding to complaints), all other information is considered proprietary information and shall be regarded as confidential? - Has the laboratory documented how it maintains the confidentiality of all information obtained or created during the performance of its activities? - Does the lab inform customers in advance of any information it intends to place in the public domain? - Have measures to maintain confidentiality been routinely followed? - Is information (i.e. documents) maintained in such a way as to protect confidentiality? - Are measures in place to protect information from unauthorized access? |  |  |
| 4.2.2 | - Is the lab aware that there are circumstances in which it would be required to release information, e.g. when required by law or contractual arrangements? - In the event the release of confidential information is required by law or contractual agreement, does the laboratory have a process in place for the release of confidential information which includes notifying the customer or individual concerned? |  |  |
| 4.2.3 | - Is information about the customer obtained from sources other than the customer (e.g. complainant, regulators) kept confidential between the customer and the laboratory? - Is the provider of such information kept confidential to the laboratory and not shared with the customer, unless agreed by the source? |  |  |
| 4.2.4 | - Are personnel, including any committee members, contractors, personnel of external bodies or individuals acting on the laboratory's behalf, aware of their obligation to keep all information obtained or created during the performance of laboratory activities confidential (except as required by law)? - Is a process established and documented for the handling of any incident where this confidentiality is not maintained? |  |  |

5 – Structural requirements

| Clause | Key checks | Evidence (e.g. document ID or notes) | Checked? |
| --- | --- | --- | --- |
| 5.1 | - Is the laboratory established as a legal entity, or a defined part of a legal entity, that is legally responsible for its laboratory activities? - Is this outlined in a relevant document, such as a lab statement of purpose document, scope of operations, or quality manual? |  |  |
| 5.2 | - Has the laboratory established and documented a management structure with overall responsibility for the lab? - Are all individuals involved aware of their responsibilities and are these responsibilities clearly outlined? - Is all documentation and resource requirement available to these individuals at the point of need? - Do all individuals involved in management have the appropriate competencies and access to training/materials essential for the performance of their duties? |  |  |
| 5.3 | - Have you developed a comprehensive scope document which establishes a clear list of laboratory activities for which the lab claims ISO/IEC 17025 conformity? This includes specific tests, calibrations and types of measurements the lab is competent to perform. - Check whether you are evaluating and verifying competency of all laboratory personnel to ensure they are qualified to perform the activities included in the scope of ISO/IEC 17025 conformity. - Do you clearly outline and exclude any laboratory services that are outsourced or performed externally from the claim of conformity since these are not covered under the lab's ISO/IEC 17025 accreditation? - Do you conduct regular internal audits and quality assurance checks to ensure ongoing compliance with the documented range of laboratory activities that conform to ISO/IEC 17025? - Check whether meticulous records of all procedures, tests and calibrations performed within the scope of ISO/IEC 17025 conformity are being kept, ensuring traceability and reproducibility of results. |  |  |
| 5.4 | - Do laboratory activities – whether conducted within permanent facilities, at remote sites, in mobile units or directly at a customer's venue – strictly adhere to the requirements of ISO/IEC 17025, customer expectations, regulatory authorities and recognition-granting bodies? - Check whether procedures have been implemented to consistently meet the compulsory requisites across every phase and location of laboratory operations, from primary sites to transitory settings. - Do you regularly evaluate laboratory activities for alignment with customer specifications and authoritative regulations, thereby upholding recognition criteria at all times? - Check whether comprehensive documentation processes for activities performed both in-house and off-site are being maintained, ensuring complete traceability and compliance with ISO/IEC 17025 standards. - Has a uniform quality assurance system that can be audited and verified irrespective of whether activities are conducted at the main lab, field locations, or customer sites been defined and applied? |  |  |
| 5.5 | - Is the organization and management structure of the laboratory, its place in any parent organization, and the relationships between management, technical operations and support services clearly defined and documented? - Does the lab specify and document the responsibility, authority and interrelationship of all personnel who manage, perform or verify work affecting the results of laboratory activities? - Check that the lab is documenting its procedures to the extent necessary to ensure the consistent application of its laboratory activities and the validity of the results. - Is all the documentation related to the above available at the point of need, for example to relevant personnel, auditors or regulatory bodies? |  |  |
| 5.6 | - Has the lab appointed a person(s) who is responsible for the implementation, maintenance and improvement of the management system? - Has the lab appointed a person(s) who is responsible for the identification of deviations from the management system or from the procedures for performing laboratory activities? - Has the lab appointed a person(s) who will initiate actions to prevent or minimize such deviations? - Has the lab appointed a person(s) who reports to laboratory management on the performance of the management system and any need for improvement? - Has the lab appointed a person(s) who is responsible for ensuring the effectiveness of laboratory activities? - *Note: these responsibilities can be held by a single person or multiple people |  |  |
| 5.7 | - Check whether regular communication is taking place regarding the effectiveness of the management system and the importance of meeting customers' and other requirements - Are these communications being documented and any progress, actions or issues properly tracked? - Are effective processes in place for change control? - Can the integrity of the management system be maintained when changes to the management system are planned and implemented? |  |  |

###### 6 – Resource requirements

| Clause | Key checks | Evidence (e.g. document ID or notes) | Checked? |
| --- | --- | --- | --- |
| 6.1 – General | - Check whether the lab has appropriate personnel numbers to perform its activities - Does the lab operate in a facility that is fit for purpose for the scope of its activities? - Does the lab have all the equipment necessary to perform its activities and deliver valid, accurate results? - Are the necessary systems in place for the lab’s activities? - Are support services adequate to support the scope of lab activities? - Is information on all the above resources documented? |  |  |
| 6.2 – Personnel: 6.2.1 | - Is there a system in place to check all personnel performing work affecting lab activities have suitable education, training, skills, competencies and experience? - Does this system of checks apply to both internal personnel and any external individuals whose work affects laboratory operations? - Are checks in place to ensure the impartiality of all personnel and are they appropriately trained to understand their commitment to impartiality? - Is evidence of all training and competency available at the point of need (i.e. documented) and available at the point of need to, for example, management, auditors or regulatory bodies? |  |  |
| 6.2.2 | - Check whether the competency requirements for each lab function are clearly outlined - Do these outlined requirements include requirements for education? - Do these outlined requirements include requirements for qualification levels necessary for the role? - Do these outlined requirements include requirements for training to maintain competency? - Do these outlined requirements include requirements for technical knowledge? - Do these outlined requirements include requirements for levels of skill and experience for the role? |  |  |
| 6.2.3 | - Does the lab regularly ensure that personnel have the competency required for all the activities for which they are responsible? - Does the lab regularly check for any deviations from outlined requirements that may suggest a lack of training and competency? - Have any such deviations been documented, evaluated and resolved? |  |  |
| 6.2.4 | - In addition to just being documented, are personnel fully aware of their duties and responsibilities? - Check whether personnel understand the full extent of their responsibilities within the lab - Do personnel have readily available access to an outline of their duties, responsibilities and necessary competencies? |  |  |
| 6.2.5 | - Check whether a procedure is in place for determining competency requirements and that the procedure is documented - Check whether a procedure is in place for the selection of personnel and that the procedure is documented - Check whether a procedure is in place for the training of personnel and that the procedure is documented - Check whether a procedure is in place for the supervision of personnel and that the procedure is documented - Check whether a procedure is in place for suitable authorization of personnel and that the procedure is documented - Check whether a procedure is in place for monitoring the ongoing competence of personnel and that the procedure is documented |  |  |
| 6.2.6 | - Has the laboratory authorized an individual(s) to carry out the development, modification, verification and validation of methods? - Has the laboratory authorized an individual(s) to carry out analysis of results, including statements of conformity or opinions and interpretations? - Has the laboratory authorized an individual(s) to report, review and authorize results? |  |  |
| 6.3 – Facilities and environmental conditions: 6.3.1 | - To the best of your knowledge, as evidenced by the ongoing accuracy of results and absence of an undue number of deviations, are the lab facilities suitable for lab activities and not adversely affecting the validity of results? - To the best of your knowledge, as evidenced by the ongoing accuracy of results and absence of an undue number of deviations, are the environmental conditions of the lab suitable for lab activities and not adversely affecting the validity of results? |  |  |
| 6.3.2 | - Are requirements for laboratory facilities that safeguard the effective performance of lab activities documented? - Are requirements for environmental conditions that safeguard the effective performance of lab activities documented? - Is this documentation readily available to interested parties, such as management, auditors or regulatory bodies? |  |  |
| 6.3.3 | - Does the lab monitor, control and record environmental conditions in accordance with relevant specifications, methods or procedures or where they influence the validity of the results? - Is evidence of this ongoing commitment to maintaining suitable environmental conditions documented? |  |  |
| 6.3.4 | - Are measures to control, monitor and periodically review access to and use of areas affecting laboratory activities in place? - Are measures to control, monitor and periodically review the prevention of contamination, interference or adverse influences on laboratory activities in place? - Are measures to control, monitor and periodically review the effective separation between areas with incompatible laboratory activities in place? - Are all of the above measures documented and are those documents readily available to interested parties, such as management, auditors or regulatory bodies? |  |  |
| 6.3.5 | - As outlined in clauses 6.3.1 – 6.3.4, are the same controls/measures in place to ensure all the requirements are met by facilities outside of the lab’s permanent control? - Are facilities outside of the lab’s permanent control meeting, to the best of your knowledge, the conditions of ISO/IEC 17025 in general? |  |  |
| 6.4 – Equipment: 6.4.1 | - Does the lab conduct an inventory to confirm that all required equipment, ranging from measuring instruments and software to measurement standards and reagents, is accessible and capable of performing necessary lab activities? - Check whether the lab keeps up-to-date calibration records for all equipment to ensure they are within their operational specifications and are producing accurate results influencing the lab activities - Do you regularly assess and document how each type of equipment affects the outcome of lab activities, clearly establishing its impact on the reliability of results to demonstrate compliance with clause 6.4.1? - Ensure that all software used in laboratory activities is verified for correct performance, including updates and patches that may influence lab results - Is there a quality check system for all consumables, reference materials and reagents to ensure that only those meeting quality standards are used in lab processes, influencing the accuracy of results? |  |  |
| 6.4.2 | - Are the same checks in place, as outlined in 6.4.1, for equipment outside of the lab’s permanent control? |  |  |
| 6.4.3 | - Does the laboratory have a procedure for the handling of equipment in order to ensure proper functioning and to prevent contamination or deterioration? - Does the laboratory have a procedure for the transportation of equipment in order to ensure proper functioning and to prevent contamination or deterioration? - Does the laboratory have a procedure for the storage of equipment in order to ensure proper functioning and to prevent contamination or deterioration? - Does the laboratory have a procedure for the use of equipment in order to ensure proper functioning and to prevent contamination or deterioration? - Does the laboratory have a procedure for the planned maintenance of equipment in order to ensure proper functioning and to prevent contamination or deterioration? - Are all of the above procedures documented and available at the point of need for interested parties? |  |  |
| 6.4.4 | - Does the lab regularly verify that equipment conforms to specified requirements before being placed into service? - Does the lab regularly verify that equipment conforms to specified requirements before being returned into service after a period of downtime? - Is this verification process documented? - Are results and any nonconformances highlighted by the verification process documented? |  |  |
| 6.4.5 | - Is all equipment used for measurement capable of achieving the measurement accuracy and/or measurement uncertainty required to provide a valid result? - When equipment does not meet a standard that provides a valid result, are procedures in place to replace, repair or rectify by whatever means necessary to ensure it can provide valid results before being used in lab activities? - Is evidence of the previous checks being documented and available at the point of need? |  |  |
| 6.4.6 | - Check whether measuring equipment is being calibrated when the measurement accuracy or measurement uncertainty affects the validity of the reported results - Check whether measuring equipment is being calibrated when calibration of the equipment is required to establish the metrological traceability of the reported results |  |  |
| 6.4.7 | - Has the laboratory established an effective calibration programme? - Is this programme regularly being reviewed and adjusted where necessary to ensure accurate results and maintain confidence in the status of calibration? - Is the programme documented and available at the point of need for all interested parties? |  |  |
| 6.4.8 | - Is all equipment requiring calibration or which has a defined period of validity labelled, coded or otherwise identifiable? - Can equipment users readily identify the status of calibration or period of validity by whichever identification option you have chosen in your lab? - Are equipment users trained to recognise these identifiers and what that means in practice? |  |  |
| 6.4.9 | - Is a process for removing equipment from service in place if it has been overloaded, mishandled, is giving questionable results, or has been shown to be defective/outside of specified requirements? - Are you confident this process is being followed? - Is such equipment clearly labelled/marked as out of service to prevent further use until it has been verified to perform correctly? - Is a procedure in place to examine any effect an equipment defect/deviation could have had on the validity of results? - Is a “management of nonconforming work” procedure in place (see 7.10)? - Are all of the above measures and processes properly documented, available at the point of need and being followed? |  |  |
| 6.4.10 | - Where intermediate checks are necessary to maintain confidence in equipment performance, are these checks being carried out according to a procedure? - Is the above procedure documented, available at the point of need for stakeholders and easy to follow for all personnel required to carry out and understand the procedure? |  |  |
| 6.4.11 | - Does the lab consistently review and, if needed, update reference values and correction factors utilized for calibration and reference materials? - Check that the lab ensures their accurate implementation to comply with the specified requirements. - Is this review and checking process being followed, documented and is it available at the point of need? |  |  |
| 6.4.12 | - Check whether measures are in place to prevent unintended adjustments of equipment from invalidating equipment - Is a process for this documented and being followed? - Is a process in place to correct any unintended adjustments should they have affected the validity of results? |  |  |
| 6.4.13 | - Are records being retained for all equipment which can influence lab activities? - Do the records include the identity of equipment, including software and firmware version? - Do the records include the manufacturer's name, type identification, and serial number or other unique identification? - Do the records include evidence of verification that equipment conforms with specified requirements? - Do the records include the current location? - Do the records include calibration dates, results of calibrations, adjustments, acceptance criteria, and the due date of the next calibration or the calibration interval? - Do the records include documentation of reference materials, results, acceptance criteria, relevant dates and the period of validity? - Do the records include the maintenance plan and maintenance carried out to date, where relevant to the performance of the equipment? - Do the records include details of any damage, malfunction, modification to, or repair of, the equipment? - Are these records readily available at the point of need for interested parties, for example relevant personnel, management, auditors or regulatory bodies? |  |  |
| 6.5 – Metrological traceability: 6.5.1 | - Has a verifiable traceability process been established that ensures all measurements are linked to appropriate national or international standards, where applicable? - Do you conduct regular reviews on calibration certificates to confirm traceability is provided for each measurement performed? - Is each step in the calibration chain being documented, including an unbroken chain of documented calibrations that contribute to the measurement uncertainty? - Do records include the calibration dates, methods, technicians, results and uncertainties associated with each calibration standard, thus ensuring a level of traceability? - Does the lab perform thorough uncertainty analyses for each calibration and measurement to quantify the errors and uncertainties involved? - Ensure that these uncertainties are accounted for at each link in the traceability chain, providing assurance to the laboratory's clients that the measurement results meet the rigor dictated by clause 6.5.1 |  |  |
| 6.5.2 | - Check whether measurement results are raceable to the International System of Units (SI) through calibration provided by a competent laboratory or; - Check whether measurement results are traceable to the SI through certified values of certified reference materials provided by a competent producer with stated metrological traceability to the SI or; - Check whether measurement results are traceable to the SI through direct realization of the SI units ensured by comparison, directly or indirectly, with national or international standards. - Are the checks you are making based on the above being documented? |  |  |
| 6.5.3 | - Where metrological traceability to the SI units is not technically possible, does the lab demonstrate metrological traceability to an appropriate reference? |  |  |
| 6.6 – Externally provided products and services: 6.6.1 | - Does the lab ensure the suitability of externally provided products and services that are intended for incorporation into the laboratory’s own activities? - Does the lab ensure the suitability of externally provided products and services that are provided, in part or in full, directly to the customer by the laboratory, as received from the external provider? - Does the lab ensure the suitability of externally provided products and services that are used to support the operation of the laboratory? - Is the process for ensuring the suitability of externally provided products and services being documented, readily available and being followed? |  |  |
| 6.6.2 | - Does the lab have a procedure for defining, reviewing and approving the laboratory’s requirements for externally provided products and services? - Does the lab have a procedure for defining the criteria for evaluation, selection, monitoring of performance and re-evaluation of the external providers? - Does the lab have a procedure for ensuring that externally provided products and services conform to the laboratory’s established requirements, or when applicable, to the relevant requirements of this document, before they are used or directly provided to the customer? - Does the lab have a procedure for taking any actions arising from evaluations, monitoring of performance and re-evaluations of the external providers? - Are all of the above procedures documented and are they available at the point of need for all relevant stakeholders? - Are records pertaining to all the above being retained? |  |  |
| 6.6.3 | - Does the lab appropriately communicate its requirements to external providers for the products and services to be provided? - Does the lab appropriately communicate its requirements to external providers for acceptance criteria? - Does the lab appropriately communicate its requirements to external providers for competence, including any required qualification of personnel? - Does the lab appropriately communicate its requirements to external providers for any activities that the laboratory or its customer, intends to perform at the external provider's premises? - Is evidence of this communication being documented? |  |  |

###### 7 – Process requirements

| Clause | Key checks | Evidence (e.g. document ID or notes) | Checked? |
| --- | --- | --- | --- |
| 7.1 – Review of requests, tenders and contracts: 7.1.1 | - Does the lab have an established procedure for the review of requests, tenders and contracts and is it documented? - Does the procedure have requirements that are adequately defined, documented and understood? - Does the lab have the capability and resources to meet the requirements laid out in the procedure? - If external providers are being used, are the requirements of clause 6.6 being applied? - Are customers being informed, as part of the procedure, about the specific activities being performed by external providers? - Has the customer approved the use of the external supplier? - Are appropriate methods and procedures selected and are they capable of meeting customer requirements? - Is all of the above clearly documented and available at the point of need for all relevant stakeholders? |  |  |
| 7.1.2 | - Is there a process in place for informing customers when the method they have requested is considered to be inappropriate or out of date? |  |  |
| 7.1.3 | - Has the lab created and documented a clear definition of the statement of conformity that the laboratory will issue, specifying whether it indicates a pass/fail or within/outside tolerance based on the testing or calibration? - Has the lab established and recorded the decision rule that will be applied in determining conformity? - Is this rule not only transparently communicated, but also has explicit agreement from the customer been attained? - Does the lab actively seek and integrate customer feedback once the decision rule is selected and communicated? |  |  |
| 7.1.4 | - Does the lab resolve any differences between the request or tender and the contract before laboratory activities are commenced? - Is there a process in place for checking that each contract is acceptable to both the lab and the customer? - Are the details outlined in contracts documented and readily available at the point of need for all relevant personnel? - Are measures in place to ensure that deviations requested by the customer do not impact the integrity of the lab or the validity of its results? |  |  |
| 7.1.5 | - Is a process in place to ensure customers are informed of any deviations from the contract? - Has this process been followed if such instances have occurred? - Is a record taken of any communication with customers over deviations from the contract? |  |  |
| 7.1.6 | - In instances where a contract is amended after work has commenced, is a contract review process repeated? - Are any amendments appropriately communicated to all affected personnel? - Is a record being taken of any changes to amendments to contracts and are the details of these amendments readily available at the point of need? |  |  |
| 7.1.7 | - Does the lab cooperate with customers or their representatives in clarifying customer requests and monitoring lab performance in relation to work performed? - Where necessary, does the lab provide reasonable access to relevant areas of the laboratory to witness customer-specific laboratory activities? - Are these customer interactions documented? |  |  |
| 7.1.8 | - Is the lab retaining records of reviews, including the clear outlining of any significant changes? - Are records being retained of any pertinent discussions with customers relating to their requirements? - Are records being retained of any pertinent discussions with customers relating to the results of lab activities? |  |  |
| 7.2 – Selection, verification and validation of methods: 7.2.1 – Selection and verification of methods: 7.2.1.1 | - Does the lab use appropriate methods and procedures for all laboratory activities and, where appropriate, for evaluation of the measurement uncertainty as well as statistical techniques for analysis of data? - Are details of the selected methods clearly documented, including a rationale for their suitability and selection? - Is a process in place to regularly review ongoing suitability of methods and is this documented? |  |  |
| 7.2.1.2 | - Are all methods, procedures and supporting documents – e.g. instructions, standards, manuals and reference data – being kept up to date? - Are all the above documents readily available to all relevant personnel? - Are personnel trained on the handling and understanding of the above documents? |  |  |
| 7.2.1.3 | - Check the laboratory is using the latest valid version of all methods - If it is not appropriate or possible to use the latest valid version of all methods, are all relevant stakeholders (customers, management, regulatory bodies) kept informed of the rationale behind the method selection? - Is the application of methods supplemented with additional details to ensure consistent application where necessary? |  |  |
| 7.2.1.4 | - In instances where the customer does not specify a method to be used, does the laboratory select an appropriate method and communicate this – including rationale for selection – to the customer? - Check that methods chosen are published in international, regional or national standards, or by reputable technical organizations, or in relevant scientific texts or journals, or as specified by the manufacturer of the equipment - Where laboratory-developed or modified methods are used, are these methods reviewed for suitability regularly, documented and the rational for use communicated to relevant stakeholders? |  |  |
| 7.2.1.5 | - Does the laboratory verify it can properly perform methods before introducing them? - Do methods achieve the required performance? - Are records of the verification retained and are they readily available at the point of need? - Is verification repeated if the method is revised by the issuing body? |  |  |
| 7.2.1.6 | - Is method development, where required, assigned to competent personnel with adequate resources? - Are reviews carried out into the development of methods to ensure that the needs of the customer will remain fulfilled? - Are any modifications to the development plan approved and authorized by someone with the authority to do so? - Is all of the above being documented? |  |  |
| 7.2.1.7 | - Are deviations from methods being documented? - Are deviations from methods being technically justified? - Are deviations from methods being authorized by someone with the authority to do so? - Are deviations from methods being communicated to and accepted by the customer? |  |  |
| 7.2.2 – Validation of methods: 7.2.2.1 | - Is the laboratory validating any non-standard methods? - Is the laboratory validating any laboratory-developed methods? - Is the laboratory validating any standard methods used outside their intended scope or otherwise modified? - Is the validation extensive enough to meet the needs of the given application or field of application? - Are all validation activities being documented clearly? |  |  |
| 7.2.2.2 | - When changes are made to a validated method, is the influence of such changes being determined? - Where changes are found to affect the original validation, is a new method validation performed? - Is detail of the above activities being clearly documented? |  |  |
| 7.2.2.3 | - Are the performance characteristics of validated methods, as assessed for the intended use, relevant to customers’ needs and consistent with specified requirements? |  |  |
| 7.2.2.4 | - Check whether the lab is retaining records of the validation procedure used - Check whether the lab is retaining records on the specification of the requirements - Check whether the lab is retaining records on the determination of the performance characteristics of the method - Check whether the lab is retaining records of the results obtained - Check whether the lab is retaining a statement on the validity of the method, detailing its fitness for the intended use - Are these records readily available at the point of need to all relevant stakeholders? |  |  |
| 7.3 – Sampling: 7.3.1 | - Has the lab developed a sampling plan that specifies the methods and procedures to be employed, defining the sample size, sampling points, and frequency? - Is the plan’s basis on sound statistical principles to guarantee representativeness and repeatability for all measurements? - Does the lab maintain comprehensive documentation for each sampling method, including step-by-step procedures and the rationale for chosen methodologies? - Is this documentation readily available at all sampling sites to ensure methodological consistency and validity of results? - Does the lab identify and control all critical factors in the sampling process that may affect the validity of test results, such as environmental conditions, time of collection and sampling equipment, to prevent contamination or degradation of samples? - Does the lab regularly validate and, if necessary, recalibrate sampling methods to confirm their effectiveness and to ensure the integrity of samples and subsequent calibration or test results? - Check that all personnel involved in sampling adhere strictly to the sampling plan and methods - Does the lab regularly evaluate personnel competency to ensure consistent application and to minimize the risk of sampling errors? - Does the lab conduct periodic reviews of the statistical methods underlying the sampling plan, updating them as needed to reflect current best practices and technological advancements? |  |  |
| 7.3.2 | - Does the sampling method describe the selection of samples or sites? - Does the sampling method describe the sampling plan? - Does the sampling method describe the preparation and treatment of sample(s) from a substance, material or product to yield the required item for subsequent testing or calibration? - Is the sampling plan readily available at the point of need for all relevant personnel? |  |  |
| 7.3.3 | - Does the laboratory retain records of sampling data that forms part of the testing or calibration that is undertaken? - Do those records include, where relevant, reference to the sampling method used? - Do those records include, where relevant, the date and time of sampling - Do those records include, where relevant, data to identify and describe the sample (e.g. number, amount, name)? - Do those records include, where relevant, identification of the personnel performing sampling? - Do those records include, where relevant, identification of the equipment used? - Do those records include, where relevant, environmental or transport conditions? - Do those records include, where relevant, diagrams or other equivalent means to identify the sampling location, when appropriate? - Do those records include, where relevant, deviations, additions to or exclusions from the sampling method and sampling plan? - Are these records readily available at the point of need to all relevant stakeholders? |  |  |
| 7.4 – Handling of test or calibration items: 7.4.1 | - Does the laboratory have a procedure for the transportation of test or calibration items? - Does the laboratory have a procedure for the receipt of test or calibration items? - Does the laboratory have a procedure for the handling of test or calibration items? - Does the laboratory have a procedure for the protection of test or calibration items? - Does the laboratory have a procedure for the storage of test or calibration items? - Does the laboratory have a procedure for the retention of test or calibration items? - Does the laboratory have a procedure for the disposal of test or calibration items? - Does the laboratory have a procedure for the return of test or calibration items? - Do the above procedures include all provisions necessary to protect the integrity of the test or calibration item, and to protect the interests of the laboratory and the customer? - Are precautions being taken to avoid deterioration, contamination, loss or damage to the item during handling, transporting, storing/waiting, and preparation for testing or calibration? - Are handling instructions provided with the item being followed? - Do personnel receive appropriate training on handling of items? |  |  |
| 7.4.2 | - Check that the lab has a system for the unambiguous identification of test or calibration items - Is the identification being retained while the item is under the responsibility of the laboratory? - Does the system ensure that items will not be confused physically or when referred to in records or other documents? - Does the system, where appropriate, accommodate a sub-division of an item or groups of items and the transfer of items? |  |  |
| 7.4.3 | - Upon receipt of test or calibration items, are deviations from specified conditions being recorded? - Where doubt exists around the suitability of an item for test or calibration, or when an item does not conform to the description provided, does the laboratory consult the customer for further instructions before proceeding? - Is a record of this consultation recorded including results? - When the customer requires the item to be tested or calibrated acknowledging a deviation from specified conditions, does the laboratory include a disclaimer in the report indicating which results may be affected by the deviation? |  |  |
| 7.4.4 | - When items need to be stored or conditioned under specified environmental conditions, are these conditions being maintained? - When items need to be stored or conditioned under specified environmental conditions, are these conditions being monitored? - When items need to be stored or conditioned under specified environmental conditions, are these conditions being recorded? |  |  |
| 7.5 – Technical records: 7.5.1 | - Has the lab implemented a process to meticulously document and record at the time of occurrence all original observations, data and calculations, ensuring the information is directly attributable to the specific task? - Check whether technical records for each laboratory activity include not only the results and report, but also comprehensive details that facilitate the identification of factors affecting the measurement result and its associated measurement uncertainty - Has the lab developed and maintained protocols that record specific conditions under which each laboratory activity can be repeated to emulate the original conditions as closely as possible? - Does the lab integrate a mandatory step where the identity of the personnel responsible for carrying out each laboratory activity and for checking data and results is consistently recorded, aligning with the date of the activity? - Check whether a verification process that involves a systematic review and check of the data and results by qualified personnel has been established, documenting their identity alongside the verification date within the technical records |  |  |
| 7.5.2 | - Does the lab ensure that amendments to technical records can be tracked to previous versions or to original observations? - Are both the original and amended data and files retained, including the date of alteration, an indication of the altered aspects and the personnel responsible for the alterations? - Are details of all the above readily available at the point of need for all relevant stakeholders? |  |  |
| 7.6 – Evaluation of measurement uncertainty: 7.6.1 | - Does the lab identify all contributions to measurement uncertainty? - When evaluating measurement uncertainty, are all contributions of significance, including those arising from sampling, taken into account using appropriate methods of analysis? - Are the above measures being documented clearly? |  |  |
| 7.6.2 | - If performing calibrations, does the lab evaluate measurement uncertainty for all calibrations? - Is there an established process for this and is it documented? |  |  |
| 7.6.3 | - Is measurement uncertainty regularly being evaluated? - Where the test method precludes rigorous evaluation of measurement uncertainty, is an estimation being made based on an understanding of the theoretical principles or practical experience of the performance of the method? - Do relevant personnel have the required competency and skill for the above? |  |  |
| 7.7 – Ensuring the validity of results: 7.7.1 | - Does the laboratory have a procedure for monitoring the validity of results? - Is the resulting data recorded in such a way that trends are detectable and, where practicable, statistical techniques shall be applied to review the results? - Is this monitoring process regularly reviewed? - Does the process include use of reference materials or quality control materials? - Does the process include use of alternative instrumentation that has been calibrated to provide traceable results? - Does the process include functional check(s) of measuring and testing equipment? - Does the process include use of check or working standards with control charts, where applicable? - Does the process include intermediate checks on measuring equipment? - Does the process replicate tests or calibrations using the same or different methods - Does the process include retesting or recalibration of retained items? - Does the process include correlation of results for different characteristics of an item? - Does the process include reviews of reported results? - Does the process include intra-laboratory comparisons? - Does the process include the testing of blind sample(s)? - Is all of the above clearly documented and readily available at the point of need for all relevant stakeholders? |  |  |
| 7.7.2 | - Does the laboratory monitor its activities by comparison with results of other laboratories? - Does this monitoring include participation in proficiency testing? - Does this monitoring include participation in interlaboratory comparisons other than proficiency testing? |  |  |
| 7.7.3 | - Does the lab analyse data gained from monitoring activities and use this to improve lab activities? - Is appropriate action taken where that analysis shows results to be outside pre-defined criteria? |  |  |
| 7.8 – Reporting of results: 7.8.1 – General: 7.8.1.1 | - Is a process in place to review and authorize results prior to release? - Does the person(s) responsible for authorization have the appropriate competency level and necessary authorization/resources to carry out their duty? - Are records retained of results prior to release? - Is the confidentiality of those results safeguarded? |  |  |
| 7.8.1.2 | - Are results being provided accurately, clearly, unambiguously and objectively, usually in the form of a report? - Is all the information included in the report that has been agreed with the customer? - Is all the information included that is necessary for the interpretation of the results? - Are all issued reports being retained as technical records? |  |  |
| 7.8.1.3 | - Does the lab report results in a simplified way when agreed with the customer? - Is any information listed in 7.8.2 to 7.8.7 that is not reported to the customer documented and readily available? |  |  |
| 7.8.2 - Common requirements for reports (test, calibration or sampling): 7.8.2.1 | - Does each report include a title (e.g. “Test Report”, “Calibration Certificate” or “Report of Sampling”)? - Does each report include the name and address of the laboratory? - Does each report include the location of performance of the laboratory activities, including when performed at a customer facility or at sites away from the laboratory’s permanent facilities, or in associated temporary or mobile facilities? - Does each report include unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end? - Does each report include the name and contact information of the customer? - Does each report include an identification of the method used? - Does each report include a description, unambiguous identification, and, when necessary, the condition of the item? - Does each report include the date of receipt of the test or calibration item(s), and the date of sampling, where this is critical to the validity and application of the results? - Does each report include the date(s) of performance of the laboratory activity? - Does each report include the date of issue of the report? - Does each report include reference to the sampling plan and sampling method used by the laboratory or other bodies where these are relevant to the validity or application of the results? - Does each report include a statement to the effect that the results relate only to the items tested, calibrated or sampled? - Does each report include the results with, where appropriate, the units of measurement? - Does each report include additions to, deviations, or exclusions from the method? - Does each report include identification of the person(s) authorizing the report? - Does each report include clear identification when results are from external providers? |  |  |
| 7.8.2.2 | - Check that all relevant stakeholders are aware that the lab is responsible for all the information provided in the report, except where the information is provided by the customer - Is data provided by the customer clearly identified? - Is a disclaimer included in the report when the information is supplied by a customer and could affect the validity of results? - Where the laboratory has not been responsible for the sampling stage (e.g. the sample has been provided by the customer), is it stated in the report that the results apply to the sample as received? |  |  |
| 7.8.3 – Specific requirements for test reports: 7.8.3.1 | - Where necessary for the interpretation of results, do test reports include information on specific test conditions, such as environmental conditions? - Where necessary for the interpretation of results, do test reports include, where relevant, a statement of conformity with requirements or specifications (see 7.8.6)? - Where necessary for the interpretation of results, do test reports include, where applicable, the measurement uncertainty presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent) when: it is relevant to the validity or application of the test results; a customer's instruction so requires; the measurement uncertainty affects conformity to a specification limit? - Where necessary for the interpretation of results, do test reports include, where appropriate, opinions and interpretations (see 7.8.7)? - Where necessary for the interpretation of results, do test reports include additional information that may be required by specific methods, authorities, customers or groups of customers? |  |  |
| 7.8.3.2 | - If the lab is responsible for the sampling activity, check that test reports meet the requirements listed in 7.8.5 where necessary for the interpretation of test results. |  |  |
| 7.8.4 – Specific requirements for calibration certificates: 7.8.4.1 | - Check whether calibration certificates include the measurement uncertainty of the measurement result presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent). - Check whether calibration certificates include the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results - Check whether calibration certificates include a statement identifying how the measurements are metrologically traceable - Check whether calibration certificates include the results before and after any adjustment or repair, if available - Check whether calibration certificates include, where relevant, a statement of conformity with requirements or specifications (see 7.8.6) - Check whether calibration certificates include, where appropriate, opinions and interpretations (see 7.8.7) |  |  |
| 7.8.4.2 | - If the lab is responsible for the sampling activity, do calibration certificates meet the requirements listed in 7.8.5 where necessary for the interpretation of calibration results? - Is evidence that these requirements are being met documented? |  |  |
| 7.8.4.3 | - Check that calibration certificates or calibration labels do not contain any recommendation on the calibration interval, except where this has been agreed with the customer |  |  |
| 7.8.5 – Reporting sampling – specific requirements | - Where the laboratory is responsible for the sampling activity, in addition to the requirements listed in 7.8.2, do reports include: - the date of sampling? - unique identification of the item or material sampled (including the name of the manufacturer, the model or type of designation and serial numbers, as appropriate)? - the location of sampling, including any diagrams, sketches or photographs? - a reference to the sampling plan and sampling method? - details of any environmental conditions during sampling that affect the interpretation of the results? - information required to evaluate measurement uncertainty for subsequent testing or calibration? |  |  |
| 7.8.6 – Reporting statements of conformity: 7.8.6.1 | - Does the lab document the decision rule employed when a statement of conformity to a specification or standard is provided? - Does this take into account the level of risk (such as false accept and false reject and statistical assumptions) associated with the decision rule employed? |  |  |
| 7.8.6.2 | - Does the lab report on the statement of conformity? - Does the statement clearly identify which results the statement of conformity applies to? - Does the statement clearly identify which specifications, standards or parts thereof are met or not met? - Does the statement clearly identify the decision rule applied (unless it is inherent in the requested specification or standard)? |  |  |
| 7.8.7 – Reporting opinions and interpretations: 7.8.7.1 | - Check that only personnel authorized for the expression of opinions and interpretations release the respective statement - Does the authorized person have an appropriate level of training, competency and skill? - Does the authorized person have appropriate resources for the delivery of their opinion/interpretation? - Does the laboratory document the basis upon which the opinions and interpretations have been made? |  |  |
| 7.8.7.2 | - Are the opinions and interpretations expressed in reports based on the results obtained from the tested or calibrated item? - Are they clearly identified as an opinion or interpretation? |  |  |
| 7.8.7.3 | - Does the lab keep a record of dialogue with customers where opinions and interpretations are directly communicated? |  |  |
| 7.8.8 – Amendments to reports: 7.8.8.1 | - Check that when an issued report needs to be changed, amended or re-issued, any change of information is clearly identified - Where appropriate, is the reason for the change included in the report? - Are records kept on the above? |  |  |
| 7.8.8.2 | - Check that amendments to a report after issue are made only in the form of a further document, or data transfer, which includes the statement “Amendment to Report, serial number... [or as otherwise identified]”, or an equivalent form of wording. - Check that such amendments meet all the requirements of ISO 17025 |  |  |
| 7.8.8.3 | - Ensure that when it is necessary to issue a complete new report, it is uniquely identified - Ensure any new reports contain a reference to the original that it replaces |  |  |
| 7.9 – Complaints: 7.9.1 | - Does the lab have a process in place to receive, evaluate and make decisions on complaints? - Is the process documented and available at the point of need to all relevant stakeholders? - Are records kept of complaints and how they are subsequently handled? |  |  |
| 7.9.2 | - Is a description of the complaint handling process available to any interested party on request? - Does the laboratory have a process for confirming whether a complaint relates to lab activities it is responsible for? - Is the lab aware of its responsibility for all decisions at all levels of the complaint handling process? |  |  |
| 7.9.3 | - Does the complaint handling process include a description of the process for receiving, validating, investigating the complaint and deciding what actions are to be taken in response to it? - Does the complaint handling process include tracking and recording of complaints, including actions undertaken to resolve them? - Does the complaint handling process include ensuring that any appropriate action is taken? |  |  |
| 7.9.4 | - Does the lab’s complaint handling process ensure that all the necessary information is gathered and verified to validate the complaint? - Is all this information documented? |  |  |
| 7.9.5 | - Does the lab acknowledge receipt of complaints to all relevant complainants before initiating the handling process? - Does the lab provide the complainant(s) with progress reports and the outcome? |  |  |
| 7.9.6 | - In the interest of impartiality, are the outcomes to be communicated to the complainant made by, or reviewed and approved by, individual(s) not involved in the original laboratory activities in question? - Is a record of this interaction recorded? |  |  |
| 7.9.7 | - Does the lab give formal notice of the end of the complaint handling process to the complainant? - Is a record of this kept as the process is resolved and closed off? |  |  |
| 7.10 – Nonconforming work: 7.10.1 | - Does the lab have in place a robust process that is implemented when any aspect of its activities or results of this work do not conform to its own procedures or the agreed requirements of the customer? - Is this procedure documented and readily available for all relevant stakeholders and personnel? - Is the procedure regularly reviewed for ongoing effectiveness? - Is appropriate training given to all relevant personnel on the handling of nonconforming work? - Does the procedure ensure that the responsibilities and authorities for the management of nonconforming work are defined? - Does the procedure ensure that actions (including halting or repeating of work and withholding of reports, as necessary) are based upon the risk levels established by the laboratory? - Does the procedure ensure that an evaluation is made of the significance of the nonconforming work, including an impact analysis on previous results? - Does the procedure ensure that a decision is taken on the acceptability of the nonconforming work? - Does the procedure ensure that, where necessary, the customer is notified and work is recalled? - Does the procedure ensure that the responsibility for authorizing the resumption of work is defined? |  |  |
| 7.10.2 | - Check that the laboratory is retaining records of nonconforming work - Check that the lab is retaining records of actions taken to remedy nonconforming work |  |  |
| 7.10.3 | - If an evaluation indicates a high likelihood that nonconforming work will recur, or if there is doubt about the conformity of the laboratory's operations with its own management system, does the lab implement corrective action? - Is the lab’s corrective action effective? - Are corrective actions and their outcomes being monitored and documented? |  |  |
| 7.11 – Control of data and information management: 7.11.1 | - Does the lab have access to the data and information needed to perform its laboratory activities? - Do all personnel have ready access to all the data and information needed to be able to perform their duties? |  |  |
| 7.11.2 | - Has the laboratory’s information management system used for the collection, processing, recording, reporting, storage or retrieval of data been validated for functionality? - Does this validation include the proper functioning of interfaces within the laboratory information management system(s) by the laboratory before introduction? - Whenever there are any changes, including laboratory software configuration or modifications to commercial off-the-shelf software, are these changes authorized, documented and validated before implementation? |  |  |
| 7.11.3 | - Is the laboratory information management system protected from unauthorized access? - Is the laboratory information management system safeguarded against tampering and loss? - Is the laboratory information management system operated in an environment that complies with provider or laboratory specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription? - Is the laboratory information management system maintained in a manner that ensures the integrity of the data and information? - Does the laboratory information management system include recording system failures and the appropriate immediate and corrective actions? - Is all of the above documented and can it be evidenced to any interested parties (e.g. auditors or regulatory bodies)? |  |  |
| 7.11.4 | - Does the laboratory ensure that any external provider or operator of an information management system complies with all applicable requirements of ISO 17025? |  |  |
| 7.11.5 | - Are all instructions, manuals and reference data relevant to the laboratory information management system(s) readily available at the point of need to personnel and any other relevant stakeholders? |  |  |
| 7.11.6 | - Are calculations and data transfers being checked in an appropriate and systematic manner? |  |  |

###### 8 – Management system requirements

| Clause | Key checks | Evidence (e.g. document ID or notes) | Checked? |
| --- | --- | --- | --- |
| 8.1 – Options: 8.1.1 – General | - Has the laboratory established, documented, implemented and maintained a management system that is capable of supporting and demonstrating the consistent achievement of the requirements of ISO 17025? - Does the management system also assure the quality of lab results? |  |  |
| 8.1.2 – Option A | - Does the management system address requirements for management system documentation (see 8.2)? - Does the management system address requirements for the control of management system documents (see 8.3)? - Does the management system address requirements for the control of records (see 8.4)? - Does the management system address requirements for actions to address risks and opportunities (see 8.5)? - Does the management system address requirements for improvement (see 8.6)? - Does the management system address requirements for corrective actions (see 8.7)? - Does the management system address requirements for internal audits (see 8.8)? - Does the management system address requirements for management reviews (see 8.9)? |  |  |
| 8.1.3 – Option B | - Has the laboratory established and maintained a management system in accordance with the requirements of ISO 9001, specifically being capable of supporting and demonstrating the consistent fulfilment of the requirements of Clauses 4 to 7? - If yes to the above, the lab also fulfils at least the intent of the management system requirements specified in 8.2 to 8.9 - If not, please carry out specific checks outlined in clauses 8.2 to 8.9 |  |  |
| 8.2 – Management system documentation (Option A): 8.2.1 | - Has lab management established, documented and maintained policies and objectives for the fulfillment of ISO 17025? - Does management ensure that the policies and objectives are acknowledged and implemented at all levels of the laboratory organization? - Is this acknowledgment at all levels regularly reviewed? |  |  |
| 8.2.2 | - Do the policies and objectives address the competence of the laboratory and all its personnel to perform their activities? - Do the policies and objectives address the need for impartiality in lab operations? - Do the policies and objectives address the need for consistent operation of the lab? |  |  |
| 8.2.3 | - Does lab management provide evidence (i.e. documented evidence) of its commitment to the development and implementation of the management system? - Does lab management provide evidence (i.e. documented evidence) of its commitment to continually improving the effectiveness of the management system? |  |  |
| 8.2.4 | - Is all documentation related to the fulfilment of the requirements of ISO 17025 included in, referenced from or linked to the management system? - Are all processes related to the fulfilment of the requirements of ISO 17025 included in, referenced from or linked to the management system? - Are all systems related to the fulfilment of the requirements of ISO 17025 included in, referenced from or linked to the management system? - Are all records related to the fulfilment of the requirements of ISO 17025 included in, referenced from or linked to the management system? |  |  |
| 8.2.5 | - Do all personnel involved in laboratory activities have access to the parts of the management system documentation and related information that are applicable to their responsibilities? |  |  |
| 8.3 – Control of management system documents (Option A): 8.3.1 | - Check that the laboratory is controlling the internal documents that are related to the fulfilment of ISO 17025 - Check that the laboratory is controlling the external documents that are related to the fulfilment of ISO 17025 |  |  |
| 8.3.2 | - Check that documents are approved for adequacy prior to issue by authorized personnel - Check that documents are periodically reviewed, and updated as necessary - Check that changes and the current revision status of documents are identified - Check that relevant versions of applicable documents are available at points of use and, where necessary, their distribution is controlled - Check that documents are uniquely identified - Check that the unintended use of obsolete documents is prevented, and suitable identification is applied to them if they are retained for any purpose |  |  |
| 8.4 – Control of records (Option A): 8.4.1 | - Does the laboratory retain legible records that demonstrate fulfilment of the requirements of ISO 17025? - Are these documents readily available to any interested parties, such as auditors or regulatory bodies? |  |  |
| 8.4.2 | - Has the lab implemented the controls needed for the identification of its records? - Has the lab implemented the controls needed for the storage of its records? - Has the lab implemented the controls needed for the protection of its records? - Has the lab implemented the controls needed for the back-up of its records? - Has the lab implemented the controls needed for the archiving of its records? - Has the lab implemented the controls needed for the retrieval of its records? - Has the lab implemented the controls needed for the retention time of its records? - Has the lab implemented the controls needed for the disposal of its records? - Does the laboratory retain records for a period of time consistent with its contractual obligations? - Is access to records consistent with the lab’s confidentiality commitments? |  |  |
| 8.5 – Actions to address risks and opportunities (Option A): 8.5.1 | - Does the lab consider risks and opportunities associated with laboratory activities in order to give assurance that the management system achieves its intended results? - Does the lab consider risks and opportunities associated with laboratory activities in order to enhance opportunities to achieve the purpose and objectives of the laboratory? - Does the lab consider risks and opportunities associated with laboratory activities in order to prevent, or reduce, undesired impacts and potential failures in the laboratory activities? - Does the lab consider risks and opportunities associated with laboratory activities in order to achieve improvement? |  |  |
| 8.5.2 | - Does the laboratory have a plan including actions to address any risks and opportunities? - Does the laboratory have a plan for how to integrate and implement these actions into its management system? - Does the laboratory have a plan for how to evaluate the effectiveness of these actions? - Is all of the above documented? |  |  |
| 8.5.3 | - Check whether actions being taken to address risks and opportunities are proportional to the potential impact on the validity of lab results - Are risks and opportunities that present the highest possible chance of impacting the validity of results being prioritised? |  |  |
| 8.6 – Improvement (Option A): 8.6.1 | - Does the lab identify and select opportunities for improvement? - When those opportunities are identified, is the lab implementing actions to pursue the identified opportunity for improvement? - Are reviews of operational procedures being used as a potential source of information on opportunities for improvement? - Are objectives being met or missed being used as a potential source of information on opportunities for improvement? - Are audit results being used as a potential source of information on opportunities for improvement? - Are the outcomes of corrective actions being used as a potential source of information on opportunities for improvement? - Are suggestions from personnel being used as a potential source of information on opportunities for improvement? - Are management reviews being used as a potential source of information on opportunities for improvement? - Are risk assessments being used as a potential source of information on opportunities for improvement? - Is data analysis being used as a potential source of information on opportunities for improvement? - Are proficiency testing results being used as a potential source of information on opportunities for improvement? |  |  |
| 8.6.2 | - Does the lab regularly seek feedback, both positive and negative, from customers? - Is the feedback being analysed and used to improve the management system? - Is the feedback being analysed and used to improve laboratory activities? - Is the feedback being analysed and used to improve customer service? |  |  |
| 8.7 – Corrective actions (Option A): 8.7.1 | - When a nonconformity occurs, does the lab react to it and take action to control and correct it? - When a nonconformity occurs, does the lab react to it and take action to address the consequences? - When a nonconformity occurs, does the lab evaluate the need for action to eliminate the cause(s) of the nonconformity, in order that it does not recur or occur elsewhere? - Does this include a review and analysis of the nonconformity? - Does this include determining the causes of the nonconformity? - Does this include determining if similar nonconformities exist or could potentially occur? - When a nonconformity occurs, does the lab implement any action needed? - When a nonconformity occurs, does the lab review the effectiveness of any corrective action taken? - When a nonconformity occurs, does the lab update risks and opportunities determined during planning, if necessary? - When a nonconformity occurs, does the lab make changes to the management system, if necessary? |  |  |
| 8.7.2 | - Are corrective actions appropriate to the effects of the nonconformities encountered? |  |  |
| 8.7.3 | - Does the laboratory retain records as evidence of the nature of the nonconformities, cause(s) and any subsequent actions taken? - Does the laboratory retain records as evidence the results of any corrective action? |  |  |
| 8.8 – Internal audits (Option A): 8.8.1 | - Does the laboratory regularly conduct internal audits at planned intervals? - Do these audits ascertain whether the management system conforms to the laboratory’s own requirements for its management system, including the laboratory activities? - Do these audits ascertain whether the management system conforms to the requirements of ISO 17025? - Do these audits review whether the management system is effectively implemented and maintained? |  |  |
| 8.8.2 | - Has the laboratory planned, established and maintained an audit programme that includes the frequency, methods, responsibility, planning requirements and how the audit will be reported on? - Do audits take into consideration the importance of the laboratory activities concerned, changes affecting the laboratory and the results of previous audits? - Does the lab define the audit criteria and scope for each audit? - Does the lab ensure that the results of the audits are reported to relevant management? - Does the lab implement appropriate correction and corrective actions without undue delay? - Does the lab retain records as evidence of the implementation of the audit programme and the audit results? - Is an individual(s) with the right level of competency performing auditing activities? - Does the individual(s) have the appropriate level of impartiality for conducting the audit, i.e. they are not “auditing their own work.” |  |  |
| 8.9 Management reviews (Option A): 8.9.1 | - Does laboratory management review its management system at planned intervals? - Does this review check and ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of ISO 17025? |  |  |
| 8.9.2 | - Do the inputs to the management review include information related to changes in internal and external issues that are relevant to the laboratory? - Do the inputs to the management review include information related to the fulfilment of objectives? - Do the inputs to the management review include information related to the suitability of policies and procedures? - Do the inputs to the management review include information related to the status of actions from previous management reviews? - Do the inputs to the management review include information related to the outcome of recent internal audits? - Do the inputs to the management review include information related to corrective actions? - Do the inputs to the management review include information related to assessments by external bodies? - Do the inputs to the management review include information related to changes in the volume and type of the work or in the range of laboratory activities? - Do the inputs to the management review include information related to customer and personnel feedback? - Do the inputs to the management review include information related to complaints? - Do the inputs to the management review include information related to the effectiveness of any implemented improvements? - Do the inputs to the management review include information related to the adequacy of resources? - Do the inputs to the management review include information related to the results of risk identification? - Do the inputs to the management review include information related to the outcomes of the assurance of the validity of results? - Do the inputs to the management review include information related to other relevant factors, such as monitoring activities and training? |  |  |
| 8.9.3 | - Do the outputs from the management review record all decisions and actions related to the effectiveness of the management system and its processes? - Do the outputs from the management review record all decisions and actions related to the improvement of the laboratory activities related to the fulfilment of the requirements of this document? - Do the outputs from the management review record all decisions and actions related to the provision of required resources? - Do the outputs from the management review record all decisions and actions related to any need for change? |  |  |

## Use powerful quality management software to meet the requirements of ISO/IEC 17025 with ease

There is no better way to ensure compliance with ISO/IEC 17025 than to use tried-and-trusted quality management software. Ideagen Quality Management is the perfect tool for managing compliance with ISO 17025 in laboratory settings and is relied upon in these environments across the world to uphold unshakeable standards of quality.

Download Now