Lab System Procedure (LSP)

Analysis of the data

ISO/IEC 17025:2017-Clause 7.7

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Plant Manager is strictly prohibited.

| Prepared By: AQCM |  |  | Reviewed By: QCM |  |  | Approved By: PLANT MANAGER |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Amendment Sheet |  |  |  |  |  |  |  |
| Date | Rev # | DCR # |  | Section | Amendment Detail |  | Amendment Approved by |

1. Purpose

This procedure provides guidance to QC Lab for analysis of the data related to their activities.

2. Scope

This procedure is applicable on QC LAB.

3. Responsibility

Quality Control Manager is responsible for the implementation of tool and data analysis prepared by Analyst.

Assistant Analyst is responsible for collecting of data for analysis as per provided formats.

4. Procedure

Data analysis is being carried out on monthly basis or as per requirement by the nominated Lab Staff. Following techniques are used for data analysis:

| Sr. | Tool Name | Description | Remarks |
| --- | --- | --- | --- |
| 1 | Cause and effect diagram | (also called Ishikawa or fishbone chart) Identifies many possible causes for an effect or problem and sorts ideas into useful categories. | Use for Corrective action in case of non-conformance. |
| 2 | Control Charts | Graphs used to study how a process changes over time. | Use for test results especially for Active testing etc. Also used for environment analysis at the end of month by taking data from environment monitoring form |
| 3 | Histogram | Graph for showing, frequency distributions, or how often each different value in a set of data occurs. | Use for fail test results. Add test results in it that could not meet the requirements. |
| 4 | Pareto Analysis | Shows on a bar graph which factors are more significant. | Use for types of non-conformance identification etc. |

Results of this analysis will present to Quality Control Manager for further analysis and decision making for improvement in lab processes.

5. Related Documents

- Histogram and Pareto Chart QCL/FRM-17.01

- Cause and effect diagram QCL/FRM-17.02

- Control Charts QCL/FRM-17.03

- LSP for Corrective & Preventive actions QCL-LSP-09