## Decision Rule
DOC #: QCL-FRM-13.02
REV NO.: 00
ISSUE DATE: Jan 01 2024
DECISION RULE
| Active Range (%) |  | Upto 2.5 | 2.5--10 | 10--25 | 25--50 | >50
| FAD Tolerances |  | 15% | 10% | 6% | 5% | 3%
|  |  |  | FAD Limits (Active Ingredients) |  |  | QC Lab Acceptable Limits (Pass)
S # | Test Parameter | Active Ingredient |  | Lower Limit | Upper Limit | QC Lab MU(±) | Lower Limit | Upper Limit
1 | Nitrogen | 8 | % w/v | 7.2 | 8.8 | 0.165 | 7.365 | 8.635
2 | Phosphorus | 8 | % w/v | 7.2 | 8.8 | 0.09 | 7.29 | 8.71
3 | Potassium | 6 | % w/v | 5.4 | 6.6 | 0.054 | 5.454 | 6.546
Prepared by (AQCM): | [5 empty] | Approved by (QCM):
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date: