Date: 22-07-2026					             NC #: 03

| - Non-Conformance Detail |  |  |
| --- | --- | --- |
| 01 | Non-Conformance Description | The lab is using refrigerator for keeping the CRMs and working standards and has also maintained the records of temperature range in between (-5C to +5C) for the but the thermo hygrometer range of calibration/ sensitivity of the thermohygrometer is not intact (NC). |
| 02 | Non-Conformance Source | Audit NC □ Laboratory Activities □ Suggestion □ PT/ILC □ Complaint □ Customer Feedback □ Risk Assessment □ Any Other___________________ |
| 03 | Non-Conformance Initiated By | Masab Rasheed |

| - Non-Conformance Significance Evaluation |  |
| --- | --- |
| Impact on Previous Result | □ Yes No |
| Level of Risk | □ Very Low □ Low Moderate □ High □ Very High |
| Non-Conformance Type | Essential □ Minor Non- Essential |
| Acceptance of Non-Conformance | Accepted □ Rejected |

| - Actions required on Non-Conformance |  |
| --- | --- |
| Withhold of reports | □ Yes No |
| Halt of work | □ Yes No |
| Recall of work | □ Yes No |
| Revision of Documents | Yes □ No |

| Reviewed by: Masab Rasheed AQCM | Evaluated by: Himayat Hussain QCM |
| --- | --- |
| Signature: | Signature: |
| Date: | Date: |