| NC# | Date: | Non-Conformance | Source | Initiated By |
| --- | --- | --- | --- | --- |
| 01 | 17-06-2025 | Lab has developed a procedure for sample disposal vide Doc# QCL-REG-08 but data missing.NC | Internal Audit | Masab Rasheed |
| 02 | 11-05-2026 | Blast of Kjeldhal’s Assembly Splash head during Nitrogen Testing. | Lab Activity | Masab Rasheed |

Prepared By: ________________								Updated on: 11-05-2026