Verification of methods and validity of results activities details are as below:

- Use of reference materials or quality control materials;

- Use of alternative instrumentation that has been calibrated to provide traceable results;

- Functional check(s) of measuring and testing equipment;

- Use of check or working standards with control charts, where applicable;

- Intermediate checks on measuring equipment;

- Replicate tests or calibrations using the same or different methods;

- Retesting or recalibration of retained items;

- Correlation of results for different characteristics of an item;

- Review of reported results;

- Intra laboratory comparisons/Proficiency testing

- Testing of blind sample(s).

| Sr. # | Parameter | Results Validity Activities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Remarks | Verify By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | a |  | b | c |  |  | d |  | e |  | f |  | g | h |  | i |  | j |  | k |  |  |  |
| 1 | N |  |  |  | x |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Result Enclosed | AQCM |
| 2 | P2O5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Result Enclosed | AQCM |
| Sr. # | Parameter | Results Validity Activities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Remarks | Verify By |
|  |  | a | b |  |  | c | d |  | e |  | f |  | g |  |  | h |  | i |  | j |  | k |  |  |
| 3 | K2O |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Result Enclosed | AQCM |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmad Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |