|  | Lab System Manual based on ISO/IEC 17025:2017 |
| --- | --- |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |

Amendment History

| Date | Revision | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |
| 20-09-24 | 01 | Replace issue# with revision# | Header | 01-24 | Chief Executive Officer |
| 20-09-24 | 01 | Addition of Options adopted | Section 8.1 | 01-24 | Chief Executive Officer |
| 20-09-24 | 01 | Deletion of page number from header | Header | 01-24 | Chief Executive Officer |
| 20-09-24 | 01 | QC Lab reporting to CEO for Final Approval | Document Approval | 01-24 | Chief Executive Officer |
| 10-08-2026 | 02 | Addition of Accredited Parameters and range of measurement in LSM/QMS | In Section 1.0.1 Accredited Parameters | 03-26 | Chief Executive Officer |

Contents

1.0	Scope of Lab System Manual (LSM)	4

2.0	Defining Lab Management System (LMS)	4

3.0	Terms & Definitions	4

4.0	General Requirements	5

4.1	Impartiality	5

4.2	Confidentiality	5

5.0	Structural Requirements	6

6.0	Resource Requirements	8

6.1	General	8

6.2	Personnel	8

6.3	Facilities and Environmental Conditions	8

6.4	Equipment	9

6.5	Metrological Traceability	9

6.6	Externally Provided Products and Services	9

7.0	Process Requirements	9

7.1	Review of Request, Tenders and Contracts	10

7.2	Selection, Verification, and Validation of Methods	10

7.3	Sampling	10

7.4	Handling of test Items	10

7.5	Technical Records	11

7.6	Evaluation of Measurement of Uncertainty	11

7.7	Ensuring the Validity of Results	11

7.8	Reporting of Results	11

7.9	Complaints	12

7.10	 Nonconforming Work	13

7.11	Control of Data and Information Management	13

8.0	Management System Requirements	13

8.1	Options	13

8.2	Management System Documentation	14

8.3	Control of Management System Documents	14

8.4	Control of Records	15

8.5	Actions to Address Risks and Opportunities	15

8.6	Improvement	15

8.7	Corrective Actions	16

8.8	Internal Audits	16

8.9	Management Reviews	16

# 1.0	Scope of Lab System Manual (LSM)

This manual is applicable to QC LAB. The manual provides a summarized view of the complete Lab Management System established at QC Lab in light of requirements of ISO/IEC 17025:2017. The manual’s structure is based on ISO/IEC 17025:2017.

The document provides references of relevant procedures based on the adopted standards.

1.0.1 Accredited Parameters

Test results with * are accredited by ISO/IEC:17025-2017.

Accredited Parameters (N, P, K, S, HA, B, pH, Conductivity)

| Materials/ Products tested* | Types of test | Range of measurement | Minimum detection limit | Uncertainty of Measurement (+) | Standard specification |
| --- | --- | --- | --- | --- | --- |
| Fertilizer | Potash (K2O) | 1-100% | 1% (W/W) | 0.59 % | SFRI Guide-2021(p16-17) |
| Fertilizer | Nitrogen | 1-100% | 1% | 0.66 % | SFRI Guide-2021(p8-11) |
| Fertilizer | Phosphorus | 1-100% | 1% | 0.63 % | SFRI Guide-2021(p11-14) |
| Fertilizer | Sulfur | 1-100% | 1% (w/w) | 0.64% | PSQCA Standard PS:217-2017 (3RD Revision) page 17/17 |
| Fertilizer | Humic Acid | 1-100% | 1% (w/w or w/v) | 0.65% | SFRI Guide-2021(p30-31) |
| Fertilizer | Boron | 1-100% | 1% (w/w or w/v) | 0.78% | SFRI Guide-2021(p28-30) |
| Fertilizer | pH | 1-14 | 1 | 0.69 | Instruction Manual Pg. 7-12 |
| Fertilizer | Conductivity | 1-100000 | 1mS/m | 1.39 | Instruction Manual Pg. 7-11 |

# 2.0	Defining Lab Management System (LMS)

LMS QC LAB is based on the requirements of following international standards:

- ISO/IEC 17025:2017

Where;

ISO/IEC 17025:2017 International standard that spells out requirements exclusive for the competence of testing and calibration laboratories. Generally called LMS and requires Accreditation from PNAC (National Accreditation Body)

# 3.0	Terms & Definitions

| CPA | Corrective & Preventive Action |
| --- | --- |
| LSP | Lab System Procedure |
| ILC | Inter Lab Comparison |
| LMS | Lab Management System |
| MU | Measurement of Uncertainty |
| NC | Non-Conformity; Violation or non-fulfillment of Standard’s Legal and/or System requirements |
| PT | Proficiency Testing |
| QMS | Quality Management System |
| QA | Quality Assurance |
| QC | Quality Control |

QCM        Quality Control Manager

AQCM       Assistant Quality Control Manager

# 4.0	General Requirements

## 4.1	Impartiality

QC LAB is serving internal customer for testing and based on this report production batch is passed or failed. Within this structure, QC Lab is responsible to ensure provision of testing services for their internal customer Production Department or store department before receiving raw material. Store and Production department ensures sample preparation for testing, and therefore deliver sample to QC lab for testing.

- All Testing materials are submitted in QC Lab, which have controlled environment and any unauthorized access is restricted.

In order to ensure impartiality and to avoid undue pressure of any kind, QC Lab works under the following regulations:

- A Policy has been enforced

- There are no payment plans or financial plans connecting Internal Customer with QC Lab

- In case of complaints or appeals by Customer, Manager QC is responsible to deal with such queries

Risks associated with Impartiality are mitigated under the referred LSP.

Document Reference:

- Policy for Impartiality (QCL-POL-03)

- LSP for Customer Related Processes (QCL-LSP-15)

## 4.2	Confidentiality

QC lab keeps test related data, information and records in secure manner, while ensuring that only authorized personnel have access to it. Records available in hard copies are kept in secure and locked cabinets, whereas records kept in electronic form are secured in password protected computers only accessible to personnel authorized through Authorization permits. This has also been communicated to all levels of organization, through Policies.

But QC Lab has to release their report and associated data to Production and Store Department for improvement in product tested and store for acceptance or rejection of raw material.

QC Lab is only responsible to ensure security and confidentiality for the records, data and information kept and under their custody.

Document Reference:

- Confidentiality Policy (QCL-POL-02)

- LSP for Control of Documents and Records (QCL-LSP-07 & QCL-LSP-20)

# 5.0	Structural Requirements

QC LAB has defined organogram. Designations at VAN QC Lab are provided with their relevant Job Descriptions, and their roles are also communicated through the Lab System Procedures & Job Descriptions.

- CEO

- Quality Control Manager

- Assistant Quality Control Manager

- Analyst

- Assistant Analyst

- Lab Assistant

A comprehensive communication procedure exists in the form of email, social media groups, letters etc. to ensure effective internal communication between all levels and also to ensure continuous communication of requirements ISO/IEC 17025:2017, including changes to the system and maintenance of existing processes.

In most cases QC Lab tries to ensure that personnel involved in testing activities are segregated from personnel involved in production.

Maintaining the integrity of the management system during planned changes in a quality control lab for fertilizer testing is crucial for ensuring accurate, reliable, and compliant results. Here's a comprehensive description of how this can be achieved:

Maintaining System Integrity During Planned Changes

1.Assessment of Change Impact

- Perform a detailed assessment of the proposed changes (e.g., equipment upgrades, method updates, or procedural revisions) to understand their potential impact on lab operations and data integrity.

- Evaluate how the changes may affect compliance with quality standards (e.g., ISO 17025) and regulatory requirements.

2. Risk Management

- Identify risks associated with the changes, such as potential errors, downtime, or deviations in testing accuracy.

- Develop mitigation strategies to address identified risks, ensuring the lab's ability to deliver consistent and valid results.

3. Documentation and Approval

- Document the scope, objectives, and rationale for the changes in the management system.

- Obtain formal approval from relevant authorities or management before implementing the changes.

4. Change Control Procedures

- Establish a structured change control process that includes planning, testing, validation, and implementation phases.

- Ensure all changes are reviewed and verified by qualified personnel.

5. Training and Competency

- Train laboratory personnel on the new or revised processes, equipment, or methods to maintain competence and consistency in operations.

- Update competency records to reflect the additional training.

6. Validation and Verification

- Validate the effectiveness of the changes through pilot testing or controlled implementation to ensure they meet the desired outcomes without compromising system integrity.

- Conduct verification checks to confirm compliance with quality standards.

7. System Updates

- Update all relevant documents, such as standard operating procedures (SOPs), quality manuals, and testing protocols, to align with the changes.

Document Reference:

- Organization Chart

- Registration (Legal) Evidence

- Job Descriptions

# 6.0	Resource Requirements

## 6.1	General

QC Lab is provided sufficient resources to ensure efficient performance of testing activities. Some of the main resources are as follows:

- Competent Personnel

- Working Space and Accommodation

- Facilities to ensure maintenance and ease of work

- Equipment for performance of inspection, repair and calibration

- Standard testing methods

- Internationally accepted inspection practices

- Backup utilities

## 6.2	Personnel

QC LAB has defined a comprehensive system to ensure the following:

- Personnel Competence

- Personnel Training

- Personnel Supervision and Monitoring

- Personnel Authorization

It is ensured through vigorous trainings that personnel are provided practical and theoretical knowledge of the functions they are made part of Personnel are not provided authorizations to perform activities or access relevant data, if there is not sufficient evidence of their competence as per procedure. All personnel participating in a training are evaluated under fixed criteria, and their section heads ensure identification of training subjects which are deemed necessary to overcome weaknesses found in performance and understanding of personnel.

Management has further ensured communication of job descriptions to all personnel involved.

Document Reference:

- LSP for Personnel Management (QCL-LSP-02)

- Job Descriptions

## 6.3	Facilities and Environmental Conditions

Management has ensured availability of sufficient working space, accommodation and facilities, to ensure ease of operations for the personnel. These include but are not limited to:

- Separate area for various functions in lab

- Environmental control and monitoring facilities such as Air Conditioners and Hygrometers

- Shelves and Cupboards for item placement

- Work bench for operational activities

- Cleaning and Housekeeping facilities

In addition, comprehensive procedure has been developed and communicated to ensure recording of activities associated with environment maintenance and facilities.

Document Reference:

- LSP for Facilities and Environmental (QCL-LSP-03)

## 6.4	Equipment

A procedure is communicated to ensure documentation, inventorying, maintenance, calibration (where applicable), and safe keeping of this equipment. The system ensures that all equipment is uniquely identified and undergo planned maintenance and calibration (where applicable), in order to ensure better quality of performance and results. The system also ensures that damaged equipment or equipment  with questionable/uncertain Results are appropriately labeled and documented, and their repair or maintenance is timely completed.

Additional equipment is provided to support these activities such as repairing tools, etc.

It is ensured by the management that Equipment is used by Authorized competent personnel only.

Document Reference:

- LSP for Equipment Management (QCL-LSP-04)

- Equipment Manuals

## 6.5	Metrological Traceability

External Calibration: Calibration of Master Equipment are done through competent external calibration service provider having traceability to international standards.

Procedures are implemented to ensure appropriate performance and traceability of calibration activities. QC LAB has ensured that training of personnel involved in testing activities for customer is done.

Document Reference:

- LSP for Equipment Management (QCL-LSP-04)

- Calibration Certificates

- Calibration reports

## 6.6	Externally Provided Products and Services

QC lab ensures that only suitable externally provided products and services that affect laboratory activities are used. For this lab has defined procedure for Purchasing.

Procured items are thoroughly inspected for their physical condition, any documentation requirement, and where applicable their performance, before they are accepted. In case of services, In-charge designated to monitor service provider’s activities and report any uncertainty to heads of section or top management.

Document Reference:

- LSP for Externally provided products and services (QCL-LSP-06)

# 7.0	Process Requirements

## 7.1	Review of Request and Contracts

All the testing requests received by QC Lab, is received through Production or Store Department. QC Lab ensures that following resources are available to ensure customer satisfaction and accurate performance of services:

- Competent Personnel

- Calibrated Equipment (For Calibration, where applicable)

- Facilities and Work Environment

- Internationally recognized and accepted Method

In case of any of the resources are not available for any reason, or are limited to meet customer demand, QC lab must ensure that top management is formerly informed.

Document Reference:

- LSP for Review of requests and contracts (QCL-LSP-12)

## 7.2	Selection, Verification, and Validation of Methods

Methods adopted for performance of testing are based on the following sources:

- International Publication Standard Methods

- Equipment Operational Manual

## 7.3	Sampling

QC Lab is not involved in sampling activity, lab perform test on all samples received in lab through production department, QA Department, Store Department and therefore sampling is considered not applicable here. All samples received in lab is entered in Sample Log Sheet.

## 7.4	Handling of test and Calibration Items

A comprehensive procedure has been developed and communicated to ensure handling items associated with testing, including samples submitted by customers. Items are uniquely identified and their documentation ensures traceability.

Management has provided sufficient resources to ensure following for housekeeping and security of items:

- Secure Storage space

- Separate locations for inspection and calibration items

- Separate and Secure location for items belonging to inspection cases

- Cabinets, racks and shelves

In addition, items marked for disposal are placed at designated areas away from operational shops.

Document Reference:

- LSP for Handling of test and calibration Items (QCL-LSP-22)

## 7.5	Technical Records

Records including registers, internal reports, communication memos, filled forms, templates, calculation data, and data stored in computers, are kept in secure locations and computers, only accessible to authorized personnel. Change in records is discouraged, in case of typing error or wrong values, new report or document is generated.

Document Reference:

- LSP for Control of Technical Records (QCL-LSP-20)

## 7.6	 Evaluation of Measurement of Uncertainty

QC lab is only involved in testing activities therefore, the method adopted only covers calculation of uncertainty of testing activities. It is ensured that competent personnel are involved in this activity, and authentic sources for Type B Uncertainty are available. Uncertainty is calculated at Confidence Interval 95% (K=2).

Document Reference:

- LSP for Evaluation of measurement uncertainty (QCL-LSP-13)

## 7.7	Ensuring the Validity of Results

QC Lab has adopted number of methods to ensure validity of their testing results through various activities, some governed internally while others externally. Some of the main activities are documented in procedures for ease of performance, which are as follows:

- Use of reference standard

- Alternating instrument / equipment

- Intermediate checks to very operational functionality and results of equipment

- Quality Control Charts (where applicable)

- Replicate Calibrations

- Recalibrations

- Intern-Lab Comparison (or Proficiency Testing Participation, wherever available)

- Calibration performance on Blind Samples (internal)

In addition, QC Lab periodically verify their results by sharing samples with each other and comparing results. Any changes or conflicts are investigated and appropriate corrective & preventive actions are taken where found necessary.

Data achieved through these activities is analyzed for further improving quality of performance.

Document Reference:

- LSP for Ensuring Validity of Test Results (QA) (QCL-LSP-16)

- LSP for Quality Assurance (QCL-LSP-17)

## 7.8	Reporting of Results

Results of each test carried out are reported clearly, unambiguously and objectively (while also ensuring results’ accuracy).

Reporting requirements and specific instructions if mentioned in test method or specified by the customer are met provided, they do not contradict with requirements of ISO/IEC 17025:2017 and applicable regulatory requirements.

Reports generated are on a controlled format. Readings are recorded during test performance on registers/forms. Once data is finalized after necessary calculations where applied, it is transferred onto the Report Sheet for submission to Manager QC for final approval.

The report covers testing results, as per the requirements and regulations of VAN Fertilizer Testing Lab

- Unique identification and date of issue

- Date(s) of inspection

- Identification of the item(s) selected

- Signature or other indication of approval, by authorized personnel

- A statement of conformity, where applicable

- The inspection results

Certificate is issued only when successful testing has been performed on the sample received. (Optional)

It must also be noted that the final report is computer generated, based on the input fed into the application. It is only accessible to authorized personnel, and provides appropriate traceability to the user ID of each person. The reporting data is accessible to limited authorized personnel only, and the computers with application facility are protected with combination of unique username and password.

Document Reference:

- Reporting of Result (QCL-LSP-19)

## 7.9	Complaints

QC lab has been provided with a comprehensive procedure to manage and resolve complaints received from internal customers and are only responsible for complaints and feedbacks received from internal customer.

In order to express commitment towards timely resolution of customer complaints, QC LAB has documented and communicated a procedure which covers the following areas:

- Customer Complaint handling

- Customer feedback collection

Document Reference:

- LSP for Complaints Handling (QCL-LSP-15)

- LSP for Customer Feedback (QCL-LSP-21)

## 7.10	 Nonconforming Work

Nonconformities in testing and other operational activities are taken seriously at QC LAB. QC LAB has documented and communicated procedures to ensure effective management and resolution of nonconformities. Nonconformities are divided into three main categories:

- Critical Nonconformity

- Severe Nonconformity

- Moderate Nonconformity

Management of activities affected by Nonconforming works is responsibility of QCM. All issues are logged and raised through Corrective and Preventive Action procedure for thorough investigation of root cause and effective implementation of corrective action.

Document Reference:

- LSP for control of non-conforming work (QCL-LSP-14)

- LSP for Corrective & Preventive Action (QCL-LSP-09)

## 7.11	Control of Data and Information Management

Data and information processed and stored at ERP centralized system of QC LAB with restricted access to personnel. It can be divided into following categories:

- Data and information kept in hard copy, files and registers

- Data and information kept in computers attached to equipment

- Data and information kept in computers used for reporting purposes

It must be noted here that most of the documentation at QC Lab are kept in hard copy format, only following activities are kept in computerized forms:

- Data processed by the Equipment

- Computers installed with internal Result Reporting application

Data and information kept in computerized forms are accessible to authorized personnel only.

Document Reference:

- LSP for Control of Documents &Records (QCL-LSP-07)

# 8.0	Management System Requirements

## 8.1	Options

8.1.1 	General

The laboratory shall establish, document, implement and maintain a management system that is capable of supporting and demonstrating the consistent achievement of the requirements of this document and assuring the quality of the laboratory results. In addition to meeting the requirements of Clauses 4 to 7, the laboratory shall implement a management system in accordance with Option A.

8.1.2 	Option A

QC LAB ensured compliance with the following requirements of ISO/IEC 17025:2017

- Management System Documentation

- Control of Management System Documents

- Control of Records

- Actions to Address Risks and Opportunities

- Improvement

- Corrective Actions

- Internal Audits

- Management Reviews

Management of QC LAB has documented and communicated a Quality Policy to express their commitment for ISO/IEC 17025:2017.

Document Reference:

- Lab Quality Policy (QCL-POL-01)

## 8.2	Management System Documentation (Option A)

QC LAB has developed a comprehensive Lab management system for effective implementation, maintenance and continual improvement of management system based on requirements of ISO/IEC 17025:2017. These documents include:

- Policies

- Procedures (Integrated System Procedures)

- Templates/ Formats/ Forms

For ease of communication and control, QC Lab maintain master list of documents, which lists all the relevant documentations of this integrated management system.

## 8.3	Control of Management System Documents (Option A)

A comprehensive document control system is in place and communicated at all levels of VAN Fertilizer Testing Lab. The document control system ensures the following:

- Unique identification of documents

- System for periodic review of documentation (at least once a year)

- Approval of documents

- Document change management, version control and their Production

- Managing documents of external origin

- Prevention of use of obsolete documents

All Policies, LSPs and Templates are created, approved and versions are controlled by Manager QC, who is responsible for document Production control for all.

Document Reference:

- LSP for Control of Documents & Records (QCL-LSP-7)

## 8.4	Control of Records (Option A)

Records are kept in both hard copy and computerized form. Most records kept in hard copy are kept in printed form to ensure better level of legibility. These records are accessible on need-to-know-basis to authorized personnel only, and stored in safe locations and protected computers.

The referred procedure ensures that records are retained as per their importance.

Document Reference:

- LSP for Control of Technical Records (QCL-LSP-20)

## 8.5	Actions to Address Risks and Opportunities (Option A)

QC Lab has developed and implemented comprehensive risk assessment and risk mitigation procedure to ensure the following:

- Identification of risks which may affect inspection and testing activities and their results, negatively

- Fixed criteria for evaluation of Risk Rating

- Risk mitigation through treatment plan

The risk assessment technique ensures proactive approach for eradication of potential risks to the management system. In case, a risk occurs, CPA system is applied and followed.

Document Reference:

- LSP for Actions to address risks and opportunities (QCL-LSP-08)

## 8.6	Improvement (Option A)

Personnel of QC Lab are encouraged to suggest improvements in the system to improve their operational performance, customer related services, and the integrated management system. Some of the areas which can provide opportunities for improvement are as follows:

- Review of existing system documentation

- Achievement of objectives

- Findings derived from CPA System

- Audit Results

- Management Review results

- Personnel suggestions through CPA System

- Risk Analysis findings

- Participation in Quality assurance activities such as inter-laboratory comparisons

Document Reference:

- LSP for Corrective & Preventive Action (QCL-LSP-09)

## 8.7	Corrective Actions (Option A)

All nonconformities are address through the CPA system, which ensures that following necessary steps:

- Reporting of nonconformance (including nonconformance identified during audits)

- Investigation for the root cause behind the nonconformance

- Taking appropriate corrective action which ensures correction of the nonconformance and prevention of its re-occurrence

- And, follow-up of corrective actions taken to evaluate their effectiveness

CPA System is accessible to all personnel of lab, and it is governed under a procedure referred below.

Document Reference:

- LSP for Corrective & Preventive Action (QCL-LSP-09)

## 8.8	Internal Audits (Option A)

QC LAB has a comprehensive Internal Audit system in place, in which it is ensured that internal audit is performed once a year. The system ensures that internal audit checklists, reporting templates, and corrective action plan form are readily available. It further ensures the following:

- Internal Auditors are designated to areas other than their own areas of concern, to ensure unbiased audit results

- Audit Plan is communicated to all departments before it is executed

- Audit findings are documented in internal audit report

- Audit nonconformities are address through Corrective Action Plan

All internal audit findings of nonconformities are addressed through CPA System.

Document Reference:

- LSP for Internal Audits (QCL-LSP-10)

## 8.9	Management Reviews (Option A)

Management reviews are performed centrally. Management review meetings ensure that all key agenda points expressed in ISO/IEC 17025:2017 are covered.

To ensure that all requirements of standards are met, a comprehensive procedure has been developed and communicated, with the following elements covered in it:

- Management Review agenda is distributed to all concerned before the meeting commences, so that all participants can prepare their inputs

- Management Review is chaired by Chief Executive Officer

- Management Review minutes are recorded in prescribed formats and Action Plan is developed to ensure that key agenda points (where required), are assigned with target dates and responsibilities

Management Review serves as a pivotal stage in maintaining and improving the integrated management system, as most improvement and system enhancement decisions are taken and approved in it. It is ensured that Management Reviews are performed at least once a year.

Document Reference:

- LSP for Management Review Meeting (MRM) (QCL-LSP-11)

END OF MANUAL