| Employee Name: | Masab Rasheed |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Designation | Assistant Quality Control Manager |  |  |  | Employee Code: |  |  | N-089 |
| Test: | Nitrogen |  |
| Instrument: | Kjeldhal’s Apparatus |  |  |  |  |  |

| Sr. No. | Product/Item Name | API Name | Lot# | Specification | Results Obtained | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | NPK 16-16-16 | Nitrogen | ID: 251111 | 16% | 16.3% | Satisfied |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |

| Remarks: | Masab Rasheed is authorized to perform Nitrogen analysis, having demonstrated adequate training and competency in the procedure. |
| --- | --- |
|  | Level 1 eligibility: Minimum Grade = 2.00 |
|  | Level 2 eligibility: Minimum Grade = 3.00 |

| Performed By |  |  | Checked By |  |  | Approved By |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  | Signature: |  |  | Signature: |  |  |
| Date: | 14/12/2025 |  | Date: |  |  | Date: |  |  |
|  | (Analyst/Assistant Analyst) |  |  | (AQCM) |  |  | (QCM) |  |