| Employee Name | Masab Rasheed | Designation | Assistant Quality Control Manager | Authorization Type | ✓ New Extension Renewal |
| --- | --- | --- | --- | --- | --- |
| Employee ID | N-089 | Department / Section | QC Laboratory | Authorization Date | 01/06/2026 |

A. Personnel Qualification, Experience and Training Review

| Education / Qualification | BS (Hon) Chemistry | Relevant Experience | 4 Years | Product/Test Method Training | Completed |
| --- | --- | --- | --- | --- | --- |
| Current Competence Level | Level 2 | Minimum criteria verified? | Yes | Supervised Period Completed | NA |
| Job Description Ref. | QCL-JD-03 | Training Records Ref. | QCL-FRM-2.08 | Assessment Basis | PT Sample |
| ISO/IEC 17025 Training | Attended | Ethics & Confidentiality Training | Attended | Previous Experience Exemption | Yes |
| Product/Test Method Training | Completed | Equipment Handling Training | Completed | Overall Review Result | Satisfactory |

B. Competence Level and Authorization Criteria

| Level | Competence / Score | Category | Main Criteria | Authorization Meaning |
| --- | --- | --- | --- | --- |
| Level 2 | 3 = Partial Competence | Assistant Manager | Appointed under HR policy and lab competence requirements. | May independently manage, review and approve (*In absence of QCM) |

C. Product Authorization Matrix

| Sr. | Product / Product Group | Applicable Standard / Method / SOP | Test Parameters Authorized | Key Equipment / Technique | Allowed Activity | Competence Level | Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NPK fertilizers ((DAP/MAP/TSP/SSP/MOP/SOP) | PSQCA/ AOAC as applicable | N, P2O5, K2O, pH, moisture, | Kjeldahl, UV/visible, Flame Photometer, Karl Fischer, Balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent review |
| 2 | Zinc sulfate / micronutrient products | PSQCA/ AOAC as applicable | Zn, Mg, Cu, Ca, Na, sulfate/sulfur, moisture, pH | Titration, UV/visible, flame photometer, balance, oven/KF, pH meter | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 3 | Sulfur / sulfate products | PSQCA/ AOAC as applicable | Sulfur/sulfate, moisture, pH, dis-persibility/physical checks | Titration/gravimetric method, oven/KF, pH meter, balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 4 | Humic / fulvic / organic products | recognized method as applicable | Humic acid, organic matter, pH, conductivity, moisture, CEC | Titration/gravimetric, pH/TDS meter, oven/KF, balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 5 | Raw materials used for fertilizer production | Material specification / supplier CoA | Identity, relevant nutrients | As per material test method | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 6 | Reporting, supervision and authorization control | Technical review, CoA approval, analyst authorization, PT/ internal sample oversight | QCL-LSP-01 / QCL-FRM-1.01B / 1.04 | Lab records, LIMS/PC files, worksheets | - | L2 | Full previous reports & performance data | May designate from QCM if needed |

D. Product Authorization Evidence Record

| Sr. | Product / Parameter | Training Ref. | Supervisor / Level 2 Person | Internal Sample / Blind Sample Ref. | PT Ref. (if applicable) | No. of supervised analyses | Acceptance met? | Effective Date | Review Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NPK fertilizers | QCL-FRM-2.08 | QCM | NA | Batch 260511 | NA | [✓ ] Yes [ ] No | 01/06/26 | 01/06/2027 |

E. Acceptance Criteria Reference for Competency Decision

| Test / Instrument Area | Required Demonstration | Statistical / Comparison Criteria | Decision |
| --- | --- | --- | --- |
| Flame Photometer | Three replicate preparations | RSD of three results NMT 1.0%. | Competent / Authorized as AQCM for independent operation, result verification, review of QC data, and supervision of analyst/trainee.. |
| Karl Fischer / Moisture | Three replicate preparations | RSD of three results NMT 1.0%; trainee | Competent / Authorized as AQCM for independent operation, result verification, moisture result review, and supervision of analyst/trainee. |
| TDS / Conductivity/ pH | Ten replicate preparations | SD of all results NMT 0.1 | Competent / Authorized as AQCM for independent operation, review and approval of results, QC verification, and supervision of analyst/trainee. |
| UV/Visible Spectrophotometer | Three replicate preparations | RSD of three results NMT 1.0% | Competent / Authorized as AQCM for independent operation, result verification, calibration/QC review, and approval of analytical results. |
| Analytical Balance / Pipetting | Weighing practice using pipette and different volumes | Results consistent with volume/weight practice; supervisor observation satisfactory | Competent / Authorized as AQCM for use, verification of weighing and pipetting practices, review of analyst competency, and supervision of analyst/trainee. |

F. Defined Authorities, Data Access and Limitations

| Authority Area | Authorized? | Access / Scope Allowed | Restrictions / Remarks |
| --- | --- | --- | --- |
| Sample handling and preparation for listed products | Yes | [ ✓ ] Full [ ] Under supervision [ ] Read/observe only | Authorized as AQCM for full sample handling and preparation of listed products only, as per approved SOPs. Sample identification, traceability, labeling, preservation, and safe handling shall be ensured. |
| Test performance for listed product parameters | Yes | [ ✓ ] Full [ ] Under supervision [ ] Specific method only | Authorized as AQCM to perform and supervise testing of approved parameters only, using validated/approved methods and calibrated equipment. Any deviation from method or abnormal observation shall be documented and reported. |
| Raw data entry and calculation sheets | Yes | [✓ ] Enter data [✓] Calculate only [ ] Read only | Authorized as AQCM to enter, calculate, review, and verify raw data and calculation sheets. All records shall be complete, traceable, dated, signed, and corrections shall be made as per data control procedure. |
| Review / verification of results | Yes | [ ] Level 3 verify [✓] Level 2 review [✓] QCM/AQCM review only | Authorized as AQCM / Level 2 for technical review, verification of results, and QC data assessment before reporting. Doubtful, abnormal, or OOS results shall be investigated before approval or release. |
| Test reporting / certificate of analysis | Yes | [✓] Draft only [✓] Finalize internal CoA [ ] Approve external report | Authorized as AQCM to review, verify, finalize internal CoA, and approve external test reports within authorized laboratory scope. Report format, calculation, specification compliance, and statement of conformity shall be checked before release. |
| Data access relevant to authorized products | Yes | [✓] Product specifications [✓] Previous reports/trends [✓] Equipment records [✓] CRM/standard records [✓ ] LIMS/PC files | Authorized as AQCM for full access to relevant product specifications, test records, previous reports/trends, equipment records, CRM/standard records, and LIMS/PC files related to authorized products. Confidentiality and data integrity shall be maintained. |
| Supervision of trainees / Level 1 personnel | Yes | [✓] Level 2 only [ ] QCM/AQCM delegated only | Authorized as AQCM to supervise trainees, Level 1, and Level 2 analysts for assigned testing activities. Training, monitoring, competency evaluation, and authorization records shall be maintained. |

G. Monitoring, Renewal, Extension or Withdrawal

| Monitoring Requirement | Record / Evidence | Result | Action Required |
| --- | --- | --- | --- |
| Annual competence monitoring | QCL-FRM-1.04 | [✓] Satisfactory [] Unsatisfactory | No corrective action required. Continue routine annual competence monitoring and maintain record. |
| PT sample result where applicable | PT Report / z-score / lab result | [✓] Acceptable [] Not acceptable [] N/A | No corrective action required. Maintain PT result/z-score record as evidence. |
| Blind/internal sample result | QCL-FRM-1.01 C / raw data | [✓] Within criteria [] Outside criteria | No corrective action required. Continue authorization for relevant testing activity. |
| Client complaint/retesting impact | Complaint / retest record | [✓] No impact [] Impact found | No impact: No action required; maintain complaint/retest record. |
| Change in product, method, equipment or long gap in testing | Change record / training record | [✓] Re-evaluation done [] Pending | Performance is satisfactory. |

H. Authorization Decision and Signatures

| Final Decision | [✓] Authorized [] Authorized under supervision [] Not authorized [] Withdrawn | Validity / Review Due | From: 01/06/2026 To: 01/06/2027 |
| --- | --- | --- | --- |
| Employee Declaration | I understand and accept the product-wise authorization, limitations, confidentiality and data access requirements defined above. | Employee Signature / Date |  |
| Evaluated By | Himayat Hussain (QCM) | Signature / Date | 01/06/2026 |
| Reviewed By | Himayat Hussain (QCM) | Signature / Date | 01/06/2026 |
| Approved By | Himayat Hussain (QCM) | Signature / Date | 02/06/2026 |
| Remarks | AQCM is authorized as Level 2 Competent personnel to independently perform assigned laboratory activities and review/verify routine analytical work within the defined product/test scope. AQCM may supervise trainees and Level 1 analysts, check sample preparation, test performance, raw data, calculations, QC records, and equipment/method compliance before submission to QCM. AQCM shall review competency evidence, training records, PT/blind/internal sample performance, worksheets, equipment records, CRM/standard records, method records, and performance trends relevant to authorized products. Analyst authorization may be recommended by AQCM after 10 or more compliant analyses under AQCM/QCM supervision or other justified competency evidence, but final authorization shall be approved by QCM/Management. AQCM may finalize internal records or CoA only where formally delegated; final technical review and approval of external test reports shall remain under QCM or authorized signatory. Confidentiality and data integrity shall be maintained at all times. |  |  |