| Employee Name | Mubeen Ahmad | Designation | Assistant Analyst | Authorization Type | ✓ New Extension Renewal |
| --- | --- | --- | --- | --- | --- |
| Employee ID | N-103 | Department / Section | QC Laboratory | Authorization Date | 01/06/2026 |

A. Personnel Qualification, Experience and Training Review

| Education / Qualification | BSc Chemistry | Relevant Experience | 3 Years | Product/Test Method Training | Completed |
| --- | --- | --- | --- | --- | --- |
| Current Competence Level | Level 2 | Minimum criteria verified? | Yes | Supervised Period Completed | NA |
| Job Description Ref. | QCL-JD-05 | Training Records Ref. | QCL-FRM-2.08 | Assessment Basis | PT Sample |
| ISO/IEC 17025 Training | Attended | Ethics & Confidentiality Training | Attended | Previous Experience Exemption | Yes |
| Product/Test Method Training | Completed | Equipment Handling Training | Completed | Overall Review Result | Satisfactory |

B. Competence Level and Authorization Criteria

| Level | Competence / Score | Category | Main Criteria | Authorization Meaning |
| --- | --- | --- | --- | --- |
| Level 2 | 3 = Partial Competence | Assistant Analyst | Appointed under HR policy and lab competence requirements. | May independently perform assigned testing or other activities within defined scope. |

C. Product Authorization Matrix

| Sr. | Product / Product Group | Applicable Standard / Method / SOP | Test Parameters Authorized | Key Equipment / Technique | Allowed Activity | Competence Level | Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NPK fertilizers ((DAP/MAP/TSP/SSP/MOP/SOP) | PSQCA/ AOAC as applicable | N, P2O5, K2O, pH, moisture, | Kjeldahl, UV/visible, Flame Photometer, Karl Fischer, Balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 2 | Zinc sulfate / micronutrient products | PSQCA/ AOAC as applicable | Zn, Mg, Cu, Ca, Na, sulfate/sulfur, moisture, pH | Titration, UV/visible, flame photometer, balance, oven/KF, pH meter | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 3 | Sulfur / sulfate products | PSQCA/ AOAC as applicable | Sulfur/sulfate, moisture, pH, dis-persibility/physical checks | Titration/gravimetric method, oven/KF, pH meter, balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 4 | Humic / fulvic / organic products | recognized method as applicable | Humic acid, organic matter, pH, conductivity, moisture, CEC | Titration/gravimetric, pH/TDS meter, oven/KF, balance | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 5 | Raw materials used for fertilizer production | Material specification / supplier CoA | Identity, relevant nutrients | As per material test method | ✓ Sample prep ✓ Test ✓ Calculation ✓ Review | L2 | ✓ Authorized Under supervision Not authorized | Independent |
| 6 | Reporting, supervision and authorization control | Technical review, CoA approval, analyst authorization, PT/ internal sample oversight | QCL-LSP-01 / QCL-FRM-1.01B / 1.04 | Lab records, LIMS/PC files, worksheets | - | L2 | Full previous reports & performance data | N/A |

D. Product Authorization Evidence Record

| Sr. | Product / Parameter | Training Ref. | Supervisor / Level 2 Person | Internal Sample / Blind Sample Ref. | PT Ref. (if applicable) | No. of supervised analyses | Acceptance met? | Effective Date | Review Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NPK fertilizers | QCL-FRM-2.08 | AQCM | NA | Batch 260213 | 1 | [✓ ] Yes [ ] No | 01/06/26 | 01/06/2027 |

E. Acceptance Criteria Reference for Competency Decision

| Test / Instrument Area | Required Demonstration | Statistical / Comparison Criteria | Decision |
| --- | --- | --- | --- |
| Flame Photometer | Three replicate preparations | RSD of three results NMT 1.0%. | Competent / Authorized as Assistant Analyst for independent operation and performance of assigned tests within approved scope. Authorized to enter raw data, perform calculations, and submit results for AQCM/QCM review and verification. |
| Karl Fischer / Moisture | Three replicate preparations | RSD of three results NMT 1.0%; trainee | Competent / Authorized as Assistant Analyst for independent operation and moisture testing within approved scope. Authorized to record results, perform calculations, and submit worksheets for AQCM/QCM review. |
| TDS / Conductivity/ pH | Ten replicate preparations | SD of all results NMT 0.1 | Competent / Authorized as Assistant Analyst for independent operation of TDS, conductivity, and pH meters for assigned samples. Authorized to record readings, maintain routine QC checks, and submit results for AQCM/QCM verification. |
| UV/Visible Spectrophotometer | Three replicate preparations | RSD of three results NMT 1.0% | Competent / Authorized as Assistant Analyst for independent operation and testing on UV/Visible Spectrophotometer within approved methods. Authorized to prepare standards/samples, record absorbance/results, perform calculations, and submit data for AQCM/QCM review. |
| Analytical Balance / Pipetting | Weighing practice using pipette and different volumes | Results consistent with volume/weight practice; supervisor observation satisfactory | Competent / Authorized as Assistant Analyst for use of analytical balance and pipettes for assigned testing activities. Authorized to perform weighing, pipetting, volume/weight checks, and maintain records under approved SOPs. |

F. Defined Authorities, Data Access and Limitations

| Authority Area | Authorized? | Access / Scope Allowed | Restrictions / Remarks |
| --- | --- | --- | --- |
| Sample handling and preparation for listed products | Yes | [ ✓ ] Full [ ] Under supervision [ ] Read/observe only | Authorized as Assistant Analyst / Level 2 for sample handling and preparation of listed products only, as per approved SOPs. Sample identification, traceability, labeling, preservation, and safe handling shall be ensured. |
| Test performance for listed product parameters | Yes | [ ✓ ] Full [ ] Under supervision [ ] Specific method only | Authorized as Assistant Analyst to perform assigned tests independently within approved product/test scope, using approved methods and calibrated equipment only. Any deviation, abnormal observation, or doubtful result shall be reported to AQCM/QCM. |
| Raw data entry and calculation sheets | Yes | [✓ ] Enter data [✓] Calculate only [ ] Read only | Authorized to enter raw data, perform calculations, complete worksheets, and maintain testing records. Data shall be complete, traceable, dated, signed, and corrections shall be made as per data control procedure. Final verification shall be done by AQCM/QCM. |
| Review / verification of results | NA | [ ] Level 3 verify [ ] Level 2 review [✓] QCM/AQCM review only | Not authorized for final technical review or verification or report approval. |
| Test reporting / certificate of analysis | Yes | [✓] Draft only [ ] Finalize internal CoA [ ] Approve external report | Authorized to prepare draft reports / draft CoA and compile supporting worksheets only. Final review, internal CoA finalization, and external report approval shall remain with AQCM/QCM or authorized signatory. |
| Data access relevant to authorized products | Yes | [✓] Product specifications [✓] Previous reports/trends [✓] Equipment records [✓] CRM/standard records [ ] LIMS/PC files | Authorized for access to relevant product specifications, worksheets, previous reports/trends, equipment records, CRM/standard related to assigned products/tests only. Confidentiality and data integrity shall be maintained. |
| Supervision of trainees / Level 1 personnel | NA | [ ] Level 2 only [✓] QCM/AQCM delegated only | Competency approval and final authorization shall be done by AQCM/QCM. |

G. Monitoring, Renewal, Extension or Withdrawal

| Monitoring Requirement | Record / Evidence | Result | Action Required |
| --- | --- | --- | --- |
| Annual competence monitoring | QCL-FRM-1.04 | [✓] Satisfactory [] Unsatisfactory | No corrective action required. Continue routine annual competence monitoring and maintain record. |
| PT sample result where applicable | PT Report / z-score / lab result | [✓] Acceptable [] Not acceptable [] N/A | No corrective action required. Maintain PT result/z-score record as evidence. |
| Blind/internal sample result | QCL-FRM-1.01 C / raw data | [✓] Within criteria [] Outside criteria | No corrective action required. Continue authorization for relevant testing activity. |
| Client complaint/retesting impact | Complaint / retest record | [✓] No impact [] Impact found | No impact: No action required; maintain complaint/retest record. |
| Change in product, method, equipment or long gap in testing | Change record / training record | [✓] Re-evaluation done [] Pending | Performance is satisfactory. |

H. Authorization Decision and Signatures

| Final Decision | [✓] Authorized [] Authorized under supervision [] Not authorized [] Withdrawn | Validity / Review Due | From: 01/06/2026 To: 01/06/2027 |
| --- | --- | --- | --- |
| Employee Declaration | I understand and accept the product-wise authorization, limitations, confidentiality and data access requirements defined above. | Employee Signature / Date |  |
| Evaluated By | Masab Rasheed (AQCM) | Signature / Date | 01/06/2026 |
| Reviewed By | Himayat Hussain (QCM) | Signature / Date | 01/06/2026 |
| Approved By | Himayat Hussain (QCM) | Signature / Date | 02/06/2026 |
| Remarks | Assistant Analyst is authorized as Level 2 competent personnel to independently perform assigned laboratory activities within the defined product/test scope. The Assistant Analyst may handle and prepare samples, perform approved tests using calibrated equipment, enter raw data, perform calculations, complete worksheets, and maintain relevant records as per approved SOPs and data control procedures. The Assistant Analyst may conduct routine review of own work, QC checks, calculations, and records before submission to AQCM/QCM. The Assistant Analyst is authorized to guide trainees / Level 1 personnel during routine sample preparation, testing, data entry, and calculations within assigned scope. Final competency evaluation, analyst authorization, technical verification, internal CoA finalization, and external test report approval shall remain with AQCM/QCM or authorized signatory. Any deviation, doubtful result, abnormal observation, or OOS result shall be immediately reported to AQCM/QCM. Confidentiality, traceability, and data integrity shall be maintained at all times. |  |  |