| Employee Name: | Masab Rasheed |  |  |
| --- | --- | --- | --- |
| Material Description: | MOP (Magruder Sample) | Reference Method: | Flame Photometer |
| Batch / Lot #: | ID: 251215 | Mfg. Date: | NA |
| Working Standard Qty.: | 50 g | Exp. Date: | NA |
| Unknown Sample Qty.: | NA | Analysis Date: | 07 January 2026 |
| Temp & RH (Testing) | 25±10℃ & 50±20% | Result Submission Date: | 07 January 2026 |
| Source of Material: | PT Sample |  |  |

| Test Description | Sample | Analyst Result | Assigned Value | Standard Deviation (NMT 0.5) | Initial Results | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Potash (K2O) | Reading 1 = | 60.47% | 60% | ≈ 0.163 % | 60.47% | Satisfied |
|  | Reading 2 = | 60.24% |  |  |  |  |
|  | Reading 3 = |  |  |  |  |  |
|  | Reading 4 = |  |  |  |  |  |
|  | Reading 5 = |  |  |  |  |  |
|  | Reading 6 = |  |  |  |  |  |
|  | Reading 7 = |  |  |  |  |  |
|  | Reading 8 = |  |  |  |  |  |
|  | Reading 9 = |  |  |  |  |  |
|  | Reading 10 = |  |  |  |  |  |
|  | Average = | 60.35% |  |  |  |  |

| Remarks: | Potassium (K2O) content was found to be 60.47% and 60.24%. The calculated standard deviation is 0.1626%, indicating good repeatability and precision in the results. |
| --- | --- |
|  | State if there is any deviation from testing or sampling method: |
|  | Any interpretation of test result or additional information: |
|  | Level 1 eligibility: Minimum Grade = 2.00 |
|  | Level 2 eligibility: Minimum Grade = 3.00 |

| Performed By |  |  | Checked By |  |  | Approved By |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  | Signature: |  |  | Signature: |  |  |
| Date: | 07-01-2026 |  | Date: |  |  | Date: |  |  |
|  | (Analyst/Assistant Analyst) |  |  | (AQCM) |  |  | (QCM) |  |