| Employee Name: | Masab Rasheed |  |  |
| --- | --- | --- | --- |
| Material Description: | 16-16-16 Magruder sample | Reference Method: | Kjeldhal’s Apparatus |
| Batch / Lot #: | 251111 | Mfg. Date: | NA |
| Working Standard Qty.: | 20 g | Exp. Date: | NA |
| Unknown Sample Qty.: | NA | Analysis Date: | 13 December 2025 |
| Temp & RH (Testing) | 25±10℃ & 50±20% | Result Submission Date: | 14 December 2025 |
| Source of Material: | PT Sample |  |  |

| Test Description | Sample | Analyst Result | Assigned Value | Standard Deviation (NMT 0.5) | Initial Results | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Nitrogen | Reading 1 = | 16.3% | 16% | ≈ 0.1697% | 16.3% | Satisfied |
|  | Reading 2 = | 16.06% |  |  |  |  |
|  | Reading 3 = |  |  |  |  |  |
|  | Reading 4 = |  |  |  |  |  |
|  | Reading 5 = |  |  |  |  |  |
|  | Reading 6 = |  |  |  |  |  |
|  | Reading 7 = |  |  |  |  |  |
|  | Reading 8 = |  |  |  |  |  |
|  | Reading 9 = |  |  |  |  |  |
|  | Reading 10 = |  |  |  |  |  |
|  | Average = | 16.18% |  |  |  |  |

| Remarks: | Nitrogen content was determined to be 16.3% and 16.06%. The calculated standard deviation is 0.1697%, indicating that the measurements are consistent and within an acceptable range of variation. |
| --- | --- |
|  | State if there is any deviation from testing or sampling method: |
|  | Any interpretation of test result or additional information: |
|  | Level 1 eligibility: Minimum Grade = 2.00 |
|  | Level 2 eligibility: Minimum Grade = 3.00 |

| Performed By |  |  | Checked By |  |  | Approved By |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  | Signature: |  |  | Signature: |  |  |
| Date: | 14-12-2025 |  | Date: |  |  | Date: |  |  |
|  | (Analyst/Assistant Analyst) |  |  | (AQCM) |  |  | (QCM) |  |