| Employee Name: | Awais Hameed |  |  |
| --- | --- | --- | --- |
| Material Description: | DAP (Magruder Sample) | Reference Method: | Kjeldhal’s Method/ Titration Method |
| Batch / Lot #: | ID: 260411 | Mfg. Date: | NA |
| Working Standard Qty.: | 50 g | Exp. Date: | NA |
| Unknown Sample Qty.: | NA | Analysis Date: | 16 May 2026 |
| Temp & RH (Testing) | 25±10℃ & 50±20% | Result Submission Date: | 17 May 2026 |
| Source of Material: | PT Sample (Magruder) |  |  |

| Test Description | Assigned Value | Report Value | Z-Score NMT 2.0 | Remarks |
| --- | --- | --- | --- | --- |
| Nitrogen | 18% | 18.33% | 1.65 | Satisfied |
| Phosphorus (P2O5) | 46% | 46.16% | -0.58 | Satisfied |

| Remarks: | Nitrogen and Phosphorus content was found Satisfied. Indicating good precision in the results. |
| --- | --- |
|  | State if there is any deviation from testing or sampling method: |
|  | Any interpretation of test result or additional information: |
|  | Level 1 eligibility: Minimum Grade = 2.00 |
|  | Level 2 eligibility: Minimum Grade = 3.00 |

| Performed By |  |  | Checked By |  |  | Approved By |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  | Signature: |  |  | Signature: |  |  |
| Date: | 17-05-2026 |  | Date: |  |  | Date: |  |  |
|  | (Analyst/Assistant Analyst) |  |  | (AQCM) |  |  | (QCM) |  |