Name: Himayat Hussain			Designation: Quality Control Manager (QCM)

| Sr No | Detail | Responsibility | Check |
| --- | --- | --- | --- |
| 1 | Introduction to company, laboratory scope, reporting line and QCM responsibilities. | Management / CEO | Completed |
| 2 | ISO/IEC 17025:2017, quality policy, objectives, impartiality and confidentiality. | Management Rep. | Completed |
| 3 | Control of QCL documents, LSPs, SOPs, records and approval/change control. | Management Rep. | Completed |
| 4 | QCM authority for personnel competence, authorization, supervision and data access. | Management / MR | Completed |
| 5 | Laboratory safety, legal compliance, emergency response and resource control. | Safety Officer / MR | Completed |
| 6 | Oversight of sample receipt, traceability, storage, retention and disposal system. | Management / MR | Completed |
| 7 | Equipment authorization, calibration planning, maintenance and out-of-service controls. | Management / MR | Completed |
| 8 | Method validation/verification, uncertainty, decision rule and technical approval. | Management Rep. | Completed |
| 9 | Quality assurance of results: CRM, QC checks, control charts, PT/ILC and trends. | Management / MR | Completed |
| 10 | Final report approval, opinion/interpretation, customer communication and complaints. | Management / MR | Completed |
| 11 | Risk review, management review inputs, improvement monitoring and staff training plan. | Management / MR | Completed |

Orientation Conducted by

(CEO)

Date: _________________