## MainHall
|  | CONTROL CHART FORM |  |  |  | Doc. No. | QCL-FRM-3.02
[6 empty] | Issue Date | 2024-01-10
[6 empty] | Rev# | 1
Measurand: | Relative Humidity |  |  | Duration: |  | March-2026 (Second Half) Night
Location: | Main Hall |  |  | Measuring device: |  | Thermohygrometer
Target Value (%): | 50 |  |  | Device ID: |  | VAN/QC/EQP-001
Lower Control Limit (%): | 35 |  |  | Upper Control Limit (%): |  | 65
Lower Action Limit (%): | 30 |  |  | Upper Action Limit (%): |  | 70
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2026-03-16 | Monday | 23:00 | 58 | 8 | Under Control | --- | 1 | 50 | 58 | 35 | 65 | 30 | 70
2 | 2026-03-16 | Monday | 3:00 | 59 | 9 | Under Control | --- | 2 | 50 | 59 | 35 | 65 | 30 | 70
3 | 2026-03-17 | Tuesday | 23:00 | 57 | 7 | Under Control | --- | 3 | 50 | 57 | 35 | 65 | 30 | 70
4 | 2026-03-17 | Tuesday | 3:00 | 59 | 9 | Under Control | --- | 4 | 50 | 59 | 35 | 65 | 30 | 70
5 | 2026-03-25 | Wednesday | 23:00 | 60 | 10 | Under Control | --- | 5 | 50 | 60 | 35 | 65 | 30 | 70
6 | 2026-03-25 | Wednesday | 3:00 | 62 | 12 | Under Control | --- | 6 | 50 | 62 | 35 | 65 | 30 | 70
7 | 2026-03-26 | Thursday | 23:00 | 58 | 8 | Under Control | --- | 7 | 50 | 58 | 35 | 65 | 30 | 70
8 | 2026-03-26 | Thursday | 3:00 | 60 | 10 | Under Control | --- | 8 | 50 | 60 | 35 | 65 | 30 | 70
9 | 2026-03-27 | Friday | 23:00 | 59 | 9 | Under Control | --- | 9 | 50 | 59 | 35 | 65 | 30 | 70
10 | 2026-03-27 | Friday | 3:00 | 61 | 11 | Under Control | --- | 10 | 50 | 61 | 35 | 65 | 30 | 70
11 | 2026-03-28 | Saturday | 23:00 | 60 | 10 | Under Control | --- | 11 | 50 | 60 | 35 | 65 | 30 | 70
12 | 2026-03-28 | Saturday | 3:00 | 62 | 12 | Under Control | --- | 12 | 50 | 62 | 35 | 65 | 30 | 70
13 | 2026-03-29 | Sunday | 23:00 | 57 | 7 | Under Control | --- | 13 | 50 | 57 | 35 | 65 | 30 | 70
14 | 2026-03-29 | Sunday | 3:00 | 59 | 9 | Under Control | --- | 14 | 50 | 59 | 35 | 65 | 30 | 70
15 | 2026-03-30 | Monday | 23:00 | 61 | 11 | Under Control | --- | 15 | 50 | 61 | 35 | 65 | 30 | 70
16 | 2026-03-30 | Monday | 3:00 | 63 | 13 | Under Control | --- | 16 | 50 | 63 | 35 | 65 | 30 | 70
17 | 2026-03-31 | Tuesday | 23:00 | 56 | 6 | Under Control | --- | 17 | 50 | 56 | 35 | 65 | 30 | 70
18 | 2026-03-31 | Tuesday | 3:00 | 59 | 9 | Under Control | --- | 18 | 50 | 59 | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
Average | 59.4444 | Maximum Temp. | 57 | Minimum Humidity | 46 | Under Control | --- |  | 50 |  | 35 | 65 | 30 | 70
[9 empty] | 50 |  | 35 | 65 | 30 | 70
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date