## Main Hall-Sep-1
|  | CONTROL CHART FORM |  |  |  | Doc. No. | QCL-FRM-3.03
[6 empty] | Issue Date | 2024-01-10
[6 empty] | Rev# | 1
Measurand: |  |  | Room Temperature |  | Duration: | March-2025 (First Half)
Location: |  |  | Main Hall |  | Measuring device: | Thermo Hygrometer
Target Value (oC): |  |  | 25 |  | Device ID: | VAN/QC/EQP-001
Lower Control Limit (oC): |  |  | 20 |  | Upper Control Limit ℃: | 30
Lower Action Limit (oC): |  |  | 15 |  | Upper Action Limit ℃: | 35
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2025-03-01 | Saturday | 11:00 | 23.2 | -1.8 | Under Control | --- | 1 | 25 | 23.2 | 20 | 30 | 15 | 35
2 | 2025-03-01 | Saturday | 15:00 | 24.4 | -0.6 | Under Control | --- | 2 | 25 | 24.4 | 20 | 30 | 15 | 35
3 | 2025-03-02 | Sunday | 11:00 | 24 | -1 | Under Control | --- | 3 | 25 | 24 | 20 | 30 | 15 | 35
4 | 2025-03-02 | Sunday | 15:00 | 25.1 | 0.1 | Under Control | --- | 4 | 25 | 25.1 | 20 | 30 | 15 | 35
5 | 2025-03-03 | Monday | 11:00 | 23.3 | -1.7 | Under Control | --- | 5 | 25 | 23.3 | 20 | 30 | 15 | 35
6 | 2025-03-03 | Monday | 15:00 | 24.7 | -0.3 | Under Control | --- | 6 | 25 | 24.7 | 20 | 30 | 15 | 35
7 | 2025-03-04 | Tuesday | 11:00 | 23.9 | -1.1 | Under Control | --- | 7 | 25 | 23.9 | 20 | 30 | 15 | 35
8 | 2025-03-04 | Tuesday | 15:00 | 25 | 0 | Under Control | --- | 8 | 25 | 25 | 20 | 30 | 15 | 35
9 | 2025-03-05 | Wednesday | 11:00 | 23.4 | -1.6 | Under Control | --- | 9 | 25 | 23.4 | 20 | 30 | 15 | 35
10 | 2025-03-05 | Wednesday | 15:00 | 24.8 | -0.2 | Under Control | --- | 10 | 25 | 24.8 | 20 | 30 | 15 | 35
11 | 2025-03-06 | Thursday | 11:00 | 24.5 | -0.5 | Under Control | --- | 11 | 25 | 24.5 | 20 | 30 | 15 | 35
12 | 2025-03-06 | Thursday | 15:00 | 25.6 | 0.6 | Under Control | --- | 12 | 25 | 25.6 | 20 | 30 | 15 | 35
13 | 2025-03-07 | Friday | 11:00 | 23.8 | -1.2 | Under Control | --- | 13 | 25 | 23.8 | 20 | 30 | 15 | 35
14 | 2025-03-07 | Friday | 15:00 | 25 | 0 | Under Control | --- | 14 | 25 | 25 | 20 | 30 | 15 | 35
15 | 2025-03-08 | Saturday | 11:00 | 24.1 | -0.9 | Under Control | --- | 15 | 25 | 24.1 | 20 | 30 | 15 | 35
16 | 2025-03-08 | Saturday | 15:00 | 25.4 | 0.4 | Under Control | --- | 16 | 25 | 25.4 | 20 | 30 | 15 | 35
17 | 2025-03-09 | Sunday | 11:00 | 24.3 | -0.7 | Under Control | --- | 17 | 25 | 24.3 | 20 | 30 | 15 | 35
18 | 2025-03-09 | Sunday | 15:00 | 25.5 | 0.5 | Under Control | --- | 18 | 25 | 25.5 | 20 | 30 | 15 | 35
19 | 2025-03-10 | Monday | 11:00 | 23.5 | -1.5 | Under Control | --- | 19 | 25 | 23.5 | 20 | 30 | 15 | 35
20 | 2025-03-10 | Monday | 15:00 | 24.8 | -0.2 | Under Control | --- | 20 | 25 | 24.8 | 20 | 30 | 15 | 35
21 | 2025-03-11 | Tuesday | 11:00 | 23.1 | -1.9 | Under Control | --- | 21 | 25 | 23.1 | 20 | 30 | 15 | 35
22 | 2025-03-11 | Tuesday | 15:00 | 24.5 | -0.5 | Under Control | --- | 22 | 25 | 24.5 | 20 | 30 | 15 | 35
23 | 2025-03-12 | Wednesday | 11:00 | 23.9 | -1.1 | Under Control | --- | 23 | 25 | 23.9 | 20 | 30 | 15 | 35
24 | 2025-03-12 | Wednesday | 15:00 | 25.1 | 0.1 | Under Control | --- | 24 | 25 | 25.1 | 20 | 30 | 15 | 35
25 | 2025-03-13 | Thursday | 11:00 AM | 24.1 | -0.9 | Under Control | --- | 25 | 25 | 24.1 | 20 | 30 | 15 | 35
26 | 2025-03-13 | Thursday | 15:00 | 25.3 | 0.3 | Under Control | --- | 26 | 25 | 25.3 | 20 | 30 | 15 | 35
27 | 2025-03-14 | Friday | 11:00 | 23.8 | -1.2 | Under Control | --- | 27 | 25 | 23.8 | 20 | 30 | 15 | 35
28 | 2025-03-14 | Friday | 15:00 | 25 | 0 | Under Control | --- | 28 | 25 | 25 | 20 | 30 | 15 | 35
29 | 2025-03-15 | Saturday | 11:00 | 24.2 | -0.8 | Under Control | --- | 29 | 25 | 24.2 | 20 | 30 | 15 | 35
30 | 2025-03-15 | Saturday | 15:00 | 25.3 | 0.3 | Under Control | --- | 30 | 25 | 25.3 | 20 | 30 | 15 | 35
Average | 24.42 | Maximum Temp. | 25.6 | Minimum Temp. | 23.2 | Under Control | ---
Prepared By: (Name) |  |  |  |  | Signature |  | Date:
Reviewed By: (Name) |  |  |  |  | Signature |  | Date: