## Main Hall-Sep-1
|  | CONTROL CHART FORM |  |  |  | Doc. No. | QCL-FRM-3.03
[6 empty] | Issue Date | 2024-01-10
[6 empty] | Rev# | 1
Measurand: |  |  | Room Temperature |  | Duration: | October-2025 (second Half) Night
Location: |  |  | Main Hall |  | Measuring device: | Thermo Hygrometer
Target Value (oC): |  |  | 25 |  | Device ID: | VAN/QC/EQP-001
Lower Control Limit (oC): |  |  | 20 |  | Upper Control Limit ℃: | 30
Lower Action Limit (oC): |  |  | 15 |  | Upper Action Limit ℃: | 35
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2025-10-16 | Thrusday | 23:00 | 23.5 | -1.5 | Under Control | --- | 1 | 25 | 23.5 | 20 | 30 | 15 | 35
2 | 2025-10-16 | Thrusday | 3:00 | 24.9 | -0.1 | Under Control | --- | 2 | 25 | 24.9 | 20 | 30 | 15 | 35
3 | 2025-10-17 | Friday | 23:00 | 23.7 | -1.3 | Under Control | --- | 3 | 25 | 23.7 | 20 | 30 | 15 | 35
4 | 2025-10-17 | Friday | 3:00 | 24.9 | -0.1 | Under Control | --- | 4 | 25 | 24.9 | 20 | 30 | 15 | 35
5 | 2025-10-18 | Saturday | 23:00 | 24.4 | -0.6 | Under Control | --- | 5 | 25 | 24.4 | 20 | 30 | 15 | 35
6 | 2025-10-18 | Saturday | 3:00 | 25.7 | 0.7 | Under Control | --- | 6 | 25 | 25.7 | 20 | 30 | 15 | 35
7 | 2025-10-19 | Monday | 23:00 | 24.3 | -0.7 | Under Control | --- | 7 | 25 | 24.3 | 20 | 30 | 15 | 35
8 | 2025-10-19 | Monday | 3:00 | 25.3 | 0.3 | Under Control | --- | 8 | 25 | 25.3 | 20 | 30 | 15 | 35
9 | 2025-10-20 | Tuesday | 23:00 | 24.8 | -0.2 | Under Control | --- | 9 | 25 | 24.8 | 20 | 30 | 15 | 35
10 | 2025-10-20 | Tuesday | 3:00 | 26 | 1 | Under Control | --- | 10 | 25 | 26 | 20 | 30 | 15 | 35
11 | 2025-10-21 | Wednesday | 23:00 | 23.9 | -1.1 | Under Control | --- | 11 | 25 | 23.9 | 20 | 30 | 15 | 35
12 | 2025-10-21 | Wednesday | 3:00 | 25.1 | 0.1 | Under Control | --- | 12 | 25 | 25.1 | 20 | 30 | 15 | 35
13 | 2025-10-22 | Thrusday | 23:00 | 24.8 | -0.2 | Under Control | --- | 13 | 25 | 24.8 | 20 | 30 | 15 | 35
14 | 2025-10-22 | Thrusday | 3:00 | 26.1 | 1.1 | Under Control | --- | 14 | 25 | 26.1 | 20 | 30 | 15 | 35
15 | 2025-10-23 | Friday | 23:00 | 24.1 | -0.9 | Under Control | --- | 15 | 25 | 24.1 | 20 | 30 | 15 | 35
16 | 2025-10-23 | Friday | 3:00 | 25.1 | 0.1 | Under Control | --- | 16 | 25 | 25.1 | 20 | 30 | 15 | 35
17 | 2025-10-24 | Saturday | 23:00 | 24.7 | -0.3 | Under Control | --- | 17 | 25 | 24.7 | 20 | 30 | 15 | 35
18 | 2025-10-24 | Saturday | 3:00 | 25.9 | 0.9 | Under Control | --- | 18 | 25 | 25.9 | 20 | 30 | 15 | 35
19 | 2025-10-25 | Sunday | 23:00 | 24.3 | -0.7 | Under Control | --- | 19 | 25 | 24.3 | 20 | 30 | 15 | 35
20 | 2025-10-25 | Sunday | 3:00 | 25.2 | 0.2 | Under Control | --- | 20 | 25 | 25.2 | 20 | 30 | 15 | 35
21 | 2025-10-26 | Monday | 23:00 | 23.6 | -1.4 | Under Control | --- | 21 | 25 | 23.6 | 20 | 30 | 15 | 35
22 | 2025-10-26 | Monday | 3:00 | 24.4 | -0.6 | Under Control | --- | 22 | 25 | 24.4 | 20 | 30 | 15 | 35
23 | 2025-10-27 | Tuesday | 23:00 | 23.9 | -1.1 | Under Control | --- | 23 | 25 | 23.9 | 20 | 30 | 15 | 35
24 | 2025-10-27 | Tuesday | 3:00 | 25.2 | 0.2 | Under Control | --- | 24 | 25 | 25.2 | 20 | 30 | 15 | 35
25 | 2025-10-28 | Wednesday | 23:00 | 23.7 | -1.3 | Under Control | --- | 25 | 25 | 23.7 | 20 | 30 | 15 | 35
26 | 2025-10-28 | Wednesday | 3:00 | 24.4 | -0.6 | Under Control | --- | 26 | 25 | 24.4 | 20 | 30 | 15 | 35
27 | 2025-10-29 | Thrusday | 23:00 | 24.3 | -0.7 | Under Control | --- | 27 | 25 | 24.3 | 20 | 30 | 15 | 35
28 | 2025-10-29 | Thrusday | 3:00 | 25.9 | 0.9 | Under Control | --- | 28 | 25 | 25.9 | 20 | 30 | 15 | 35
29 | 2025-10-30 | Friday | 23:00 | 23.6 | -1.4 | Under Control | --- | 29 | 25 | 23.3 | 20 | 30 | 15 | 35
30 | 2025-10-30 | Friday | 3:00 | 25.1 | 0.1 | Under Control |  | 30 | 25 | 25.6 | 20 | 30 | 15 | 35
31 | 2025-10-31 | Saturday | 23:00 | 23.3 | -1.7 | Under Control | --- | 31
32 | 2025-10-31 | Saturday | 3:00 | 25.6 | 0.6 | Under Control |  | 32
Average | 24.6781 | Maximum Temp. | 26.1 | Minimum Temp. | 23.3 | Under Control | ---
Date:
Prepared By: (Name) |  |  |  |  | Signature |  | Date:
Reviewed By: (Name) |  |  |  |  | Signature |  | Date: