## Main Hall-Sep-1
|  | CONTROL CHART FORM |  |  |  | Doc. No. | QCL-FRM-3.03
[6 empty] | Issue Date | 2024-01-10
[6 empty] | Rev# | 1
Measurand: |  |  | Room Temperature |  | Duration: | May 2026 (second Half) Night
Location: |  |  | Main Hall |  | Measuring device: | Thermo Hygrometer
Target Value (oC): |  |  | 25 |  | Device ID: | VAN/QC/EQP-001
Lower Control Limit (oC): |  |  | 20 |  | Upper Control Limit ℃: | 30
Lower Action Limit (oC): |  |  | 15 |  | Upper Action Limit ℃: | 35
Value No. | Date | Day | Time | Measured Value (oC) | Deviation (oC) | Remarks | Action Taken, if any | No. | Target Value (oC) | Measured Value (oC) | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2026-05-16 | Saturday | 23:00 | 22 | -3 | Under Control | --- | 1 | 25 | 22 | 20 | 30 | 15 | 35
2 | 2026-05-16 | Saturday | 3:00 | 21.5 | -3.5 | Under Control | --- | 2 | 25 | 21.5 | 20 | 30 | 15 | 35
3 | 2026-05-17 | Sunday | 23:00 | 22 | -3 | Under Control | --- | 3 | 25 | 22 | 20 | 30 | 15 | 35
4 | 2026-05-17 | Sunday | 3:00 | 21.4 | -3.6 | Under Control | --- | 4 | 25 | 21.4 | 20 | 30 | 15 | 35
5 | 2026-05-18 | Monday | 23:00 | 22.4 | -2.6 | Under Control | --- | 5 | 25 | 22.4 | 20 | 30 | 15 | 35
6 | 2026-05-18 | Monday | 3:00 | 20 | -5 | Under Control | --- | 6 | 25 | 20 | 20 | 30 | 15 | 35
7 | 2026-05-19 | Tuesday | 23:00 | 22.3 | -2.7 | Under Control | --- | 7 | 25 | 22.3 | 20 | 30 | 15 | 35
8 | 2026-05-19 | Tuesday | 3:00 | 21.4 | -3.6 | Under Control | --- | 8 | 25 | 21.4 | 20 | 30 | 15 | 35
9 | 2026-05-20 | Wednesday | 23:00 | 22 | -3 | Under Control | --- | 9 | 25 | 22 | 20 | 30 | 15 | 35
10 | 2026-05-20 | Wednesday | 3:00 | 21.1 | -3.9 | Under Control | --- | 10 | 25 | 21.1 | 20 | 30 | 15 | 35
11 | 2026-05-21 | Thursday | 23:00 | 22.6 | -2.4 | Under Control | --- | 11 | 25 | 22.6 | 20 | 30 | 15 | 35
12 | 2026-05-21 | Thursday | 3:00 | 21.3 | -3.7 | Under Control | --- | 12 | 25 | 21.3 | 20 | 30 | 15 | 35
13 | 2026-05-22 | Friday | 23:00 | 22 | -3 | Under Control | --- | 13 | 25 | 22 | 20 | 30 | 15 | 35
14 | 2026-05-22 | Friday | 3:00 | 21.5 | -3.5 | Under Control | --- | 14 | 25 | 21.5 | 20 | 30 | 15 | 35
15 | 2026-05-23 | Saturday | 23:00 | 22 | -3 | Under Control | --- | 15 | 25 | 22 | 20 | 30 | 15 | 35
16 | 2026-05-23 | Saturday | 3:00 | 20.9 | -4.1 | Under Control | --- | 16 | 25 | 20.9 | 20 | 30 | 15 | 35
17 | 2026-05-24 | Sunday | 23:00 | 21.1 | -3.9 | Under Control | --- | 17 | 25 | 21.1 | 20 | 30 | 15 | 35
18 | 2026-05-24 | Sunday | 3:00 | 21 | -4 | Under Control | --- | 18 | 25 | 21 | 20 | 30 | 15 | 35
19 | 2026-05-25 | Monday | 23:00 | 22.1 | -2.9 | Under Control | --- | 19 | 25 | 22.1 | 20 | 30 | 15 | 35
20 | 2026-05-25 | Monday | 3:00 | 21 | -4 | Under Control | --- | 20 | 25 | 21 | 20 | 30 | 15 | 35
[9 empty] | 25 |  | 20 | 30 | 15 | 35
[9 empty] | 25 |  | 20 | 30 | 15 | 35
[9 empty] | 25 |  | 20 | 30 | 15 | 35
Average | 21.58 | Maximum Temp. | 22.6 | Minimum Temp. | 20 | Under Control | ---
Date:
Prepared By: (Name) |  |  |  |  | Signature |  | Date:
Reviewed By: (Name) |  |  |  |  | Signature |  | Date: