| No | Asset ID | Name | Make/ Manufacturer | Model | Serial No. | Description, Accessories, Spares, Consumables etc. | Software | Firmware | Location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | QCINS004 | Oven | China | WT3020 |  |  |  |  | QC LAB |

| Parameter | Calibration Date | Calibrated By | Results of Calibration | Adjustment | Acceptance Criteria | Next Calibration Date | Reference Material(s) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Description | Results | Acceptance Criteria | Date | Validity Up to |
| Heat | 31-08-2023 | PCSIR | 106.9 | -1.9 | ±1.20 | 30-08-2024 |  |  |  |  | 31-08-2024 |