MASTER LIST OF EQUIPMENT’S

Lab: Quality Control Laboratory

| Sr# | Name of Equipment’s | Identification No. | Range | Location | Calibration Certificate No. | Calibration Certificate Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Analytical Weigh Balance | QC-INS-001 | 0-220 g | Station# 01 | 689 | 23-04-2024 | Done |
| 2 | Flame Photometer | QC-INS-002 | 1-100 ppm | Station# 06 | 090 | 23-04-2024 | Done |
| 3 | Oven | QC-INS-004 | 10-300 ℃ | Station# 01 | 1161 | 19-09-2024 | Done |
| 4 | Vaccume Filtration Assembly | QC-INS-005 | 1-1000 ml | Station# 06 | NA | NA | NA |
| 5 | Heating Mental (Kjeldhal’s Apparatus) | QC-INS-006 | 100-500 ℃ | Station# 05 | 687 | 23-04-2024 | Done |
| 6 | Magnetic Stirrer with hot Plate | QC-INS-007 | 1500 rpm | Station# 04 | 530 | 06-04-2023 | Done |
| 7 | UV-Vis Spectrophotometer | QC-INS-008 | 0-100%T, 0Abs-2Abs | Station# 03 | 690 | 23-04-2024 | Done |
| 8 | Thermo Hygrometer | VAN/PFTL/EQP-001 | RT=10-40℃ RH=10-100% | Station# 04 | 863 | 05-04-2022 | Done |
| 9 | Set of Masses | VAN-H-1/18 | 10mg-200g | Station# 01 | 1157 | 26-09-2024 | Done |
| 10 | Desiccator | QC-INS-011 | NA | Station# 01 | NA | NA | NA |
| 11 | Muffle Furnace | QC-INS-012 | 10-1000 ℃ | Station# 06 | NA | NA | NA |
| 12 | Ultra-Sonic Bath | QC-INS-013 | NA | Station# 01 | NA | NA | NA |
| 13 | Distillation Assembly | QC-INS-014 | 20 Liters | Station# 05 | NA | NA | NA |
| 14 | Refrigerator | QC-INS-015, 016 | 4 ℃ | Station# 01 | NA | NA | NA |
| 15 | Printer | QC-INS-017 | NA | QC Office | NA | NA | NA |
| 16 | pH Meter | QC-INS-018 | 0 to 14 pH | Station# 04 | 1163 | 19-09-2024 | Done |
| 17 | EC Meter | QC-INS-019 | EC=0-500 mS/cm | Station# 04 | 1162 | 19-09-2024 | Done |
| 18 | Karl Fischer | QC-INS-020 | 0-100% | Station# 02 | 1164 | 19-09-2024 | Done |
| 19 | Multiparameter Photometer | QC-INS-021 | 0-10 Abs | Station# 03 | 208 | 01-11-2022 | Done |
| 20 | Mechanical Shaker | QC-INS-022 | 360 rpm | Station# 03 | 688 | 23-04-2024 | Done |
| 21 | Block Heater | QC-INS-023 | 0-400 ℃ | Station# 07 | 691 | 23-04-2024 | Done |
| 22 | Data Logger | QC-INS-024 | RT= -10---40℃ RH=10-100% | Station# 01 | - | - | Done |
| 23 | Analytical Weigh Balance | QC-INS-025 | 0-220 g | Station# 01 | - | - | Done |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |