EQUIPMENT MAINTENANCE RECORD

For the Year: 2024-2025

| Sr. # | Name of Equipment | Equipment Identification # | Make & Model / Serial Number | Location of Equipment & Manual | Maintenance Frequency | Maintenance Date |  | Parts Repaired/ Replaced (if any) | Maintenance By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Analytical Weigh Balance | QC-INS-001 | S/N2303025 | Station# 01 | Cleaning (Quarterly) | 15/02/25 |  | N/A | Rays Technology Maintenance team |
|  |  |  |  |  | Calibration (Yearly) | - |  |  |  |
| 2 | Flame Photometer | QC-INS-002 | 31372 | Station# 06 | Compressor check (Bimonthly) | 15/02/25 |  | N/A | Rays Technology Maintenance team |
|  |  |  |  |  | Cylinder (Quarterly) | 15/02/25 |  |  |  |
|  |  |  |  |  | Filter Check (Quarterly) | 15/02/25 |  |  |  |
| 3 | Oven | QC-INS-004 | China & WT3020 | Station# 01 | Temperature prob (Bimonthly) | 15/02/25 |  | N/A | Rays Technology Maintenance team |
| 4 | Vaccume Filtration Assembly | QC-INS-005 | China & AS20 | Station# 06 | Maintenance (yearly) | - |  | - |  |
| 5 | Heating Mental (Kjeldhal’s Apparatus) | QC-INS-006 | 221234 | Station# 05 | Maintenance of Temperature sensors (yearly) | - |  | - |  |
|  |  |  |  |  | Calibration (Yearly) | - |  |  |  |
| 6 | Magnetic Stirrer with hot Plate | QC-INS-007 | MS-H280 | Station# 04 | Maintenance of Temperature sensors (yearly) | - |  | - |  |
|  |  |  |  |  | Maintenance of Stirring motor | - |  |  |  |
| 7 | UV-Vis Spectrophotometer | QC-INS-008 | 752 | Station# 03 | Cuvette (As Needed) | - |  | - |  |
|  |  |  |  |  | Calibration (Yearly) | - |  |  |  |
| 8 | Thermo Hygrometer | VAN/PFTL/EQP-001 | HTC-1 | Station# 04 | Calibration (As Needed) | - |  | - |  |
| 9 | Set of Masses | VAN-H-1/18 | China | Station# 01 | Calibration (Yearly) | - |  | - |  |
| 10 | Desicator | QC-INS-011 | NA | Station# 01 | NA | - |  | - |  |
| 11 | Muffle Furnace | QC-INS-012 | NA | Station# 06 | Calibration (Yearly) | - |  | - |  |
| 12 | Ultra-Sonic Bath | QC-INS-013 | NA | Station# 01 | NA | - |  | - |  |
| 13 | Distillation Assembly | QC-INS-014 | NA | Station# 05 | NA | - |  | - |  |
| 14 | Refrigerator | QC-INS-015, 016 | Haier | Station# 01 | Maintenance of Temperature sensors (yearly) | - |  | - |  |
| 15 | Printer | QC-INS-017 | HP Laser MFP137 | QC Office | NA | - |  | - |  |
| 16 | pH Meter | QC-INS-018 | HI2210 | Station# 04 | Calibration (Yearly) | - |  | - |  |
| 17 | EC Meter | QC-INS-019 | HI2300 | Station# 04 | Calibration (Yearly) | - |  | - |  |
| 18 | Karl Fischer | QC-INS-020 | HI903 | Station# 02 | Calibration (Yearly) | - |  | - |  |
| 19 | Multiparameter Photometer | QC-INS-021 | HI83300 | Station# 03 | Calibration (Yearly) | - |  | - |  |
| 20 | Mechanical Shaker | QC-INS-022 | HY-4A | Station# 03 | Calibration (Yearly) | - |  | - |  |
| 21 | Block Heater | QC-INS-023 | 00000D1024 | Station# 07 | Maintenance of Temperature sensors (yearly) | - |  | - |  |
|  |  |  |  |  | Calibration (Yearly) | - |  |  |  |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |