EQUIPMENT MAINTENANCE RECORD

For the Year: 2025-2026

| Sr. # | Name of Equipment | Equipment Identification # | Make & Model / Serial Number | Location of Equipment & Manual | Maintenance Frequency | Maintenance/ Calibration Date |  | Parts Repaired/ Replaced (if any) | Maintenance By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Analytical Weigh Balance | QC-INS-001 QC-INS-025 | S/N2303025 | Station# 01 | Cleaning (Annually) | 27/12/25 | 02/06/26 | N/A | Modern Lab |
|  |  |  |  |  | Calibration (Yearly) | 02-06-2026 |  |  | PCSIR |
| 2 | Flame Photometer | QC-INS-002 | 313372/ Sherwood | Station# 06 | Compressor check (Annually) | 27/12/25 | 02/06/26 | N/A | Modern Lab |
|  |  |  |  |  | Cylinder (Bi-annually) | 27/12/25 | 02/06/26 |  | Modern Lab |
|  |  |  |  |  | Filter Check (Bi-annually) | 27/12/25 | 02/06/26 |  | Modern Lab |
|  |  |  |  |  | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 3 | Oven | QC-INS-004 | China & WT3020 | Station# 01 | Temperature prob (Bi-annually) | 27/12/25 | 02/06/26 | N/A | Electrical Department VAN |
|  |  |  |  |  | Calibration (Yearly) | 08-01-2026 |  |  | PCSIR |
| 4 | Vacuumed Filtration Assembly | QC-INS-005 | China & AS20 | Station# 06 | Maintenance (yearly) | 02-06-2026 |  | N/A | Electrical Department VAN |
| 5 | Heating Mental (Kjeldhal’s Apparatus) | QC-INS-006, QC-INS-028 | 221234 | Station# 05 | Maintenance of Temperature sensors (yearly) | 02-06-2026 |  | N/A | Electrical Department VAN |
|  |  |  |  |  | Calibration (Yearly) | 02-06-2026 |  |  | PCSIR |
| 6 | Magnetic Stirrer with hot Plate | QC-INS-007 | MS-H280 | Station# 04 | Maintenance of Temperature sensors (yearly) | 08-01-2026 |  | - | Electrical Department VAN |
|  |  |  |  |  | Calibration (Yearly) | 08-01-2026 |  |  | PCSIR |
| 7 | UV-Vis Spectrophotometer | QC-INS-008 | 752 | Station# 03 | Cuvette (As Needed) | 02-06-2026 |  | N/A | PCSIR |
|  |  |  |  |  | Calibration (Yearly) | 02-06-2026 |  |  | PCSIR |
| 8 | Thermo Hygrometer | VAN/PFTL/EQP-001 | HTC-1 | Station# 04 | Calibration (Annually) | 02-06-2026 |  | N/A | PCSIR |
| 9 | Muffle Furnace | QC-INS-012 | NA | Station# 06 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 10 | Refrigerator | QC-INS-015, 016 | Haier | Station# 01 | Maintenance of Temperature sensors (yearly) | 02-06-2026 |  | N/A | PCSIR |
| 11 | pH Meter | QC-INS-018 | HI2210 | Station# 04 | Calibration (Yearly) | 08-01-2026 |  | N/A | PCSIR |
| 12 | EC Meter | QC-INS-019 | HI2300 | Station# 04 | Calibration (Yearly) | 08-01-2026 |  | N/A | PCSIR |
| 13 | Karl Fischer | QC-INS-020 | HI903 | Station# 02 | Calibration (Yearly) | 08-01-2026 |  | N/A | PCSIR |
| 14 | Mechanical Shaker | QC-INS-022 | HY-4A | Station# 03 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 15 | Block Heater | QC-INS-023 | 00000D1024 | Station# 07 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 16 | Data Logger | QC-INS-024 | HTC-1 | Station# 01 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 17 | Analytical Weigh Balance | QC-INS-025 | Shimadzu/ATX 224R | Station# 01 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 18 | Hot Plate with Magnetic Stirrer | QC-INS-026 | China/ CJJ78-1 | Station# 04 | Calibration (Yearly) | 08-01-2026 |  | N/A | PCSIR |
| 19 | Digital Thermometer | QC-INS-027 | China | Station# 04 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 20 | Heating Mantle Multi Pots (Kjeldhal’s Apparatus) | QC-INS-028 | China | Station# 04 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 21 | Centrifuge Machine | QC-INS-029 | China | Station # 03 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 22 | Fluoride Meter | QC-INS-030 | China | Station # 03 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |
| 23 | Set of Masses (Dead Weight) | QC-INS-031 | 17 Pieces/ China | Station# 01 | Calibration (Yearly) | 02-06-2026 |  | N/A | PCSIR |

| Prepared by: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |