CALIBRATION PROGRAM

| Sr.# | Name of Equipment | Identification # | Location | Frequency of Calibration | Schedule for calibration (calibration month) | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Analytical Weigh Balance | QC-INS-001, QC-INS-025 | Station# 01 | 1 Year | 06-2026 | Done |
| 2 | Flame Photometer | QC-INS-002 | Station# 06 | 1 Year | 06-2026 | Done |
| 3 | Oven | QC-INS-004 | Station# 01 | 1 Year | 01-2027 | - |
| 4 | Vaccume Filtration Assembly | QC-INS-005 | Station# 06 | NA | NA | NA |
| 5 | Heating Mantle (Kjeldhal’s Apparatus) | QC-INS-006 | Station# 05 | 1 Year | 06-2026 | Done |
| 6 | Hot Plate | QC-INS-009 | Station# 04 | 1 Year | 06-2026 | Done |
| 7 | UV-Vis Spectrophotometer | QC-INS-008 | Station# 03 | 1 Year | 06-2026 | Done |
| 8 | Thermo Hygrometer | VAN/PFTL/EQP-001 | Station# 04 | 1 Year | 06-2026 | Done |
| 9 | Desiccator | QC-INS-011 | Station# 01 | NA | NA | NA |
| 10 | Muffle Furnace | QC-INS-012 | Station# 06 | 1 Year | 06-2026 | Done |
| 11 | Ultra-Sonic Bath | QC-INS-013 | Station# 01 | NA | NA | NA |
| 12 | Distillation Assembly | QC-INS-014 | Station# 05 | NA | NA | NA |
| 13 | Refrigerator | QC-INS-015, 016 | Station# 01 | NA | NA | NA |
| 14 | Printer | QC-INS-017 | QC Office | NA | NA | NA |
| 15 | pH Meter | QC-INS-018 | Station# 04 | 1 Year | 01-2027 | - |
| 16 | EC Meter | QC-INS-019 | Station# 04 | 1 Year | 01-2027 | - |
| 17 | Karl Fischer | QC-INS-020 | Station# 02 | 1 Year | 01-2027 | - |
| 18 | Multiparameter Photometer | QC-INS-021 | Station# 03 | NA | NA | NA |
| 19 | Mechanical Shaker | QC-INS-022 | Station# 03 | 1 Year | 06-2026 | Done |
| 20 | Block Heater | QC-INS-023 | Station# 07 | 1 Year | 06-2026 | Done |
| 21 | Data Logger (Thermohygrometer) | QC-INS-024 | Station# 01 | 1 Year | 02-2026 | Done |
| 22 | Magnetic Stirrer with hot Plate | QC-INS-026 | Station# 04 | 1 Year | 01-2027 | - |
| 23 | Digital Thermometer | QC-INS-027 | Station# 03 | 1 Year | 02-2026 | Done |
| 24 | Heating Mantle Multi Pots (Kjeldhal’s Apparatus) | QC-INS-028 | Station # 04 | 1 Year | 06-2026 | Done |
| 25 | Centrifuge Machine | QC-INS-029 | Station# 03 | 1 Year | 06-2026 | Done |
| 26 | Fluoride Meter | QC-INS-030 | Station# 03 | 1 Year | 06-2026 | Done |
| 27 | Set of Masses (Dead Weights) | QC-INS-031 | Station# 01 | 1 Year | 09-2025 | Done |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |