## MainHall
|  | CONTROL CHART FORM FOR NITROGEN |  |  |  | Doc. No. | QCL-FRM-3.02
[6 empty] | Issue Date | 2024-01-10
[6 empty] | Rev# | 1
Measurand: | Nitrogen CRM |  |  | Duration: |  | Jan-Dec 2026
Location: | QC LAB |  |  | Measuring device: |  | Kjeldhal's Apparatus
Target Value (%): | 46 |  |  | Device ID: |  | QC-INS-006 and QC-INS-023
Lower Control Limit (%): | 45 |  |  | Upper Control Limit (%): |  | 47
Lower Action Limit (%): | 44 |  |  | Upper Action Limit (%): |  | 48
Value No. | Date | Day | Time | Measured Value (%) | Deviation (%) | Remarks | Action Taken, if any | No. | Target Value | Measured Value | Lower Control Limit | Upper Control Limit | Lower Action Limit | Upper Action Limit
1 | 2026-01-01 | Thursday | 11:30 | 46.2 | 0.2 | Under Control | --- | 1 | 46 | 46.2 | 45 | 47 | 44 | 48
2 | 2026-01-16 | Friday | 14:10 | 45.9 | -0.1 | Under Control | --- | 2 | 46 | 45.9 | 45 | 47 | 44 | 48
3 |  |  |  |  | -46 | Under Control | --- | 3 | 46 | 0 | 45 | 47 | 44 | 48
4 |  |  |  |  | -46 | Under Control | --- | 4 | 46 | 0 | 45 | 47 | 44 | 48
5 |  |  |  |  | -46 | Under Control | --- | 5 | 46 | 0 | 45 | 47 | 44 | 48
6 |  |  |  |  | -46 | Under Control | --- | 6 | 46 | 0 | 45 | 47 | 44 | 48
7 |  |  |  |  | -46 | Under Control | --- | 7 | 46 | 0 | 45 | 47 | 44 | 48
8 |  |  |  |  | -46 | Under Control | --- | 8 | 46 | 0 | 45 | 47 | 44 | 48
9 |  |  |  |  | -46 | Under Control | --- | 9 | 46 | 0 | 45 | 47 | 44 | 48
10 |  |  |  |  | -46 | Under Control | --- | 10 | 46 | 0 | 45 | 47 | 44 | 48
11 |  |  |  |  | -46 | Under Control | --- | 11 | 46 | 0 | 45 | 47 | 44 | 48
12 |  |  |  |  | -46 | Under Control | --- | 12 | 46 | 0 | 45 | 47 | 44 | 48
13 |  |  |  |  | -46 | Under Control | --- | 13 | 46 | 0 | 45 | 47 | 44 | 48
14 |  |  |  |  | -46 | Under Control | --- | 14 | 46 | 0 | 45 | 47 | 44 | 48
15 |  |  |  |  | -46 | Under Control | --- | 15 | 46 | 0 | 45 | 47 | 44 | 48
16 |  |  |  |  | -46 | Under Control | --- | 16 | 46 | 0 | 45 | 47 | 44 | 48
17 |  |  |  |  | -46 | Under Control | --- | 17 | 46 | 0 | 45 | 47 | 44 | 48
18 |  |  |  |  | -46 | Under Control | --- | 18 | 46 | 0 | 45 | 47 | 44 | 48
19 |  |  |  |  | -46 | Under Control | --- | 19 | 46 | 0 | 45 | 47 | 44 | 48
20 |  |  |  |  | -46 | Under Control | --- | 20 | 46 | 0 | 45 | 47 | 44 | 48
21 |  |  |  |  | -46 | Under Control | --- | 21 | 46 | 0 | 45 | 47 | 44 | 48
22 |  |  |  |  | -46 | Under Control | --- | 22 | 46 | 0 | 45 | 47 | 44 | 48
23 |  |  |  |  | -46 | Under Control | --- | 23 | 46 | 0 | 45 | 47 | 44 | 48
24 |  |  |  |  | -46 | Under Control | --- | 24 | 46 | 0 | 45 | 47 | 44 | 48
25 |  |  |  |  | -46 | Under Control | --- | 25 | 46 | 0 | 45 | 47 | 44 | 48
26 |  |  |  |  | -46 | Under Control | --- | 26 | 46 | 0 | 45 | 47 | 44 | 48
27 |  |  |  |  | -46 | Under Control | --- | 27 | 46 | 0 | 45 | 47 | 44 | 48
28 |  |  |  |  | -46 | Under Control | --- | 28 | 46 | 0 | 45 | 47 | 44 | 48
29 |  |  |  |  | -46 | Under Control | --- | 29 | 46 | 0 | 45 | 47 | 44 | 48
30 |  |  |  |  | -46 | Under Control | --- | 30 | 46 | 0 | 45 | 47 | 44 | 48
31 |  |  |  |  | -46 | Under Control | --- | 31 | 46 | 0 | 45 | 47 | 44 | 48
32 |  |  |  |  | -46 | Under Control | --- | 32 | 46 | 0 | 45 | 47 | 44 | 48
Average | 46.05 | Maximum Temp. | 69 | Minimum Humidity | 54 |  | ---
Prepared By:
|  |  | Name |  |  | Signature | Date
Reviewed/Checked By:
|  |  | Name |  |  | Signature | Date